RSIF Supplemental Workshop on

Meter Registry Information and Data Flows

The following summarizes the RSIF supplemental workshop meeting entitled Meter Registry Workshop. The first part summarizes our agreed upon project milestones. The second part includes the draft workshop report outline and issues we’ve identified for each section.

SDG&E has volunteered to manage the technical subcommittee which has already done an outstanding job of mapping required data elements to the various meter events we’ve already identified.  The technical subcommittee will also address the data flows, of who gets what information. If there is time, we may revisit the timing of data provision already proposed in the MDCS workshop. (Some parties indicated that the MDCS proposals were unrealistic.)

I will get the technical report out to you by September 17 with an agenda for the 9/19 steering committee meeting.

Please note that I am keeping both the 9/19 and the 9/26 meetings on the agenda, but if we make significant progress, I am willing to cancel the 9/26 meeting. (Incentives sometimes work wonders!)

Thank you all for your participation.

Kirsten Stacey

(415) 972-5958

# Part I Report Milestones

9/8 - Technical subcommittee meeting, SDG&E

9/10 - Outline distributed

9/15 - Technical subcommittee meeting, SDG&E

9/17 - Technical committee report distributed to steering committee

9/19 - Steering Committee Meeting, PG&E

9/26 - Steering Committee Meeting, PG&E

9/30 - Draft report

10/3 - Edit session

10/10 - Final Report filed with CPUC

# Part II Report Outline

## Section I Executive Summary including recommendations

Requiring CPUC guidance: Meter Accuracy Reporting

## Section II Events Requiring Data Transfer

- Release of data to ESPs/MAs for preliminary planning

- Preparation for installation

notification

information from UDC to MA

Information required by UDC

- Actual installation

end read/start read

- Acknowledge meter change with #

- Configuration changed

maintenance

battery changes

programming changes

- Meter Tests

- Change of ESP

- Change of MDMA

- Read parameter changes

read frequency

read schedule

- Change of ownership

- Billing complaints/special read requests

- Usage adjustments

- Reporting of evidence of tampering/energy theft investigation

- Noncompliant site condition

- Meter malfunction/repair/replace

- Disconnect

nonpayment

moving

- Customer requested energy services, power quality, DSM, load control output

- legal disputes

- meter location change

- approval of a new site by UDC

- default by MA/ESP

## Section III Data Required/where does it reside

- attributes of meter PTs, CTs, recorders

- maintenance, record keeping

- meter access including location

Agreement: map these categories of information to the events

1) meter attributes

in MDCS report

2) meter maintenance records

Agreement: Data resides with the ESP and is ESPs responsibility

Meter Registry - preliminary release, meter registry

* should there be a central database or should each meter have its own history without aggregated information?

## Section IV Data Flow

Who when how, customer

Table with events in the vertical, market functions/horizontal

- UDC

- ESP

- Customer

- MDMA

- MA

## Section V Clarification of Regulatory Responsibilities

## Section VI Recommendations

## Appendix- Specific Transaction Elements