Distribution Loss Factors

Outline for Supplemental RSIF Report

# I. Overview

The RSIF workshop report (dated July 25, 1997) identified three high priority areas where additional work is necessary for the new market structure to function properly.  Methods for estimating Distribution Loss Factors (DLFs) was one of these high priority areas.  The purpose of this supplemental workshop report is to:

- Make policy and methodological recommendations for estimating Distribution Loss Factors (DLF) for use by PG&E, Edison, and SDG&E

- Develop proposals for technical specifications (e.g., protocols and data formats) for DLF information flow

- Describe the significance of DLFs and Unaccounted For Energy (UFE) in the new energy market

The balance of this report is structured as follows:

- Section II focuses on the consensus position reached in terms of  how the distribution loss factor methodologies will be utilized and the design criteria that the methodologies should comply with.

- Section III describes the DLF formula design criteria that the sub-team has agreed to.

- Section IV describes the dynamic DLF formula that each utility will pursue as they move towards implementation effective January 1, 1998.

- Section V outlines the information flow mechanisms and protocols that the utilities will utilize in making the DLF data available to the marketplace.

- Section VI provides policy insights relative to how distribution loss factors affect Imbalance Energy and UFE in the new market.

# II. DLF Utilization

Distribution Loss Factors (DLFs) will be used by Scheduling Coordinators to adjust the End-Users’ meter data to obtain an equivalent grid level measure for ISO settlement purposes.  DLFs are required by the ISO Tariff where End-Users are connected to a UDC’s distribution system.  DLFs are UDC specific and approved by the Local Regulatory Authority.  In the Commission's Cost Separation decision [A. 96-12-009] issued on August 1, 1997, the Commission directed the UDCs to implement hourly distribution line loss calculations.  Per the ISO tariff, DLFs used for settlement purposes are required to be available to Scheduling Coordinators no later than 38 days following the trading day in order to support submittal of End-Use meter data to the ISO by day 41.

It is expected that DLFs will also be used by 1) Scheduling Coordinators to estimate and prepare balanced generation and load schedules, and 2) UDCs to prepare end use meter-correlated PX pricing.  In anticipation of these additional needs, forecasted DLFs will be provided shortly after the UDCs provide their UDC system load forecast to the PX in the day ahead market and prior to the time the Scheduling Coordinator are required to submit their initial preferred schedules.  For settlement purposes, actual DLFs will be provided prior to day 38 and will be based on UDC system load actuals.  This process results in the posting of forecasted and actual daily DLF tables, consisting of sets of 24 hourly DLFs per voltage level.  Total UDC system load includes all bundled and direct access customers on the UDC distribution system.  This process is illustrated in Figure 3 at the end of this report.

# III. DLF Formula Design Criteria

During the RSIF working group sessions held over the past few weeks, the parties supported the concept of developing interim, implementable methods for providing DLFs as of January 1, 1998.  These interim methods could be utilized for up to one year while the parties studied enhancements to the various DLF calculation formulae currently under consideration.   These enhancements could then be incorporated into the calculation process and resultant information flow provided to the market place.  See Section V for more details on the information flow designs being considered.

Based upon feedback obtained during RSIF sub-team working sessions, the sub-team reached consensus on the criteria that a selected DLF estimation methodology should meet.  The criteria included:

- the calculations should be dynamic, in the sense of being based upon UDC system loads;

- the calculations should reflect hourly variance in DLFs, not constant DLFs over TOU periods;

- the calculations should vary by voltage levels [i.e., sub-transmission as appropriate, primary and secondary];

- each UDC could utilize different DLF calculation formula, as long as the output is provided in a consistent manner in terms of its structure [i.e., 24 hourly values for a given forecast day], and availability to the market place [e.g., posted to each UDC’s interface with appropriate access protection];

- the DLFs may be based on engineering modeled distribution losses, or may be based on historical distribution losses plus components of Unaccounted for Energy (UFE).

## IV.  Proposed UDC DLF Methodologies

In considering the DLF formula options, the UDCs have proposed the following methodologies for use in their specific service areas:

## PG&E’s Proposed Dynamic Load Duration Curve DLF Methodology

In order to comply with the attributes associated with a dynamic approach, PG&E will pursue the following dynamic DLF estimation methodology.  PG&E will construct an annualized hourly system load duration curve reflecting 8760 hourly loads.  The data will be drawn from a representative year of historical data and show hourly loads ranging from system peak to minimum loading.  From this data, PG&E will select a sample of hourly loads and model system DLFs for each sample hourly load level, using the same approach as has been approved in prior rate cases.  From these data points, system distribution loss factors can be interpolated for any system hourly load.  This calculation can be accomplished for each of the appropriate PG&E service voltage levels.  The interpolated DLFs can then be applied to UDC system load forecasts and actuals to determine forecasted and actual distribution loss factors by hour and voltage level.

PG&E will develop the above methodology during August - September, 1997.  If the methodology proves reasonable, then the proposed DLF methodology will be tested in October, 1997. In the event the proposed methodology proves unworkable, then PG&E will implement an alternate dynamic DLF methodology.  This “fall back” strategy could be utilized during the interim period [i.e., 1998] to allow PG&E an opportunity to structure an improved approach.

## Edison’s DLF Methodology

Edison’s distribution loss factors will be determined by a formula for each service voltage level that relates hourly losses to hourly system loads.  The formulas are derived based on Edison’s 1992 Loss Allocation Study which calculates energy losses during the entire year and demand losses at the time of system peak.  This methodology uses load flow models to calculate peak and annual losses by subtracting the total output of the system from the total input of the system at the subtransmission, primary distribution, and secondary distribution levels.  These data can be used to derive a formula for each of the three service voltage levels that will estimate hourly distribution losses for any level of hourly load.

Edison models hourly distribution losses as consisting of three components:  1) resistance line losses which vary with the square of load; 2) core transformer losses which are a function of transformer inventories and so are constant with respect to load; and 3) “other” losses assumed to be a linear function of load (constant percentage).  These other losses reflect unmeasured usage such as theft and meter error as well as the error associated with estimating the first two terms in the formula.  Mathematically, for each hour i,

Lossesi = C + R*Loadi2 + A*Loadi

where C represents core losses, R*Loadi2 represents resistance line losses, and A*Loadi represents other losses including errors associated with estimating the first two terms.

The formula can be solved iteratively for R and A using loss and load data at the time of system peak from the 1992 study such that annual energy losses estimated using the formula match actual annual energy losses measured in the 1992 study. The second term of the formula assumes that resistance on the system is constant throughout the year.  In reality, load and generation patterns vary throughout the year, so resistance of the system, the R value, also varies.  Therefore, the value of A includes the effects of errors in estimating R in addition to theft, meter error, and other unmeasured usage.

Losses can be expressed as a percentage of load by dividing each term by load:

Percentage Lossesi = C/Loadi + R*Loadi + A

Once the values of C, R, and A have been estimated using the historical data, hourly percentage loss factors at different voltage levels can readily be calculated by inputting hourly load forecasts into the formulae.

## SDG&E’s Proposed Dynamic Load Duration Curve DLF Methodology

In order to comply with Section VIII.B.11 of the Rate and Product Unbundling Decision on cost allocation (D.97-08-___), dated August 1, 1997, SDG&E will propose a methodology for defining hourly forecasted distribution line loss factors in its compliance filing in that proceeding.  The proposal will be similar to the CLECA/CMA proposal espoused in PG&E’s Cost Separation Proceedings [A. 96-12-009], as endorsed by the ORA, in that the formula methodology will be based on average hourly loss factors that were used to develop the currently adopted distribution loss factors implicit in the currently adopted rates.

The distribution losses for  Substation Transformers, Distribution Transformers, Primary Circuits, and Secondary Circuits will be used to develop separate load based formulae for the tariff voltage levels of Primary at Substation, Primary, and Secondary service.  The formulae will provide only Distribution Line Losses Factors, and will not be adjusted for (UFE).  Forecasted hourly loads can be input into each of the service voltage level formulae to calculate a forecasted distribution line loss value.

SDG&E is currently developing and testing formulae to determine if a simple and accurate form can be defined for use starting in January, 1998.  SDG&E prefers to develop formulae that are consistent with the underlying data implicit in its current tariff rates.  The CLECA/CMA proposal as it is defined for SCE will be considered as one alternative.  However, that approach will probably only be used, as it is defined for SCE, if SDG&E’s more utility specific proposed methodology proves unworkable in testing.

SDG&E will develop and test the above methodology during August - September, 1997.  If the methodology proves reasonable, then the proposed DLF methodology will be tested in October, 1997. In the event the proposed methodology proves unworkable, then SDG&E will implement an alternate dynamic DLF methodology.  This “fall back” strategy could be utilized during the interim period [i.e., 1998] to allow SDG&E an opportunity to structure an improved approach.

# V. DLF Data Information Flow Proposals

As stated in the Retail Settlement and Information Flow Workshop Report the UDCs are responsible for the generation of distribution loss factors (DLFs).  This section suggests the methods that each UDC will utilize in making this information available to those market entities who need it (primarily ESPs).

## PG&E’s Information Flow Proposal

## Assumptions and Allowances

The following assumptions apply only to PG&Es  information flow proposal.  If any of the assumptions/allowances are invalid, no warranty is made on any aspects of the proposal. that were based on the invalid assumptions/allowances.

- The protocols and procedures listed in this section make allowance for both a set of forecasted DLFs and a set of actual DLF (this implies that the DLFs will be dynamic).  This is the most extreme situation and if this allowance is not needed, for example, there is only one set of DLFs based on forecasted data, the protocols and procedures will still be workable.

- Assume that the data needed to determine the DLFs (allowing for both actual and forecast) will be available within the set time frames listed in this information flow section for which the DLFs are to be made available.

## MDMA Protocols for Meter Data Dissemination -  A Starting Point

The proposed starting point for the recommendation for the dissemination of DLFs is the examination of the protocols and procedures setup for the generic meter data management agent (MDMA).  It is important to evaluate these protocols and procedures.

The MDMA protocols were developed through the MADAWG process and have been included into the Meter Data and Communications Standards Workshop Report.  The MDMA performs the following minimal set of functions: collects meter data, validates, estimates and edits meter data, manages meter data (e.g., data storage), disseminates meter data, and ensures the security of the meter data.  Note that the application of distribution loss factors to metered data is not one of the minimal requirements, nor does this set of requirements prohibit this application from being performed at the MDMA level.

In disseminating and ensuring the security of meter data, various protocols were established.  These protocols represent minimal requirements that must be established by the MDMA.  To summarize:

Dissemination:

- Meter data will be posted on a data server (logically directory based).

- Authorized entities will dial-in to the server.

- Data will be retrieved in file format.

- The data transfer protocol will be HyperText Transfer Protocol on top of TCP/IP, with Secure Sockets Layer added for data security (encryption).

- The transport medium will be the Internet (this actually makes the data server a Web server).

Security:

- All parties accessing data must have an user id and password.

- Only data authorized to an entity will be accessible by that entity.

## Distribution Loss Factors Dissemination

It is recommended that the dissemination of DLFs follows in a similar manner the protocols and procedures setup for the generic MDMA.  There are reasons for this:

- PG&E must already maintain a server for accessing meter data by ESPs.

- There are already a set of protocols and procedures set up for interfacing with this server.

- A main utilization of the DLFs is the gross-up of the metered data (some of which may be residing on the server) to an equivalent grid level quantity.

All of the protocols and procedures used for the MDMA interfacing can be also used for the DLF dissemination.  However, based on the knowledge that the DLFs are not proprietary and are for public viewing, the security restrictions can be relaxed.  Also, if the ESP is communicating with the MDMA through another transfer medium besides the Internet, then the extraction of DLFs from PG&E’s MDMA should also be possible over this medium.

Figure 1 provides a data flow for the DLFs.  The diagram shows PG&E’s  MDMA system and a ESP system.  This diagram shows the access limited ESP mailboxes for the meter data access and the common/public area for the DLFs to reside.  The diagram also implies that the ESPs will extract both types of data, apply the DLFs to the meter data (if it applies), and send it off for ultimate settlement with the ISO.

## Accessing the Distribution Loss Factors

Since HTTP is the transfer protocol and the system is logically a commercial Web server platform, general Web based services can be utilized to obtain the DLFs.  The data should be accessed through two methods:

- An actual Web browser, such as the Internet Explorer or Netscape.

- A command line driven program/script.  This will accommodate an automated process.

The server address (IP number) and any other relevant information must be provided to those needing access.

## File Structure and Filenames

As stated earlier, allowing for two sets of DLFs (forecasted and actual) the proposed file structure convention is the following:

- There will be separate files for forecasted DLFs and actual DLFs.

- One day’s set of DLFs will reside in an individual file.

- The filename will reflect the type of data (forecast vs. actual) and the date.

- There will be two (one for actual, one for forecast) yearly files that hold all DLF data up to the current time.

The proposed filenaming convention is the following:

For the daily files, the names will be:

accyymmdd.dlf	This is the file name for the daily actual (not forecasted) DLFs.  The a stands for actual and the ccyymmdd stands for century, year, month and day.  An example would be  a19980305.dlf

fccyymmdd.dlf	This is the file name for the daily forecasted (not actual) DLFs.  The f stands for forecasted and the ccyymmdd stands for century, year, month and day.  An example would be  f19981215.dlf

For the yearly files, the names will be:

accyy.dlf	This is the file name for the yearly accumulated actual (not forecasted) DLFs.  The a stands for actual and the ccyy stands for century, year.  An example would be  a1999.dlf

fccyy.dlf	This the file name for the yearly accumulated forecasted (not actual) DLFs.  The f stands for forecasted and the ccyy stands for century, year.  An example would be  f1998.dlf

## Timing and File Availability

The primary purpose of the forecasted DLFs is to provide guidance for forecasting/scheduling load.  Since forecasting/scheduling load must be performed the prior day of the trading day and at an early time of the day, the forecasted DLFs must be posted before this.  The suggestion is that the forecasted DLFs be posted shortly after the UDCs provide the UDC system load forecasts to the PX and before the Scheduling Coordinators are required to provide their initial preferred schedule in the day prior to the trading day.

The forecasted DLF file will be posted for a minimum period of 3 days.

The primary purpose of the actual DLFs is the application to the actual meter data.  The meter data does not need to be submitted to the ISO (PX) until 41 (38) days after the trading day.  Also, the actual DLFs will be dependent on PG&E’s system load.

The actual DLF file must stay posted within a 42 day period beginning at the trading day.  For example, if the file is posted on the 36th day after the trading day, it must be posted for a minimum period of 7 days.

The yearly accumulating DLF files will be posted for at least one more year.

## Data Format

The format of the DLF file will be a sequence of ASCII text lines terminated with ASCII carriage return characters.  The file format will consist of 3 fixed format header lines and then immediately followed by the DLFs which are free format with individual fields comma delimited.

The 3 fixed format header lines are as follows:

1.	UDC NAME	this is the name of the UDC for which these factors correspond.  For example, PG&E.  The name must start in position 1 and this field must not exceed 50 characters.

2.	DATE	this is the date for which these factors correspond.  The format is CCYYMMDD.  The date must start in position 1.  For example, 19991003.

1.	DLF TYPE	this is the type of DLF in this file.  The key word in this field is either ACTUAL or FORECAST.  The key word must start in position 1.  Only the first six characters will be recognized.  For example, FORECA.

The DLF data follows immediately after the header lines.  The format of the DLF data is free format, comma delimited with the line not exceeding 256 characters.  The general format is as follows:

hour, subtransmission voltage DLF,   primary voltage DLF,   secondary voltage DLF

The hour field will only have the integer values from 1, the hour from 12:00 AM to 1:00 AM, to 24, the hour from 11:00 PM to 12:00 AM.

The DLF values will be real numbers and will be in floating point notation.  If a given UDC does not have one of the voltage level types listed, the field will be empty.  This would apply to PG&E which does not have primary substation voltage DLFs.  The DLF records will follow sequentially in terms of the hour field, i.e., 1, 2, … 24.

The format of the yearly accumulating DLFs files is basically the same except for two items.  The second header record will have the format CCYY and the hour field will have the integer values from 1 to 8760.  8760 = 365 (days in the year) * 24 (hours in the day).  These integer values represent the hours throughout the year.  The second header field will distinguish this file from a daily file.

The following is a partial example of a daily actual DLF file from PG&E for May 22nd, 1998.

PGAE

19980522

ACTUAL

1,, 1.041, 1.052

2,, 1.044, 1.049

.

.

.

24,, 1.033, 1.042

## Other Information Flow Considerations

At this point it has been tentatively agreed that the DLFs will be differentiated by voltage level (range).  In order for the ESPs (assuming they are the ones doing this) to correctly apply the DLFs, the customer’s voltage level (range) must be known.  In the Direct Access Service Request (DASR) that will be made by ESPs to the UDCs, this piece of information can be provided back to the ESPs.

In the event that geography is introduced as a DLF attribute (possibly in subsequent iterations of the DLF methodology development), the following procedure may accommodate this new situation.  In the DASR, provide the ESP with the customer’s load point.  Files can be provided (in the same way the DLFs are) to show the mapping from load points to corresponding standard geographical areas/locations (e.g., planning area).  Other files can then hold mappings that provide the DLFs associated with standard geographical areas/locations.  Load points are also needed for end-use customers who want to participate in the ISO’s non-spinning reserve ancillary service market and in congestion management.

It was also mentioned that the ISO should publish on their Web page links to the UDCs’  MDMA Web servers.  This would accommodate the dissemination of the DLFs.  However, at this time it is unclear if the ISO will permit this.

Figure 1  The flow of DLFs from the UDC MDMA Server

- Edison’s Information Flow Proposal

Edison’s information flow proposal is currently under development and will be available for the August 15 report.

- San Diego’s Information Flow Proposal

SDG&E’s information flow proposal is currently under development and will be available for the August 15 report.

# VI.  DLF/UFE Policy Implications

# Definitions

- Unaccounted For Energy (UFE) the ISO tariff defines UFE is on a per UDC basis as the difference in hourly energy between the net energy into the UDC service area, adjusted for UDC service area Transmission Losses, minus the total DLF adjusted metered demand within the UDC service area.  The ISO attributes this difference to: a) meter measurement errors, b) energy theft, c) statistical load profile errors, and d) distribution loss factor deviations.

- Estimated Energy Theft (ET) is the deliberate and unauthorized use of energy.

- Estimated Metering Loss (ML) is the estimated difference between the actual electric usage at the meter and the “observed” meter read plus any differences due to malfunctioning meters.

- Errors in Estimated Distribution Line Loss (EDLL) is the difference between the actual distribution line loss and the estimated distribution line loss.

- Load Profiling Error (ELP) is the difference between a customer’s actual usage for any hour and the calculated usage for that hour using customer load profiles.

- Imbalance Energy, UFE, DLFs and the ISO Tariff

ISO Settlement for Imbalance Energy Charges:

The ISO will calculate Imbalance Energy for Scheduling Coordinators as follows:

where,

Each Scheduling Coordinator’s share of UFE will be allocated based on the ratio of the Scheduling Coordinator’s metered demand within the UDC service area to total metered demand within the UDC service area. To the extent possible, UFE associated with load profiling error will be allocated only to Scheduling Coordinator demand using statistical load profiles based on the ratio of their profiled metered demand within the UDC service area to the total profiled metered demand within the UDC service area.  UFE calculations and allocations are made by the ISO on a “best estimate basis” due to inherent measurement limitations relative to the transmission and distribution systems.

How DLFs affect Imbalance Energy:

Deviations between actual losses in the UDC distribution system and the losses that are accounted for in the DLFs, contribute to the UFE calculated by the ISO and hence will affect the amount of Imbalance Energy allocated to Scheduling Coordinators.  DLFs may contain estimates for UFE components and, depending on their accuracy, may increase or reduce the amount of UFE calculated by the ISO.  Scheduling Coordinators will be able to reduce their Imbalance Energy Charges by adjusting their preferred schedules to compensate for UFE associated charges allocated to them by the ISO.  For example, if a Scheduling Coordinator finds it is being allocated excess Imbalance Energy, it can increase its preferred schedules to reduce or eliminate the excess.

- Other New Market Issues

- The new market structure creates a potential for increases in UFE caused by increases in metering errors, energy theft, and load profiling errors.

- UDC meter readers undergo extensive training prior to entering the field.  This training has resulted in minimizing meter reading errors.  Independent metering agents (IMA) can read meters in the new market and standards are being developed for IMAs.  Unless assurance is provided that IMAs are complying with the standards, there is a potential that errors will increase.

- The new market environment may present greater opportunity for theft.  UDC meter readers are trained to detect suspected meter tampering and energy theft.  The existence of new IMAs could result in potentially less detection capability.

- Load profiling errors will occur as a result of implementing new, untested processes in the new market.  Although total energy use by load profiling customers is expected to be measured through reliable means, allocation of that total energy use to the individual hours of the day through load profiling will result in estimation errors that will result in balancing errors, the cost of which will be absorbed by all customers.

- Increases in UFE harm all market participants, who in turn pay for any increases in losses through the allocation of those losses to all customer groups.  Inadequate market rules and enforcement mechanisms create the potential for increases in UFE losses.

- As a result of the rate freeze, any increases in UFE would impact the UDCs’ ability to recover CTC, T&D, and other charges based on energy use.  If this happens, UDCs may request (from the CPUC) a special mechanism to recover increases in UFE so as to remain whole.

- Improvements in distribution loss estimation methodologies will help to minimize UFE and may allow more equitable allocation of UFE among market participants.  New methodologies will be considered as empirical data becomes available and analyzed to develop better models and simulations.

- Monitoring and enforcement methods are also essential tools to protect the integrity of the entire market mechanism.  A comprehensive audit and enforcement program is necessary to ensure compliance with market rules and to limit the potential for increases in losses due to meter error or malfunction and energy theft.

- If audit and enforcement procedures prove inadequate, other regulatory mechanisms will be necessary to ensure the confidence and commercial integrity of the new market.

Figure 3

Meter And Data Access Working Group

The load point is primarily the T/D substation which feeds the customer.