BEFORE THE PUBLIC UTILITIES COMMISSION OF

THE STATE OF CALIFORNIA

| Order Instituting Rulemaking on the Commission's Proposed Policies Governing Restructuring California's Electric Services Industry and Reforming Regulation. | R.94-04-031 (Filed April 20, 1994) |
| --- | --- |
| Order Instituting Investigation on the Commission's Proposed Policies Governing Restructuring California's Electric Services Industry and Reforming Regulation. | I.94-04-032 (Filed April 20, 1994) |

REPORT ON

DIRECT ACCESS LOAD PROFILING

WORKSHOP ORDERED BY D.97-10-086

- To Assess the Exemption from the Metering Requirement for Customers with Demand Between 20 and 50 kW

Douglas Long, Manager

Electric Restructuring

Prepared by:

Steve Roscow

Michael Rosauer

October 2, 1998	Energy Division

# Introduction

This report presents the results of a workshop conducted by the CPUC Energy Division on September 25, 1998.  The workshop was ordered by CPUC Decision 97-10-086 (“Opinion Regarding The Load Profiling Workshop Report And Its Supplements”), Ordering Paragraph 7, as modified by D.97-12-131, Ordering Paragraph 7.c.

Pursuant to D.97-10-086, the purpose of the workshop was to assess potential impacts of imposing a metering requirement on customers whose maximum demand is between 20 kW and 50 kW.  Under current Commission policy, these customers have received an exemption from the Commission’s adopted requirement that customers whose maximum demand is above 20 kW must have an hourly meter in order to participate in direct access.

Discussions at the workshop resulted in agreement among participants on a consensus recommendation to the Commission regarding the current exemption.  Participants recommend that the existing exemption should be left in place until March 31, 2002.  Prior to that time, parties anticipate that the Commission will order a workshop to be held to evaluate load profiling policy in a comprehensive fashion, including the question of whether customers in the 20 to 50 kW range should be required to install meters after the exemption period ends.  Then, the Commission would issue a final decision on this matter by March of 2001, which will give the marketplace sufficient advance notice to incorporate the Commission’s permanent policy into ongoing commercial arrangements.  The Energy Division supports this consensus recommendation as well.

## Background

As originally decided by the Commission, customers whose maximum demand is equal to or greater than 20 kW who wish to participate in direct access must have an hourly meter.  (see D.97-05-040, p. 35)  However, the Commission also stated its willingness to explore possible exemptions from the requirement of having hourly meters, for those customers whose maximum demand is between 20 kW and 50 kW.  As a result of a workshop held in June of 1997 to explore this issue, in D.97-10-086 the Commission permitted the use of load profiles on an interim basis for all customers with a maximum demand of 20 kW or greater, but less than 50 kW.  Permission to use these interim load profiles was to be in effect until September 30, 1998, but this deadline was extended to January 1, 1999 by D.97-12-131.

As discussed in D.97-10-086 (pp. 27-38), the Commission adopted the interim exemption in order to allow customers who fall within the 20 to 50 kW range additional time to examine the costs and benefits of moving toward an hourly interval meter, while also allowing an opportunity for market forces to determine how much hourly interval meters should cost, and to allow the supply of such meters to match the demand.

Finally, in order to assess potential impacts of imposing a metering requirement, the Commission ordered the Energy Division to convene a workshop with the Utility Distribution Companies (UDCs) and other interested participants:

The purpose of that workshop shall be to examine the costs associated with hourly interval metering, and its impacts on customers whose maximum demands fall within the 20 to 50 kW range. The workshop should examine how many customers in that range are on load profiles, and how many have hourly interval meters. The workshop should also address whether the load profiles for these customers should be extended or discontinued in light of the metering situation, or whether hearings should be held to resolve this issue.  (D.97-10-086, mimeo, p. 38)

## Procedural Matters

As originally ordered by D.97-10-086, the Energy Division was to hold this workshop “no later than May 30, 1998”, in order to determine whether the exemption allowing the use of load profiles should continue past September 30, 1998.  However, D.97-12-131 modified Ordering Paragraph 4.b of D.97-10-086 to read:

“The 20 to 50 kW load profiles shall be made available for use no later than the date the Commission or its delegate declares to be the start date for direct access, and shall remain in effect until nine months after the date the Commission or its delegate declares to be the start date of direct access, unless extended by the Commission.”

Once the direct access market opened on April 1, 1998, the ending date for the nine-month exemption became January 1, 1999.  In addition, since the exemption was extended three months, the Energy Division also waited an additional three months to schedule the workshop, in order to allow the same time period of marketplace experience to be reflected in the workshop discussions.  The Workshop Notice (included as Attachment A to this report) was mailed to the service list to this proceeding on September 10, 1998; a Notice of Workshop also appeared in the Commission’s Daily Calendar beginning on September 14, 1998.

As part of the Workshop Notice, the Energy Division asked interested parties to answer a list of questions about the 20 to 50 kW issue.  These questions were originally posed in D.97-10-086 as instructions to the Energy Division regarding topics that the Commission wished to be addressed at the workshop.  The Energy Division requested that responses to the questions be posted to the “Direct Access Implementation Workshops” website prior to the workshop, so that attendees could review the material beforehand and the workshop time could be spent most productively (this website, maintained by the Commission’s Office of Ratepayer Advocates, is located at http://162.15.5.2:80/wk-group/dai/lp/, has been used by parties throughout the Direct Access implementation proceeding and has proved invaluable in helping to make available for distribution large amounts of information to all interested parties).  Comments were posted to the website on September 22 by PG&E, Southern California Edison, SDG&E, the Commission’s Office of Ratepayer Advocates, the San Diego Association of Governments, Green Mountain Energy, and ML Consulting Group.  In addition, Enron brought its responses on the day of the workshop and distributed copies to attendees.  Finally, CellNet Data Systems, Inc. provided its responses following the workshop, on September 28 and October 1.  Copies of all of this material are included in Attachment B to this report.

Next Steps

Once this report is issued, pursuant to Ordering Paragraph 7.a.(1), interested persons may file comments to this workshop report with the Commission’s Docket Office within 21 days of such filing.  However, at the workshop, Energy Division staff committed to issuing this report 7 days after the workshop, or by October 2.  In response, parties in attendance agreed that they would be amenable to filing comments within 14 days of the report.  The purpose of compressing this time schedule is to place these issues and the recommendations of parties before the Commission for a decision as quickly as possible, with the hope that a Commission decision before the end of 1998 will then provide certainty and predictability to marketplace participants on the question of whether the exemption will continue.  When presented with this scenario, parties in attendance appeared to express unanimity that they would not object to a ruling by the Commission that shortened the period before comments are due from 21 days to 14 days.  Comments would then be due on October 16, 1998.  If a ruling is not issued, parties would have until October 23, 1998 to file comments, as originally ordered by Ordering Paragraph 7.a.(1).

## Workshop Summary

The workshop began at approximately 9:00 a.m.  The list of attendees is included as Attachment D to this report.  Following introductions, Energy Division staff explained their proposal to accelerate the procedural schedule for this report; as noted above, parties in attendance expressed support and a willingness to meet a shortened deadline for comments on this report, if so ordered by the Commission.

Once preliminary procedural matters were addressed, a brief agenda was developed.  Parties agreed to organize the workshop discussions to address the list of questions distributed in the workshop notice:

- What are the costs associated with hourly interval metering?

- What is the likely cost impact of imposing the hourly interval metering requirement on customers whose maximum demands fall within the 20 to 50 kW range?

- How many customers in the 20 to 50 kW range are on load profiles, and how many have hourly interval meters?

- Should the load profiles for these customers be extended or discontinued in light of the metering situation?

- Should hearings be held to resolve this issue?

- What are the inconsistencies between the UDCs in the 20 kW load profiles threshold?  What do parties recommend as to how these inconsistencies should be resolved?

Finally, at the request of Energy Division staff, parties expressed a willingness to consider agreeing to consensus recommendations if possible.  This agreement appeared motivated by a general sentiment that the marketplace would benefit greatly from clear policy direction from the Commission on the future of the present exemption for customers between 20 and 50 kW.  In fact, as will be seen below, parties did achieve consensus on the questions posed by the Commission.

## Questions from D.97-10-086 Discussed at Workshop

As noted above, the workshop discussions were organized around the set of questions first presented to workshop participants in the workshop notice of September 10, 1998 (the sequence of the questions has been rearranged in this report for clarity of presentation).  This section of the report summarizes the positions of the parties.  This is done primarily to provide information to the Commission regarding the range of information and policy options considered by parties before agreement was reached on final recommendations--some parties changed the details of their original position during the course of the workshop in the interest of reaching a consensus.

How many customers in the 20 to 50 kW range are on load profiles, and how many have hourly interval meters?

Each utility provided summary data to describe the total size of the 20 to 50 kW market segment, as well as (1) the total number of customers in this group who have selected direct access and (2) the number of these direct access customers who have chosen to install hourly meters.  This information is summarized in the table below.  Perhaps the most salient point illustrated by this data is that, of the utility customers that have selected direct access, only a handful currently utilize hourly interval meters.

| Utility Distribution Company | Total Number Of 20-50 kW Customers | Total Number Of Direct Access 20-50 kW Customers | Total Number Of Direct Access Customers With Hourly Interval Meters |
| --- | --- | --- | --- |
| SCE | 50,000 | 3,000 | 100 |
| PG&E | 50,000 | 1,700 | 100 |
| SDG&E | 6,270 | 371 | 28 |

What are the costs associated with hourly interval metering?

A number of parties provided cost information in response to this question prior to the workshop.  However, the information provided was not directly comparable due to differences in assumptions and formatting.  At the workshop, Energy Division staff requested that the utilities, as well as any other interested parties who wished to do so, submit this cost information in a “standardized” format, in order to facilitate cost comparisons.  The format agreed to by workshop participants is outlined in the table below. The information requested was submitted by PG&E, Edison, SDG&E and CellNet Data Systems on September 30, and is included in Attachment C of this report.  Unfortunately, the new material is still not entirely consistent, but parties did not really have adequate time in which to coordinate their efforts.  In any case, the material submitted does make it easier for parties to compare costs between UDC service areas.

| Direct Access Interval Meter Options and Costs |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Non-recurring Costs |  |  | Recurring Costs ($/year) |  |  |
| Meter Option |  |  | Meter Ownership | Installation | Meter Services | Meter Reading |
| Low Cost Option |  |  |  |  |  |
| High Cost Option |  |  |  |  |  |

DEFINITIONS

Meter Option

Low Cost Option:  In general, an hourly interval meter that is read manually on a monthly basis

High Cost Option:  In general, an hourly interval meter along with equipment that allows remote access to meter data

Non-recurring Costs

Meter Ownership:  Refers to the cost of purchasing the meter

Installation:  Refers to the initial costs of removing old meter, installing new meter, testing, programming and MDMA set-up charges.

Recurring Costs ($/year)

Meter Services:  Refers to on-going maintenance and testing services, provided either by the UDC, or a CPUC-certified Meter Service Provider (MSP)

Meter Reading:  Refers to charges for services provided by Meter Data Management Agents (MDMA), either under UDC tariff or by non-UDC MDMAs who have been tested and accepted by each UDC.

What is the likely cost impact of imposing the hourly interval metering requirement on customers whose maximum demands fall within the 20 to 50 kW range?

In order to make an informed decision on whether to end or extend the present exemption from the metering requirement for customers whose maximum demands fall within the 20 to 50 kW range, the Commission needs to know how such a requirement will affect the cost of doing business for these customers.  That is, would such a requirement simply impose additional metering costs, without sufficient benefits to offset these costs, or would the dynamics of the marketplace eventually produce net benefits once the costs of purchasing, installing, and servicing new hourly meters were accounted for?  Judging from the pre-workshop responses to this question, as well as the discussion of this topic at the workshop, the Energy Division concludes that (1) the available market information and experiences of direct access participants are still insufficient to answer this question with any analytical precision; and (2) anecdotal evidence and everyday observations strongly suggest that the costs associated with hourly interval metering render the purchase of a meter for direct access uneconomic.

There appeared to be general support for these conclusions among workshop participants.  Certain participants felt that the true costs and benefits of hourly interval metering for this customer group could not be known until the market and ISO mature, and therefore felt that a definitive statement on cost effectiveness or ineffectiveness was, at this point, premature.  Participants recognized that certain cost impacts could be quantified (hardware and services costs, primarily) while other costs could not.  For example, the issue of cross subsidization could create a cost impact if customers with unfavorable load factors are forced to obtain hourly interval meters rather than continuing to use load profiles.

Based on the discussion of this topic at the workshop, the Energy Division supports the general sentiment expressed by participants that imposing an hourly metering requirement at this time would most likely lead customers in this group to conclude that switching to direct access does not make economic sense.  This conclusion is supported by the data provided by the UDCs above, which shows that almost all the customers in this range who have gone direct access have chosen the load profiling option over installing an hourly meter.  Given a choice, few chose the meter option, which is the strongest evidence we have that customers themselves are analyzing their choices and concluding that installing meters would not produce a net benefit for them, given their particular circumstances.  By leaving the exemption in place, the Energy Division believes that the Commission can avoid creating a disincentive for customers in this group to switch to direct access, while still leaving it to the marketplace to demonstrate to individual customers any potential benefits of installing an hourly interval meter.

Should the load profiles for these customers be extended or discontinued in light of the metering situation?

As discussed in the next section, a general consensus was reached among workshop participants that the use of  load profiling within the 20-50kW range should be continued until March 31, 2002.  This consensus position reflects the clear sentiment among participants that the marketplace needs to know a specific date when the Commission may require switching from the use of load profiles to hourly interval meters.  Workshop participants emphasized the necessity of establishing a certain, predetermined date in order to facilitate essential planning by both utilities and ESPs.  Most importantly, the decision and the cut-off date would ideally be communicated to the market at least a year in advance of implementation.

Responses submitted by participants prior to the September 25 workshop are summarized below, in order to provide the Commission with the range of proposals that existed prior to the achievement of a consensus position at the workshop.  While there was general agreement among utility participants that hourly interval meters are preferable to load profiles because interval meters enable more accurate assignment of energy costs to different customers, individual utilities differed in their preferred timetables for phasing out the use of load profiles.

Southern California Edison (SCE) supported extending the interim load profiling eligibility for 20-50kW customers until the end of 1999, with any issues regarding any further extension of eligibility being revisited in a workshop held during 1999.

San Diego Gas and Electric’s (SDG&E) pre-workshop recommendation was to extend the metering exemption for direct access customers in the 20-50kW range through the end of 1999 in order to accurately quantify the cost effectiveness of interval metering and to provide adequate time for the installation of interval meters when the exemption is ended.

Pacific Gas and Electric’s (PG&E) pre-workshop recommendation called for discontinuance of load profiles, and suggested allowing the six months following January 1, 1999, as a transition period for existing direct access customers in the 20-50kW range to acquire interval meters.  New customers in that range would be required to obtain interval meters starting 1/1/99 without entitlement to a transition period.

Unlike the utilities, the Office of Ratepayer Advocate’s (ORA) analysis of the cost effectiveness of hourly interval metering led them to the conclusion that imposition of a mandatory interval meter requirement on customers in the 20-50kW range may lead to a chilling effect on direct access sign-ups.  ORA appears to oppose imposition of a mandatory requirement of interval meters at this time.

Enron advocates that interval meters for direct access customers should be optional.  Enron believes that direct access, as well as bundled service customers, that will derive benefit from hourly interval meters will choose to voluntarily invest in such meters based on the additional economic benefits of ownership. To avoid the uncertainty that results from extending the exemption for another year, Enron recommended extending the use of load profiles to January 1, 2002.

Green Mountain also strongly believes that customers in the 20-50kW range should be allowed to take direct access service based on their load profiles without being required to use an hourly interval meter. First, the cost of the interval meter is significant. Second, the principle of the competitive market is customer choice. And third, even the threat of having to install hourly interval meters in the future has prevented some customers in the 20-50kW range from buying renewable energy from Green Mountain.

Should hearings be held to resolve this issue?

There was widespread agreement among participants that hearings on this matter are not necessary.  Workshop participants did agree, however, that a transition workshop should be held to facilitate transition to meters and/or phase-out of load profiling.  The Energy Division addresses the need for this workshop in its discussion below regarding the workshop’s consensus recommendation.

What are the inconsistencies between the UDCs in the 20 kW load profiles threshold?  What do parties recommend as to how these inconsistencies should be resolved?

In general, the utilities have implemented the 20kW threshold in the following manner:  for customers with demand meters the utilities will screen customers to determine accounts with maximum demand of less than 20kW in 9 of the last 12 billing cycles.  For customers without demand meters, rate schedule definitions are used as a proxy for the 20kW breakpoint.  PG&E, for example, only allows customers with monthly usage of less than 500kWh to utilize load profiles.  In addition, PG&E considers less than 35hp connected agricultural loads as within the 20kW threshold.

Workshop participants regard the issue of threshold inconsistencies as somewhat of a gray area of direct access, and agreed that, although it affects load profiling in this instance, a workable policy can more effectively be developed in the Commission’s “Rule 22 Working Group”, where uniform, statewide changes to the utilities’ direct access tariffs are being considered.  The Energy Division supports this recommendation.

## Consensus Recommendation

Range of Possible Commission Actions

During the workshop, participants developed a list to illustrate the range of possible actions that the Commission could possibly take regarding either ending or extending the present exemption from the metering requirement for customers in the 20 to 50 kW range.  The list below summarizes the primary options that are available to the Commission.

- End exemption effective January 1, 1999 for new customers, and allow a 6-month transitional phase-out period for those customers currently taking service using load profiles instead of meters (PG&E’s pre-workshop proposal)

- Extend the present exemption through a particular date, to be specified by CPUC

- Extend the present exemption through the rate freeze period (defined as ending either on the legislatively mandated date of March 31, 2002, or effective with any CPUC decision to end the rate freeze on another date)

- Make the present exemption permanent.

Consensus Recommendation

Following development of the list above, parties in attendance agreed to consider making a “consensus” recommendation to the Commission.  Parties expressed their understanding that this recommendation would not be binding on the Commission, nor would it preclude other parties not in attendance from making alternative proposals in their comments on this workshop report.  Nevertheless, the Energy Division believes that this type of consensus recommendation will prove extremely helpful in providing the Commission with an accurate sense of the preferences of a significant range of market participants.  In addition, it will serve as a well-defined point of reference against which any other alternative proposals may be evaluated.

The primary motivation behind the proposal below appears to be a widespread desire among most market participants for predictability and certainty in this area.  Parties agreed that it will be helpful for the Commission to provide as much advance notice as possible of its intentions, which will in turn allow market participants to reflect future Commission policies in their contractual relationships well in advance of their implementation.  The proposal below was developed and agreed upon by workshop attendees with this primary goal in mind.

Table 1

Consensus Recommendation

For A CPUC Process To Reach A Final Decision On Load Profiling

For Customers With Maximum Demand Between 20 And 50 kW

|  | Deadline | Action |
| --- | --- | --- |
|  | Fall/Winter 1998: | Commission issues decision extending the present exemption for 20 to 50 kW customers, to end on March 31, 2002 |
|  | No later than June 30, 2000 | Energy Division conducts a workshop to “reevaluate the use of load profiles” as contemplated by D.97-05-040. This workshop will develop a final recommendation to the Commission regarding disposition of the 20 to 50 kW issue. |
|  | No later than March 31, 2001 | CPUC issues final decision, including any transition or phase-out plan, if necessary |
|  | March 31, 2002 | New policy on 20 to 50 kW customers takes effect |

## Procedural Next Steps

At the close of the workshop, the Energy Division explained to attendees the most likely next steps to be taken by the Commission in addressing this issue:

|  | Date | Action |
| --- | --- | --- |
|  | October 2, 1998 | Energy Division issues this workshop report |
|  | Week of October 5th | Assigned Commissioners may issue a ruling shortening comment period from 21 days to 14 days |
|  | October 16, 1998 | Interested parties file comments on this workshop report |
|  | November/December, 1998 | Commission issues decision on items recommended in this report: - Extend exemption - Order workshop to be held by June 30, 2000 - Endorse procedural schedule in Table 1 above |

ATTACHMENT

A

NOTICE OF WORKSHOP

BEFORE THE PUBLIC UTILITIES COMMISSION OF

THE STATE OF CALIFORNIA

Order Instituting Rulemaking on the Commission’s	)

Proposed Policies Governing Restructuring 	)		R.94-04-031

California’s Electric Services Industry and Reforming	)	(Filed April 20, 1994)

Regulation.		)

)

Order Instituting Investigation on the Commission’s	)

Proposed Policies Governing Restructuring	)		I.94-04-032

California’s Electric Services Industry and Reforming	)	(Filed April  20, 1994)

Regulation.		)

NOTICE OF WORKSHOP

TO DISCUSS ISSUES RELATED TO LOAD PROFILING:

- To assess the impacts of requiring metering for customers with maximum demands between 20 and 50 kW

- To determine whether the exemption allowing load profiles for 20 to 50 kW customers should continue past January 1, 1999

- To examine any inconsistencies in the 20 kW load profile cut-off points

Pursuant to D.97-10-086, Ordering Paragraph 7, and D.97-12-131, Ordering Paragraph 7.c., the Energy Division has scheduled a workshop to discuss the topics listed above with the Utility Distribution Companies (UDCs) and other interested persons.

The workshop will be held in the Commission Auditorium, located at 505 Van Ness Avenue, San Francisco CA, on September 25, 1998.  The workshop will be conducted from 9 a.m. to 12 p.m., and 1 p.m. to 5 p.m., if necessary.  Any member of the public may attend this workshop.  The Commission’s Auditorium is wheelchair-accessible.  Questions regarding the workshop should be addressed to Steve Roscow of the Energy Division (phone:  415-703-2818; FAX:  415-703-2200; e-mail:  scr@cpuc.ca.gov).

In order to spend time more productively at the workshop, interested parties may prepare answers to the attached questions, and post those answers electronically to the Commission’s Direct Access website, no later than September 22, 1998 by following the instructions on the next page.

Questions to be Answered by Parties Prior to Workshop

As originally decided by the Commission, customers whose maximum demand is equal to or greater than 20 kW who wish to participate in direct access must have an hourly meter.  (see D.97-05-040, p. 35)  However, the Commission also stated its willingness to explore possible exemptions from the requirement of having hourly meters, for those customers whose maximum demand is between 20 kW and 50 kW.  As a result of a workshop held in June of 1997 to explore this issue, in D.97-10-086 the Commission permitted the use of load profiles on an interim basis for all customers with a maximum demand of 20 kW or greater, but less than 50 kW.  Permission to use these interim load profiles was to be in effect until September 30, 1998, but this deadline was extended to January 1, 1999 by D.97-12-131.

As discussed in D.97-10-086 (pp. 27-38), the Commission adopted the interim exemption in order to allow customers who fall within the 20 to 50 kW range additional time to examine the costs and benefits of moving toward an hourly interval meter, while also allowing an opportunity for market forces to determine how much hourly interval meters should cost, and to allow the supply of such meters to match the demand.

Finally, in order to assess potential impacts of imposing a metering requirement, the Commission ordered the Energy Division to convene a workshop with the Utility Distribution Companies (UDCs) and other interested participants.  This workshop has been scheduled for September 25, 1998.  As ordered by the Commission (see D.97-10-086, p. 38), the purpose of the workshop will be to address the following questions:

- What are the costs associated with hourly interval metering?

- What is the likely cost impact of imposing the hourly interval metering requirement on customers whose maximum demands fall within the 20 to 50 kW range?

- How many customers in the 20 to 50 kW range are on load profiles, and how many have hourly interval meters?

- Should the load profiles for these customers be extended or discontinued in light of the metering situation?

- Should hearings be held to resolve this issue?

- What are the inconsistencies between the UDCs in the 20 kW load profiles threshold?  What do parties recommend as to how these inconsistencies should be resolved?

NOTE:  Parties who wish to include additional material on this topic in their written statements may do so, but this material must be clearly separated from the questions listed above.

In order to allow the Energy Division and other parties to prepare in advance for this workshop, parties who wish to do so are requested to prepare written answers to the above questions, and post them electronically to the Commission’s Direct Access website, no later than September 22, 1998.  To post a document electronically, include it as an attachment in an e-mail addressed to  lpweb@dra1.cpuc.ca.gov

The posted material may then be viewed by all parties at http://162.15.5.2:80/wk-group/dai/lp/

If time permits, the Energy Division will also post a draft Workshop Agenda to this website prior to the workshop.

CERTIFICATE OF SERVICE

I certify that I have by mail this day served a true copy of the original attached Energy Division “Notice Of Workshop To Discuss Issues Related To Load Profiling” on all parties of record in this proceeding or their attorneys of record.

Dated September 10, 1998, at San Francisco, California.

Stephen C. Roscow

N O T I C E

Parties should notify the Process Office, Public Utilities Commission, 505 Van Ness Avenue, Room 2000, San Francisco, CA  94102, of any change of address to insure that they continue to receive documents.  You must indicate the proceeding number on the service list on which your name appears.

The Commission’s policy is to schedule hearings (meetings, workshops, etc.) in locations that are accessible to people with disabilities.  To verify that a particular location is accessible, call:  Calendar Clerk (415) 703-1203.

If specialized accommodations for the disabled are needed, e.g., sign language interpreters, those making the arrangements must call the Public Advisor at (415) 703-2074 or TDD# (415)703-2032 five working days in advance of the event.

ATTACHMENT

B

PRE-WORKSHOP COMMENTS

- PG&E

- Southern California Edison

- SDG&E

- Green Mountain Energy

- Office of Ratepayer Advocates,

- San Diego Association of Governments

- ML Consulting Group

- Enron

- CellNet Data Systems, Inc.

ATTACHMENT

C

POST-WORKSHOP SUBMITTALS:

METER COST DATA

- PG&E

- Southern California Edison

- SDG&E

- Enron

- CellNet Data Systems, Inc.

ATTACHMENT

D

WORKSHOP SIGN-IN SHEET

“We will allow customers whose accounts have a maximum demand of less than 20 kW, to participate in direct access through statistical load profiling, as discussed below. They can also choose to have a meter installed which can provide hourly metering. (footnote omitted) Although it is our intent that statistical load profiling be an interim step towards customers utilizing metering technology that best reflects their consumption, we believe that it is premature to conclude today that load profiles for customers under 20 kW will not accurately reflect consumption.  Accordingly, we will not require hourly meters for direct access customers under 20 kW by January 1, 2002 until we have gained some experience with the use of statistical load profiles.  We will reevaluate the use of statistical load profiles in the year 2000.”  (D.97-05-040, pp. 35-36)