APPENDIX C

REQUIREMENTS FOR METER DATA MANAGEMENT AND METER READING IN

DIRECT ACCESS

July 29, 1998

VOTING RESULTS:

Because some issues were passed without a unanimous agreement among PSWG participants, each of the issues adopted as requirements in this Appendix C will have a table listing entities along with their voting positions.  Since some of the entities were sometimes absent from the PSWG Plenary meetings, the tables showing the voting results will show that these entities voted on some issues but not the others.

I.	DEFINITION OF MDMA BUSINESS FUNCTIONS

MDMA business functions include Meter Reading (MR) and Meter Data Management (MDM) functions. The PSWG recommends that the CPUC adopt these functions in its definition of an MDMA. Such action would clarify the CPUC’s description of an MDMA as stated in D.97-12-048.

At a summary level, MDMA business functions include the following:

Functions performed by Meter Data Management entity:

A.	Accept raw meter reads from meter reading entity

B.	As necessary, translate data into format for internal processing

C.	Associate meter reads with customer identifiers for use in validation or estimation, if needed

D.	Validate, edit, and estimate (VEE) data

E.	If necessary, translate data into CPUC-approved format prior to posting to MDMA Server

F.	Post validated, edited, and estimated data to MDMA Server for retrieval by market participants

- Perform data adjustments as required

- Re-frame data as required

- Resend previously posted data as required

G.	Maintain MDMA Server

H.	Archive raw data and validated data for 36 months

Functions performed by Meter Reading Entity:

A.	Collect data at the meter, including routine meter reads, special reads, and date and time of reads

B.	Transport data to the MDM

C.	Perform any Validation that is required to be performed either on-site or at the time of reading

D.	Check for and report suspected energy theft

E.	Check for and report hazardous conditions (if meter reading is performed locally)

Table I: Ballot Result on MDMA Business Functions (Plenary Meeting ??)

| For: ? | Against: ? | Abstain: ? |
| --- | --- | --- |
| ABB |  |  |
| Applied Metering Technologies |  |  |
| California Energy Commission |  |  |
| CPUC-ORA |  |  |
| Cellnet |  |  |
| Coalition of California Utility Employees |  |  |
| E-Mon |  |  |
| ENRON |  |  |
| EPRI |  |  |
| Firstpoint |  |  |
| GE |  |  |
| ITRON |  |  |
| LADWP |  |  |
| NERTEC |  |  |
| PG&E |  |  |
| Phaser |  |  |
| SCE |  |  |
| Schlumberger |  |  |
| SDG&E |  |  |
| Sierra Pacific Power |  |  |
| Southern Company |  |  |
| TeCom |  |  |

II.	Subcontracting MDM Functions

The PSWG recommends the Commission change D.97-12-048 to allow an entity to be approved for all or any subset of MDM functions, but, if approved for a subset, the entity must operate as a subcontractor to an approved MDMA. Also, the entity need not be re-approved to provide such functions as subcontractor to another MDMA. One example would be approval for meter reading only.

Table II: Ballot Result on Subcontracting MDM Functions (Plenary Meeting ??)

| For: ? | Against: ? | Abstain: ? |
| --- | --- | --- |
| ABB |  |  |
| Applied Metering Technologies |  |  |
| California Energy Commission |  |  |
| CPUC-ORA |  |  |
| Cellnet |  |  |
| Coalition of California Utility Employees |  |  |
| E-Mon |  |  |
| ENRON |  |  |
| EPRI |  |  |
| Firstpoint |  |  |
| GE |  |  |
| ITRON |  |  |
| LADWP |  |  |
| NERTEC |  |  |
| PG&E |  |  |
| Phaser |  |  |
| SCE |  |  |
| Schlumberger |  |  |
| SDG&E |  |  |
| Sierra Pacific Power |  |  |
| Southern Company |  |  |
| TeCom |  |  |

III.	MSP Ability to Subcontract Meter Programming to MDMA

The PSWG recommends that an MSP should be allowed to subcontract with an MDMA to reprogram meters remotely.

Table III: Ballot Result on Subcontracting Meter Programming to MDMA (Plenary Meeting ??)

| For: ? | Against: ? | Abstain: ? |
| --- | --- | --- |
| ABB |  |  |
| Applied Metering Technologies |  |  |
| California Energy Commission |  |  |
| CPUC-ORA |  |  |
| Cellnet |  |  |
| Coalition of California Utility Employees |  |  |
| E-Mon |  |  |
| ENRON |  |  |
| EPRI |  |  |
| Firstpoint |  |  |
| GE |  |  |
| ITRON |  |  |
| LADWP |  |  |
| NERTEC |  |  |
| PG&E |  |  |
| Phaser |  |  |
| SCE |  |  |
| Schlumberger |  |  |
| SDG&E |  |  |
| Sierra Pacific Power |  |  |
| Southern Company |  |  |
| TeCom |  |  |

IV.	MDMA Support

The PSWG agreed to the following standards for MDMA support to ESPs and UDCs.

The MDMA will provide access to technical and business assistance during normal business hours (8am to 5pm Pacific). At such times, staff will be available to address question and concerns on data availability, corruption and adjustments, and systems technical support.

In addition, the MDMA will provide access to a support pager available 24 hours a day/365 days a year to address issues of server availability. The MDMA shall respond and provide a status to all pages within 2 hours.

MDMA Server availability or access issues will be dealt with as soon as reasonably possible. At the MDMA's discretion, concerns over data availability, data corruption and adjustments or non-urgent problems will be addressed during the next business day.

Table IV: Ballot Result on MDMA Support (Plenary Meeting ??)

| For: ? | Against: ? | Abstain: ? |
| --- | --- | --- |
| ABB |  |  |
| Applied Metering Technologies |  |  |
| California Energy Commission |  |  |
| CPUC-ORA |  |  |
| Cellnet |  |  |
| Coalition of California Utility Employees |  |  |
| E-Mon |  |  |
| ENRON |  |  |
| EPRI |  |  |
| Firstpoint |  |  |
| GE |  |  |
| ITRON |  |  |
| LADWP |  |  |
| NERTEC |  |  |
| PG&E |  |  |
| Phaser |  |  |
| SCE |  |  |
| Schlumberger |  |  |
| SDG&E |  |  |
| Sierra Pacific Power |  |  |
| Southern Company |  |  |
| TeCom |  |  |

V.	MDMA Performance Standards

[NEED TO INSERT THREE BULLETS VOTED ON AS ITEM 10? 7/13]

Table V: Ballot Result on MDMA Performance Standards (Plenary Meeting ??)

| For: ? | Against: ? | Abstain: ? |
| --- | --- | --- |
| ABB |  |  |
| Applied Metering Technologies |  |  |
| California Energy Commission |  |  |
| CPUC-ORA |  |  |
| Cellnet |  |  |
| Coalition of California Utility Employees |  |  |
| E-Mon |  |  |
| ENRON |  |  |
| EPRI |  |  |
| Firstpoint |  |  |
| GE |  |  |
| ITRON |  |  |
| LADWP |  |  |
| NERTEC |  |  |
| PG&E |  |  |
| Phaser |  |  |
| SCE |  |  |
| Schlumberger |  |  |
| SDG&E |  |  |
| Sierra Pacific Power |  |  |
| Southern Company |  |  |
| TeCom |  |  |

The PSWG recommends that the CPUC adopt the policy that in the event of a large catastrophe (i.e., hurricanes, earthquakes, etc.) that prevents the MDMA from reading meters, the MDMA should then estimate and post the data.  This estimated data should be reported separately by the MDMA in their performance report, and not be included in any performance penalties assessed against the MDMA. [VI?? - VEE vote item]

The PSWG also recommends that estimated data due to meter failure where the meter is not accurately recording usage should be reported separately by the MDMA in their performance report, and not be included in any performance penalties assessed against the MDMA. [VI?? - VEE vote item]

Table IV: Ballot Result on MDMA Performance Exemptions (Plenary Meeting July 13, 1998)

(note - these were voted in as part of VEE and should have same table?  Or put Enron as voting for as this didn’t have anything to do with what their problem with the VEE rules was?)

| For: ? | Against: ? | Abstain: ? |
| --- | --- | --- |
| ABB |  |  |
| Applied Metering Technologies |  |  |
| California Energy Commission |  |  |
| CPUC-ORA |  |  |
| Cellnet |  |  |
| Coalition of California Utility Employees |  |  |
| E-Mon |  |  |
| ENRON |  |  |
| EPRI |  |  |
| Firstpoint |  |  |
| GE |  |  |
| ITRON |  |  |
| LADWP |  |  |
| NERTEC |  |  |
| PG&E |  |  |
| Phaser |  |  |
| SCE |  |  |
| Schlumberger |  |  |
| SDG&E |  |  |
| Sierra Pacific Power |  |  |
| Southern Company |  |  |
| TeCom |  |  |

VI.	EDI Implentation

The PSWG recommends EDI be implemented as follows:

VI.1.	For meter usage data transactions currently using CMEP, the PSWG recommends a migration to EDI following adoption of an implementation plan to be developed by market participants

i) All interested parties will work together to create a consistent statewide implementation guide, including file format and business rules, by 1/1/99.

ii) The rollout of EDI format based upon the implementation guide will be tentatively 12 months after completion of the guide but no later than 12/31/99.

iii) The implementation of EDI proposed in this recommendation anticipates the continued use of the existing Internet communication mechanism, i.e., retrieval of data from servers using HTTP with Secure Sockets Layer.  However, this does not preclude future changes to this communication mechanism in response to other standard-setting processes.

VI.2.	For any new transactions between MDMAs and market participants (other than in the previous item), the preferred method is EDI.

VI.3.	For electronic communications concerning Meter-Specific Information Flows, such as those described in the October 15, 1997, report to the CPUC, the preferred method is EDI.

Table VI-1: Ballot Result on EDI for Meter Usage (Plenary Meeting ??)

| For: ? | Against: ? | Abstain: ? |
| --- | --- | --- |
| ABB |  |  |
| Applied Metering Technologies |  |  |
| California Energy Commission |  |  |
| CPUC-ORA |  |  |
| Cellnet |  |  |
| Coalition of California Utility Employees |  |  |
| E-Mon |  |  |
| ENRON |  |  |
| EPRI |  |  |
| Firstpoint |  |  |
| GE |  |  |
| ITRON |  |  |
| LADWP |  |  |
| NERTEC |  |  |
| PG&E |  |  |
| Phaser |  |  |
| SCE |  |  |
| Schlumberger |  |  |
| SDG&E |  |  |
| Sierra Pacific Power |  |  |
| Southern Company |  |  |
| TeCom |  |  |

Table VI-2: Ballot Result on EDI for New MDMA Transactions (Plenary Meeting ??)

| For: ? | Against: ? | Abstain: ? |
| --- | --- | --- |
| ABB |  |  |
| Applied Metering Technologies |  |  |
| California Energy Commission |  |  |
| CPUC-ORA |  |  |
| Cellnet |  |  |
| Coalition of California Utility Employees |  |  |
| E-Mon |  |  |
| ENRON |  |  |
| EPRI |  |  |
| Firstpoint |  |  |
| GE |  |  |
| ITRON |  |  |
| LADWP |  |  |
| NERTEC |  |  |
| PG&E |  |  |
| Phaser |  |  |
| SCE |  |  |
| Schlumberger |  |  |
| SDG&E |  |  |
| Sierra Pacific Power |  |  |
| Southern Company |  |  |
| TeCom |  |  |

Table VI-3: Ballot Result on EDI for Meter Specific Information Flows (Plenary Meeting ??)

| For: ? | Against: ? | Abstain: ? |
| --- | --- | --- |
| ABB |  |  |
| Applied Metering Technologies |  |  |
| California Energy Commission |  |  |
| CPUC-ORA |  |  |
| Cellnet |  |  |
| Coalition of California Utility Employees |  |  |
| E-Mon |  |  |
| ENRON |  |  |
| EPRI |  |  |
| Firstpoint |  |  |
| GE |  |  |
| ITRON |  |  |
| LADWP |  |  |
| NERTEC |  |  |
| PG&E |  |  |
| Phaser |  |  |
| SCE |  |  |
| Schlumberger |  |  |
| SDG&E |  |  |
| Sierra Pacific Power |  |  |
| Southern Company |  |  |
| TeCom |  |  |

VII.	VEE

The PSWG makes the following general recommendations regarding VEE:

- Sanction ongoing work to clarify the rules by adding examples, flow charts, and definitions.

- Review the rules after the market has been operational.  Suggest review interval rules 4/99 and review monthly rules 6/99.  A change management procedure should be put in place, following the principles outlined in the Introduction.

- Eliminate the existing requirement to include the estimation algorithm when the data is posted.  Note that data that was estimated for any reason must always be flagged as estimated..  The MDMA must record and maintain the estimation algorithm as long as it is required to store the data (for the 3 year archive); this information will be made available upon request to the appropriate UDC or ESP.  This should be reviewed when the rules are reviewed to see if it is necessary based on market experience.

- Add an additional required code to CMEP (or other approved format) for verified data. Verified data is data which failed at least one validation check, but was determined to be valid.

- MDMA performance standards should be investigated to consider the number of consecutive months data for a given meter may be estimated.

The PSWG makes the following recommendations regarding interval data VEE rules:

- Adopt modifications to interval rules as outlined below and described in detail in the Interval VEE Rules version 2.1 in Appendix C-VEE.

| Modification | Optional/Required? | Earliest date acceptable | Required by |
| --- | --- | --- | --- |
| Spike check threshold | Optional | Now | n/a |
| kVARh check threshold | Optional | Now | n/a |
| Use of partial days for estimation | Optional (may make a bigger difference with some technologies than others) | Now | n/a |
| Don’t use days containing power fail as source for estimation | Required | Now | 90 days after Commission decision |
| Allow use of accurate meter readings scale estimated data | Optional (may apply more to some technologies than others) | Now | n/a |
| Simplified proration algorithm when meter clock is off | Optional | Now | n/a |
| Automated handling of irregular usage | Optional | Now | n/a |
| Handling of test mode intervals | Required | Now | 90 days after Commission decision |
| Clarification of selection of reference days | Required | Now | 90 days after Commission decision |
| High/low usage check | Required | Now | 90 days after Commission decision |
| kVARh check | Optional | Now | na |

The PSWG recommends the following regarding monthly VEE:

- Adopt monthly validation and estimation rules as described in Appendix C-VEE. Note that if this is not done in a timely fashion it may delay MDMAs ability to enter this market.

- Establish a group to define rules to convert interval data to billing determinants.  Monthly data validation and estimation rules would be reviewed as part of the process to determine any impact.

- Sanction ongoing work to:

- Investigate validation rules for TOU demand and usage

- Determine what is statistically valid as a minimum density requirement for rules based on similar customers.

- Determine sample calculations for optional trend factors to incorporate climatic and demographic areas in validation and estimation.

- Market participants will develop a standardized approach to acceptance testing for monthly data, commencing by 9/1/98.

Table VII: Ballot Result on VEE (Plenary Meeting July 13, 1997)

| For: ? | Against: ? | Abstain: ? |
| --- | --- | --- |
| ABB |  |  |
| Applied Metering Technologies |  |  |
| California Energy Commission |  |  |
| CPUC-ORA |  |  |
| Cellnet |  |  |
| Coalition of California Utility Employees |  |  |
| E-Mon |  |  |
| ENRON |  |  |
| EPRI |  |  |
| Firstpoint |  |  |
| GE |  |  |
| ITRON |  |  |
| LADWP |  |  |
| NERTEC |  |  |
| PG&E |  |  |
| Phaser |  |  |
| SCE |  |  |
| Schlumberger |  |  |
| SDG&E |  |  |
| Sierra Pacific Power |  |  |
| Southern Company |  |  |
| TeCom |  |  |