I. Definitions of Terms used in Table 1 below:

A meter type: A meter type that includes all parts, components and circuit boards, functioning as a unit.  A meter type includes all communication technologies and any additional functions utilized by that meter type and operated as a unit.  In a situation where a meter can work with multiple technologies or functions, but can only operate separately and individually with a single communication technology or function, the combination of the meter and one communication technology or function shall be considered as a different meter type from the combination of that meter and another communication technology or function.  For example, meter brand “X” with a phone modem attached is a different type from the same meter brand “X” with a radio modem attached.

(3)  New meter types: The meter types that satisfy CPUC requirements described in the CPUC Decision D.98-12-048 or the new requirements to be recommended by the PSWG and approved by the CPUC.  These meter types can be a new meter design or an existing meter which has undergone a significant design change.  A significant design change includes installation of an additional circuit board with new meter function(s) or  consolidation of two or more circuit boards.

Conforming meter type: The meter type that complies with C12.19 Standard.

Non-conforming (NC) meter type: The meter type that does not comply with C12.19 Standard.

(4)  Previously-approved NC meter types: The meter types that satisfy CPUC requirements described in the CPUC Decision D.98-12-048 and are currently being installed in California, but do not comply with C12.19 Standard.

(5) In-inventory meter products: The meter products that have been purchased and stored in inventory, but not yet installed for direct access service in California.  This does not include used, re-worked or recycled meters.

(6) In-service meter products: The meter products that have been approved and are currently in service for Direct Access.

Used meter products: The meter products that are removed from service.

(7) Re-worked meter products: The used meter products that are repaired, rebuilt, or refurbished.  These do not include recycled or retrofitted meter products.

(8) Recycled meter products: The used meter products that are cleaned, tested for accuracy and good operating condition, and returned to inventory.

Retrofitted meter products: The in-inventory or used meter products that are retrofitted with electronic modules.

II. Table 1: Requirements for Application of C12.19 Standard on all communication technologies except as noted.  Choices within a column do not represent scenarios across columns.

| Applicable for DA? | Required in D97-12-048 |
| --- | --- |

Staging Plan

(Effective date varies by meter products as defined in Section I above)

(1)

(2)

New meter types must conform

(3)

Meter products of previously-approved NC

meter types may be purchased

(4)

In-inventory  NC meter products may be installed

(5)

In-service NC meter products will be removed after

(6)

Re-worked

NC meter products must comply

(7)

Recycled NC meter products may be installed

(8)

Yes

No

After 3/20/00(a)

Throughout the commercial life of the product-no effective date for C12.19 compliance

Unlimited(b)-no effective date for C12.19 compliance

Unlimited(b)no effective date for C12.19 compliance

No effective date for C12.19 compliance

No effective date for C12.19 compliance

(a)  2 years from C12.19 Standard publication date.

(b) Unlimited means that there is no requirement nor effective date.