| Certification Tests to be performed in series | Descriptions of Certification Tests | Comments |
| --- | --- | --- |
|  | Test #1: No Load |  |
|  | Test #2: Starting Load |  |
|  | Test #3: Load Performance |  |
|  | Test #4: Effect of Variation of Power Factor |  |
|  | Test #5: Effect of Variation of Voltage |  |
|  | Test #6:Effect of Variation of Frequency |  |
|  | Test #7: Equality of Current Circuits |  |
|  | Test #8: Meter Losses |  |
|  | Test #9: Temperature Rise |  |
|  | Test #10: Effect of Register Friction |  |
|  | Test #11: Effect of Internal Heating |  |
|  | Test #12: Effect of Tilt |  |
|  | Test #13: Stability of Performance |  |
|  | Test #14: Independence of Elements |  |
| ü | Test #15: Insulation |  |
| ü | Test #16: Voltage Interruptions |  |
| ü | Test #17: Effect of High Voltage Line Surges |  |
|  | Test #18: Effect of External Magnetic Field |  |
|  | Test #19: Effect of Variation of Ambient Temperature |  |
|  | Test #20: Effect of Temporary Overloads |  |
|  | Test #21: Effect of Current Surges in Ground Conductors |  |
|  | Test #22: Effect of Superimposed Signals |  |
|  | Test #23: Effect of Voltage Variation-secondary Time Base |  |
|  | Test #24: Effect of Variation of Ambient Temperature-secondary Time Base |  |
|  | Test #25: Electrical Fast Transient/Burst |  |
| ü | Test #26: Effect of Radio Frequency Interference |  |
| ü | Test #27: Radio Frequency Conducted and Radiated Emission |  |
| ü | Test #28: Effect of Electrostatic Discharge (ESD) |  |
|  | Test #29: Effect of Storage Temperature |  |
| ü | Test #30: Effect of Operating Temperature |  |
| ü | Test #31: Effect of Relative Humidity |  |
| ü | Test #32: Mechanical Shock |  |
| ü | Test #33: Transportation Drop |  |
| ü | Test #34: Mechanical Vibration |  |
| ü | Test #35: Transportation Vibration |  |
|  | Test #36: Weather Simulation |  |
|  | Test #37: Salt-spray |  |
|  | Test #38: Raintightness |  |
| ü | Test #A1: Sunlight Interference |  |
| ü | Test #A2: ANSI C37.90.1, Surge Withstand |  |