VII. 	Glossary (Version 7/9/98)

Organization of the Glossary

The terms are organized into five categories, plus an alphabetized master list of terms:

1.  Standards concepts and regulatory terms

2.  Equipment and systems-related terms

3.  Data-related terms

4.  Functional components of the electricity marketplace

5.  Miscellaneous acronyms

1. 	Standards concepts and regulatory terms

Below are some fundamental distinctions between standards and requirements:

1.  	standards - to be used in a narrow, formal sense, as instituted by official standards bodies such as IEEE, ANSI, etc.

2.  	regulations or regulatory requirements - imposed by the CPUC or other regulatory entity;  i.e., "rules & regulations."

3.  	accepted practices - agreed to by industry participants, but not imposed in regulations or embodied in formal standards; i.e., "common or standard business practices."

4.	business requirements - activities or performance capabilities which comprise the business functions and objectives an entity must accomplish as part of its fundamental mission.

Customer Choice.  The ability of customers to choose among choices voluntarily offered by various service providers.

Reliability.  Absence of unscheduled, non-contractual, or unlawful service interruptions, or the prevention thereof.  The probability of a product performing without failure a specified function under given conditions for a specified period of time.

Specifications.  Particular qualitative and quantitative attributes of a technical system or its elements, upon which the functionality of that system or its suitability for a particular purpose depends.

Standards.  Specifications established or promulgated by an official standards body, for use by the public.

Closed Standards.  Standards that are not open, i.e., that fail to meet any of the four criteria for open standards.

International Standards.  Open Standards as adopted by an international standards body; the U.S. participates in ISO, IEC, and others.

National Standards.  Open Standards as adopted by a standards body accredited to a national standards body; in the U.S., ANSI Standards.

Open Standards.  Standards which are:  (1) developed in an open forum, (2) sanctioned by an official standards body, (3) vendor-neutral, and (4) readily available to the public at reasonable cost.

2.	Equipment and systems-related terms

a.	Meter

Electricity meter.  A device that measures and registers the integral of an electrical quantity with respect to time.

KYZ (pulser).  A device coupled to a sensor or meter which produces incremental pulses with a defined value of the measured media.

Meter.  A device for measuring and totaling the variable consumption of a product.  In general, a meter consists of a sensor that detects and measures a flow, and an integrating device or register that displays the total consumption in metrological units.

Meter product.  A physical device that performs the functions of a meter, and may perform other functions as well, e.g., communications-related functions, within the same physical package.

Meter product -- in-inventory.  The meter products that have been purchased and stored in inventory, but not yet installed for direct access service in California.  This does not include used, re-worked or recycled meters.

Meter product -- in-service.  The meter products that have been approved and are currently in service for Direct Access.

Meter product -- used.  The meter products that are removed from service.

Meter product -- re-worked.  The used meter products that are repaired, rebuilt, or refurbished.  These do not include recycled or retrofitted meter products.

Meter product -- recycled.  The used meter products that are cleaned, tested for accuracy and good operating condition, and returned to inventory.

Meter product -- retrofitted.  The in-inventory or used meter products that are retrofitted with electronic modules.

Meter type. The design and specifications for a meter product, which includes all parts, components and circuit boards, functioning as a unit.  A meter type includes all communication technologies and any additional functions utilized by that meter type and operated as a unit.  In a situation where a meter can work with multiple technologies or functions, but can only operate separately and individually with a single communication technology or function, the combination of the meter and one communication technology or function shall be considered as a different meter type from the combination of that meter and another communication technology or function.  For example, meter brand “X” with a phone modem attached is a different type from the same meter brand “X” with a radio modem attached.

Meter type -- new.  The meter types that satisfy CPUC requirements described in the CPUC Decision D.98-12-048 or the new requirements to be recommended by the PSWG and approved by the CPUC.  These meter types can be a new meter design or an existing meter which has undergone a significant design change.  A significant design change includes installation of an additional circuit board with new meter function(s) or  consolidation of two or more circuit boards.

Meter type -- conforming.  The meter type that complies with C12.19 Standard.

Meter type -- non-conforming (NC).  The meter type that does not comply with C12.19 Standard.

Meter type -- previously-approved NC.  The meter types that satisfy CPUC requirements described in the CPUC Decision D.98-12-048 and are currently being installed in California, but do not comply with C12.19 Standard.

Local Meter Reading.  The reading of  meters accomplished by physically visiting individual customer premises or meter installation sites.

Remote Meter Reading.  The reading of meters accomplished without physically visiting individual customer premises or meter installation sites.  [NOTE:  Includes “drive-by” meter reading.]

Watt-hour Meter.  An electricity meter that measures and registers the integral, with respect to time, of the active power of the circuit in which it is connected.  The power integral is the energy delivered to the circuit during the interval over which the integration extends, and the unit in which it is measured is usually the kilowatt-hour. (ANSI C12.1)

b.	Interoperability and Open Architecture

Interoperability.  The capability to operate products (meters), from different types and manufacturers, on the same network under the same conditions and rules.

Open Architecture.  A set of design specifications which utilize "Open Standards" to accomplish "Interoperability."

Open Standards.  Standards which are:  (1) developed in an open forum, (2) sanctioned by an official standards body, (3) vendor-neutral, and (4) readily available to the public at reasonable cost.

From CPUC D.97-12-048 (MDCS Decision), p. 9:  "Interoperability is the ability of dissimilar devices or systems to communicate between each other in such a way that the characteristics of the device or system providing the service to the user of the data are transparent.  Open architecture [is] an environment where the specifications for interfaces, services, protocols and data formats are vendor-neutral, published, freely available, and agreed upon in an open process under the auspices of a recognized national or international standards body.  Open architecture serves as the vehicle for allowing interoperability to take place.  Interoperability in turn enables customers to choose from multiple suppliers of electric services the providers that best meet their needs."

From CPUC Decision 97-05-039, p. 5:  “... open architecture, or interoperability standards, which would allow meters with varying levels of functionality to connect to the network communications and data infrastructures.”  And p. 15:  “... in order to avoid constructing such a barrier, those who plan to participate in the market place must agree upon standards for open architecture for meters and communication.  This is consistent with the Commission’s requirement ... that communication networks be interoperable.  This refers to creating specifications that will ensure that all meters will provide information and communicate via an open architecture.”

3. 	Data-related terms

Adjustment.  Any change to a customer's usage data made to correct an error in the original data.

Average Daily Usage (ADU).  Average daily usage over a specified period of time, such as a billing period.  For example, if all constants and factors have already been applied to the reads, the ADU could be calculated by:  ADU = (current billing read - previous billing read)/(# days between billing reads).

Critical Data and Critical Information Flows.  Data and information flows essential for accurate commercial settlements among all parties involved directly or indirectly in retail electricity transactions.

Data Quality and Integrity (DQI).  The characteristics of usage data that ensure its suitability for billing and settlement of electricity transactions.  Includes processes and controls necessary to insure the accuracy of usage data.

Electronic Data Interchange (EDI).  The computer-application-to-computer-application exchange of business information in a standard format.  In the context of this report, EDI refers to use of the ANSI X12 standards.

"End-to-End" Energy Transaction.  Term used in the context of Data Quality and Integrity to refer to the entire chain of inter-related metering and data activities and information flows that support the measurement and sale of unbundled electric energy by ESPs to retail direct access customers.  The data used in energy transactions originate with individual customer usage data, recorded at the point of delivery (i.e. the meter, or for unmetered customer accounts, such as streetlights and traffic controls, estimated at the end-use appliance itself).  This data is then communicated, processed, and aggregated, potentially passing through several functional links (which may or may not reside in separate business entities), before final submission, in aggregate “settlement ready” form, to the ISO for ex-post energy settlement.  The "end-to-end" energy transaction thus encompasses both retail and wholesale elements.

Estimated data. Usage data that has been calculated based on standard estimation rules.

Implementation Guideline.  Defines the EDI environment for using conventions within an industry, and provides assistance on how to implement the X12 standard.  The Utility Industry Group (UIG) establishes Implementation Guidelines for the utility industry.

Interval data.  Metered end-use data from a meter capable of recording actual energy usage for each time interval (e.g., hour, half-hour, etc.) during the billing cycle.

Irregular usage customer.  Customer whose usage pattern does not follow normal usage patterns and consistently fails validation checks.

Metered End-Use or Consumption Data.  Energy usage data associated with a particular meter and a particular end-use customer.

Monthly data.  Monthly cumulative consumption, demand, and Time-of-Use (TOU) consumption and demand metered usage data.

Pulse overflow.  Condition in which the actual usage during an interval is larger than can be captured by the meter or recorder.

Raw data.  Metered end-use data that has not gone through the validation, editing and estimation (VEE) process.

Re-framing.  Changing the time frame of the metered usage data posted to the MDMA server.  This typically refers  to changing the beginning or ending date/time of the usage data.

Settlement-Quality data.  Hourly validated usage data, regardless of whether it was obtained from an hourly interval meter or from the application of a statistical load profile to a monthly usage total.

Settlement-Ready data.  Settlement quality data which has had appropriate distribution loss factors applied and which has been aggregated as required for delivery to SCs.  Such aggregation will typically be according to ESP and geographic area (e.g., ISO-grid take-out node), but will not aggregate metered hourly data with load profiled data.  (This definition ignores the problem of adjusting for local generation.  Readers concerned about this should consult the ISO Tariff filed on August 15, 1997.)

Test mode.  Period during which a test load is applied to a meter or recorder to verify its accuracy.

Unaccounted For Energy (UFE).  “The difference in Energy, for each UDC Service Area and Settlement Period, between the net Energy delivered into the UDC Service Area, adjusted for UDC Service Area Transmission Losses, and the total metered Demand within the UDC Service Area adjusted for distribution losses [i.e., Settlement Ready Data] . . .  This difference is attributable to meter measurement errors, power flow modeling errors, energy theft, statistical load profile errors, and distribution loss deviations.”  From “Master Definitions Supplement” to the ISO Tariff filed August 15, 1997.  UFE may also be due to errors in processing of data.  (This definition ignores the problem of adjusting for local generation.  Readers concerned about this should consult the ISO Tariff filed on August 15, 1997.)

Valid data.  Metered end-use data that has gone through all required validation checks and either passed them all or has been verified.

Validation check.  Data check designed to identify metered end-use data that may not reflect actual usage, typically due to problems at the meter or recorder.

Verified data.  Metered end-use data that failed at least one of the required validation checks but was determined to represent actual usage.

Validated data.  Metered end-use data that has been validated, edited and estimated (VEE) in accordance with approved procedures.

VEE.  Validating, Editing and Estimating.

4.  	Functional components of the electricity marketplace

Agent. Any service provider employed or contracted by another entity, where the second entity has formal responsibility for the service provider's activities. For example, an ESP has the regulatory responsibility for acquiring, processing, transmitting, etc., the metered usage data required for commercial settlement, but it may contract with an MDM service provider to perform these activities as its MDM Agent (MDMA).

Provider, or service provider. An entity who performs services for its customers in any one or more of the basic functional areas:  MS = meter services (i.e., meter instrument and related services), MR = meter reading, MDM = meter data management, B = billing, ES = energy service or electricity commodity.

ESP.  Electric Service Provider.  The party that contracts with the end-use customer to provide commodity electric service.

MDMA.  Meter Data Management Agent who performs a function which entails acquiring raw end-use data, performing VEE to create validated data, providing validated data to specified market participants, and maintaining an archive of raw and validated meter data.

MSP.  Metering Service Provider (equivalent to the term MA, Metering Agent, used in various earlier reports on these subjects).  The MSP function includes provision of the meter instrument, installation, calibration, maintenance, programming, and possibly metering local area network (LAN).

SC.  Scheduling Coordinator.  Entity authorized by the ISO to submit forward schedules and settlement-ready usage data on its own behalf and that of its clients.  All ESPs must use the services of a SC to schedule power to be delivered over the ISO-controlled grid, and to settle ISO-related charges.  The SC enforces ISO requirements for schedules and settlement-ready data.

UDC.  Utility Distribution Company.  The restructured IOU, presently consisting of both a UDC-disco or distribution service provider and a UDC-ESP function, plus MSP, meter reading and MDMA functions as well.

5.  	Miscellaneous Acronyms

ADU.  Average daily usage.

DAWG.  Direct Access Working Group; stakeholder working group that met during spring and summer of 1996; filed DAWG Report with the CPUC on August 31, 1996, and the Consumer Protection and Education Report on October 30, 1996.

DLF.  Distribution Loss Factor.  DLFWG to meet spring-summer 1998.  (For further information and published documents visit website:  162.15.5.2/wk-group/dai/dlf)

DQI.  Data Quality and Integrity.  DQIWG to meet spring-summer 1998.  (For further information and published documents visit website:  162.15.5.2/wk-group/dai/dqi)

ISO.  Independent System Operator.

LP.  Load Profile; in restructuring context, may be used to refer to either the actual usage profile for a specific consumer, or a statistical "template" used to estimate hourly usage.  (For further information and published documents visit website:  162.15.5.2/wk-group/dai/lp)

MADAWG.  Metering And Data Access Working Group. (Spring-summer 1997)  Stakeholder-initiated working group that developed MDMA concept and procedures, and provided input to formal RSIF and MDCS workshops.

MDCS.  Metering and Data Communication Standards; refers to CPUC-direct workshop which met in July 1997 and filed a workshop report with the CPUC on July 25, 1997.  (For further information and published documents visit website:  162.15.5.2/wk-group/dai)

MUG.  Meter Data Management Agent User Group.

PSWG.  Permanent Standards Working Group.  (For further information and published documents visit website:  162.15.5.2/wk-group/dai/pswg)

PX.  Power Exchange.

RDQI.  Retail Data Quality and Integrity.  Supplement to RSIF Workshop Report.  (For further information and published documents visit website:  162.15.5.2/wk-group/dai)

RSIF.  Retail Settlements and Information Flows; refers to CPUC-directed workshop held in July 1997 and the following series of workshop reports:  RSIF Workshop Report (July 25, 1997), Supplement on Retail Data Quality and Integrity (August 18), Supplement on Distribution Loss Factors (August 18), Supplement on UDC-ESP Communications (August 18), Supplement on Universal Identifiers (October 15), Supplement on Meter-Specific Information Flows (October 15), and Second Supplement on Retail Data Quality and Integrity (October 15).  (For further information and published documents visit website:  162.15.5.2/wk-group/dai)

R22WG.  Rule 22 Working Group.  (For further information and published documents visit website:  162.15.5.2/wk-group/dai/tariff)

SCUG.  Scheduling Coordinators User Group.

SDP.  Service Delivery Point.  The end point of the utility distribution system where the end-user receives electricity.

TLA.  Three-letter acronym.

UFE.  Unaccounted-For Energy (defined above).

UNI.  Universal Node Identifier; UNIS denotes UNI System.  (For further information and published documents visit website:  162.15.5.2/wk-group/dai/uni)