Permanent Standards Working Group Issues

February 18, 1998

LEGEND - Outline nomenclature indicates contributor.

s.x.y - SDG&E proposal, heading x, subheading y

a.x,y - Chris King proposal, heading x, subheading y

b.x.y - August Nevolo proposal, heading x, subheading y

c.x.y - Michele Wynne proposal, heading x, subheading y

d,x,y - Greg Lizak proposal, heading x, subheading y

s.1. Physical Meter Technical Group

s.1.a. Applicable ANSI Standards

b.1.a Identify and prepare a list of interim and proposed meter standards (ANSI, IEEE, IEC, other) to be considered and reviewed for direct access application and rationale for its inclusion

s.1.b. Instrument Transformers

b.1.b. Identify and prepare a list of interim and proposed instrument transformer standards (ANSI, IEEE, IEC, other) to be considered and reviewed for direct access application and rationale for its inclusion.

s.1.c. Applicable Manufacturer’s Tests - Refine Appendix A, Product Certification Testing Requirements

b.1.c.Identify and prepare a list of interim and proposed instrument transformer standards (ANSI, IEEE, IEC, other) to be considered and reviewed for direct access application and rationale for its inclusion.

s.1.d.. Mounting/ Socket Based / ABased / KBased / Test Switches

b.1.d. Identify and prepare a list of interim and proposed Mounting Socket standards (ANSI, IEEE, other) to be considered and reviewed for direct access application and rationale for its inclusion.

s.1.e. Meter Safety

b.1.e. Identify and prepare a list of interim and proposed meter safety standards (ANSI, IEEE, NEC Fire Code, State and Local Codes) to be considered and reviewed for direct access application and rationale for its inclusion.

s.1.f. Meter Accuracy / Meter Reliability

b.1.f. Identify and prepare a list of interim and proposed meter accuracy standards (ANSI, IEEE, etc.) to be considered and reviewed for direct access application and rationale for its inclusion.

s.1.g. Data Storage (35 days) / Data Interval Recording (15 min, 30 min, hourly)

b.1.g. Identify Meter Equipment requirements (RSIF, existing and/or joint proposed UDC practices, etc.)

s.1.h. Programming

b.1.g. Identify Meter programming requirements (RSIF, existing and/or joint proposed UDC practices, etc.)

s.1.i. Process for adoption and implementation of evolving standards

b.1.i. This process should provide an ongoing mechanism to (a) evaluate upgrades to existing standards, (b) adoption and implement evolving standards, (c) recommend new standards to meet the future needs of Direct Access for California utility customers.

s.1.j. Permanent Standards Governing Board

b.1.j. See proposed Coordination Committee.

s.1.k. Compliance with Standards

b.1.k. Identification of key requirements needed to specify:

i)	The set of services that will be provided by the Meter (located between interfaces 3 and 4 in Figure 1.

d.1.k.    PSWG should work to develop an improved diagram that more clearly identifies key elements of metering and data communications.

b.1.l. Prepare evaluation criteria for use in the selection of standards and practices by the Metering Equipment Working Committee

i)	These criteria should meet the general requirements specified by D.97-12-048 for Open Architecture, Safety, Accuracy and Reliability as well as the technical requirements identified by the Direct Access Workshops and those that will be identified by the PSWG.

b.1.m. Prepare and publish routine Committee documents, including Agendas and meeting minutes

b.1.n. Prepare Assessment Reports

i)	These reports should identify the standards and practices reviewed the Meter Equipment Committee, including the relative merit of each competing standard or practice considered

b.1.o. Prepare Recommended Standards/Practices Report

This report should identify the standards and/or practices recommended reviewed the Meter Equipment Committee, including assessments of the key competing standards and/or practices and a rationale for the standard(s) or practice(s) selected

s.2. Metering Communications Technical Group

b.2. Open Architecture

s.2.a. Open Architectures

b.2.a. Open Architecture

Ensure that standards recommended comply with the definition of open architecture included in M&DCS Workshop Report and referenced in D.97-12-048:

a)	An “Open Architecture” (OA) is an environment where the specifications for interfaces, services, protocols and data formats are vendor neutral, published, freely available and are agreed upon in an open process, under the auspices of a recognized national or international standards body, (e.g., IEEE, ANSI, ISO, IEC or ITU).    For MDCS, OA is defined as meter system elements that are easily changed and communicate through open interfaces.

d.2.a. drop the proposed definition, at this stage. The definition of open architecture is not yet complete and there are different interpretations. One of the objectives of PSWG is to develop a definition(s) that is appropriate for California Direct Access and that explains more than the one suggested.

s.2.b. Type 2 Optical Ports

b.2.b. See items (2.h, I, n, p, q)

s.2.c. Internal Modems / RF Modules

b.2.c. See items (2.h, I, n, p, q)

s.2.d. External Communications Modules

b.2.d. See items (2.h, I, n, p, q)

s.2.e. Process for adoption and implementation of evolving standards

b.2.e. This process should provide an ongoing mechanism to (a) evaluate upgrades to existing standards, (b) adoption and implement evolving standards, (c) recommend new standards to meet the future needs of Direct Access for California utility customers.

s.2.f. Permanent Standards Governing Board

b.2.f. See proposed Coordination Committee.

s.2.g. Compliance with Standards

b.2.h. Utilize the key requirements identified in (1.k.i) to develop:

i)	The complete interface specification that enables data flow across interface 3 in Figure 1.

ii)	The complete interface specification that enables data flow across interface 4 in Figure 1.

b.2.i.	Prepare a list of applicable Open Architecture standards for interface 3 and 4 based on completion of item (2.h).

i) Identify and prepare a list of interim and proposed meter standards (ANSI, IEEE, IEC, other) to be considered and reviewed for direct access application and rationale for its inclusion.

b.2.j)	Utilize the key requirements identified in (3.b.i.a) to develop:

i) The complete interface specification that enables data flow across interface 2 in Figure 1.

ii) The complete interface specification that enables data flow across interface 3 in Figure 1.

b.2.k)	Prepare a list of applicable Open Architecture standards for interface 2 based on completion of item (2.h).

i)	Identify and prepare a list of interim and proposed meter standards (ANSI, IEEE, IEC, other) to be considered and reviewed for direct access application and rationale for its inclusion.

b.2.l)	Utilize the key requirements identified in (3.d.i.a) to develop:

i) The complete interface specification that enables data flow across interface 1 in Figure 1.

ii) The complete interface specification that enables data flow across interface 2 in Figure 1.

b.2.m)	Prepare a list of applicable Open Architecture standards for interface 1 based on completion of item (2.l).

i) Identify and prepare a list of interim and proposed meter standards (ANSI, IEEE, IEC, other) to be considered and reviewed for direct access application and rationale for its inclusion.

b.2.n)	Prepare evaluation criteria for use in the selection of standards and practices by the Metering Communications Systems Working Committee

i) These criteria should meet the general requirements specified by D.97-12-048 for Open Architecture, Safety, Accuracy and Reliability as well as the technical requirements identified by the Direct Access Workshops and those that will be identified by the PSWG.

b.2.o)	Prepare and publish routine Committee documents, including Agendas and meeting minutes

b.2.p)	Prepare Assessment Reports

i) These reports should identify the standards and practices reviewed the Metering Communications Committee, including the relative merit of each competing standard or practice considered.

b.2.q)	Prepare Recommended Standards/Practices Report

This report should identify the standards and/or practices recommended reviewed the Metering Communications Committee, including assessments of the key competing standards and/or practices and a rationale for the standard(s) or practice(s) selected.

s.3. Meter Data and Meter Data Management Technical Group

a.3. Meter Reading and Meter Data Management Technical Group

b.3. Meter Reading and Meter Data Management Technical Group

s.3.a. Refine Appendix C & D using MDMA User Working Group’s product

s.3.b. Meter Reading

b.3.b)	Identification of key requirements needed to specify:

a) The set of services that will be provided by the Meter Reading System (located between interfaces 2 and 3 in Figure 1.

s.3.c. File Format / File Security

b.3.c.	Data formats should be consistent with requirements and data interface specifications as determined in items (2.h – 2.m).    Data security protocols should also be consistently applied based on requirements and data interface specifications as determined in items (2.h – 2.m) as well as being compliant with Open Architecture requirements.

s.3.d. System Interface Protocols - Refine Appendix E

b.3.d.	Identification of key requirements needed to specify:

a) The set of services that will be provided by the Meter Data Management System (located between interfaces 1 and 2 in Figure 1.

s.3.e. Record Layouts

s.3.f. Data Exchanged Requirements

s.3.g. Server Availability / System Redundancy Requirements

s.3.h. Acceptance Testing / Certification Approval VEE Testing

s.3.i. Meter Identifier System

s.3.j. Meter Repository

s.3.k. Process for adoption and implementation of evolving standards

b.3.k)	This process should provide an ongoing mechanism to (a) evaluate upgrades to existing standards, (b) adoption and implement evolving standards, (c) recommend new standards to meet the future needs of Direct Access for California utility customers.

s.3.l. Permanent Standards Governing Board

b.3.l. See proposed Coordination Committee.

s.3.m. Compliance with Standards

a.3.b. Relationship of this group to the MDMA Users Group

b.3.n.	Compliance with definition of Open architecture:

i)	Ensure that standards recommended comply with the definition of open architecture included in M&DCS Workshop Report and referenced in D.97-12-048:

a)	An “Open Architecture” (OA) is an environment where the specifications for interfaces, services, protocols and data formats are vendor neutral, published, freely available and are agreed upon in an open process, under the auspices of a recognized national or international standards body, (e.g., IEEE, ANSI, ISO, IEC or ITU).    For MDCS, OA is defined as meter system elements that are easily changed and communicate through open interfaces.

d.3.n.i.a. drop the proposed definition, at this stage. The definition of open architecture is not yet complete and there are different interpretations. One of the objectives of PSWG is to develop a definition(s) that is appropriate for California Direct Access and that explains more than the one suggested.

b.3.o. Prepare evaluation criteria for use in the selection of standards and practices by the Metering Equipment Working Committee

i)	These criteria should meet the general requirements specified by D.97-12-048 for Open Architecture, Safety, Accuracy and Reliability as well as the technical requirements identified by the Direct Access Workshops and those that will be identified by the PSWG.

b.3.p. Prepare and publish routine Committee documents, including Agendas and meeting minutes

b.3.q. Prepare Assessment Reports

i)	These reports should identify the standards and practices reviewed the Meter Data and Meter Data Management Committee, including the relative merit of each competing standard or practice considered

b.3.r. Prepare Recommended Standards/Practices Report

This report should identify the standards and/or practices recommended reviewed the Meter Data and Meter Data Management Committee, including assessments of the key competing standards and/or practices and a rationale for the standard(s) or practice(s) selected.

s.4. Meter Installation and Maintenance Technical Group

c.4. Meter Installation, Maintenance, Testing and Calibration

s.4.a. Meter Worker Qualifications - include Joint Parties’ proposal submitted to CPUC

s.4.b. Safety Issues

s.4.c. Refine Appendix B - DA Meter Site Installation and Testing Requirements

s.4.d. Joint Meets

s.4.e. Process for adoption and implementation of evolving standards

b.2.e. This process should provide an ongoing mechanism to (a) evaluate upgrades to existing practices, (b) adoption and implement evolving practices and standards, (c) recommend new practices and standards to meet the future needs of Direct Access for California utility customers.

s.4.f. Permanent Standards Governing Board

b.2.f. See proposed Coordination Committee.

s.4.g. Compliance with Standards

b.5. Coordination Committee

b.5.a)Based on discussions held at the PSWG Workshop held on January 30, 1998 there was a strong consensus that a strong Permanent Standard Governing Board or Coordination Committee was inappropriate.    A Committee whose main function would be coordination was espoused.    Following is a listing of the key tasks of a proposed PSWG Coordination Committee:

i)	Coordinate technical issues arising between other PSWG committees

ii)	Identify technical issues that need to be resolved and bring them to the attention of the PSWG Committee most suited to develop a solution.

iii)	Work with the PSWG Committees to ensure that the work of the PSWG is complete and accurate

iv)	Work with the PSWG Committees to ensure that evaluation criteria for use in the selection of standards and practices by the PSWG Working Committees are consistent.

v)	Work with the PSWG Committees to ensure that processes developed for adoption and implementation of evolving standards by their committees are consistent

vi)	Work with the PSWG Committees to ensure that Identification of key requirements are specified consistently across all Meter & Data Communications functions such that:

a)	The set of services that will be provided by the Meter, Meter Reading and Meter Data Management systems (located between interfaces 3 & 4, 2 & 3, and 1 & 2 in Figure 1. are completely defined.

b)	The interface specifications that enable data flow across interface 4, 3, 2 & 1 in Figure 1 are complete.

vii)	Work with the PSWG Committees to ensure that “Recommended Standards/Practices Reports” prepared by the PSWG Committees are consistent and architecturally sound.