Meeting Minutes of 2/25/98.

Physical Meter Subgroup Meeting.

Goal

Make recommendations of standards and requirements for metering devices

Definition of meter:

A device responsible for measuring and registering energy.

Scope of work:

To review applicable metering standards (such as ANSI, IEEE, ISO, IEC, etc.) with regards for the following:

Accuracy

Physical attributes

Environmental specifications

Interface (below #3 on the diagram.

Safety

Reliability

Faceplate

Instrument Transformers

Meter Product Certification

Mounting

Security

Issues that need to be addressed at a higher level

Data Interval Recording (5-15 minute interval?)
Storage?
Reference MDCS report and the RSIF work.

If time permits develop a process for emerging and changing standards.

Initial preliminary listing of some ANSI standards to consider:

ANSI C12.1-1995

ANSI C12.4-1984 (R1996)

ANSI C12.5-1978 (R1996)

ANSI C12.6-1987 (R1996)

ANSI C12.7-1993

ANSI C12.8-1981 (R1997)

ANSI C12.9-1993

ANSI C12.10-1987

ANSI C12.11-1987 (R1993)

ANSI C12.13-1991

ANSI C12.14-1982 (R1993)

ANSI C12.15-1990

ANSI C12.16-1991

ANSI C12.17-1991

ANSI C12.18-1996

ANSI C12.19-1997

ANSI 57.13

ANSI C37.90.1

For corrections please E-Mail me.

Jamie Patterson
California Energy Commission
1516 Ninth Street MS-43
Sacramento, CA 95814-5512

916-657-4819

jpatters@energy.state.ca.us