Meeting Minutes of 3/11/98.

Physical Meter Subgroup Meeting.

- ANSI C12.10, C12.19 and C12.20 are posted to the web site.

- MDCS report is at <<dra1.cpuc.ca.gov/wk-group/dai>> Please review it.

- Other sources of standard information is at:
<<www.se240.com-epri.com>>
<<www.amrahq.com>> click standards, then click TIU subcommittee.

Guiding Principle: Minimum standards required to meet the funtional and safety requirements of the marketplace as expressed in 97-12-048.

What is a DA meter as defined in decision 97-12-048 for customers that do not have load profiles?

- Measure hourly data

- An adequate retrieval system

Sources of Standards.

NEMA (currently overseeing ANSI)
Global Engineering Services
ISO at <<www.caiso.com>>> (Independent System Operator)

A sample of ANSI and IEEE Standards for consideration and review

ANSI C12.1-1995 : Electricity Metering, Code for

ANSI C12.4-1984 (R1996) : Registers, Mechanical Demand

ANSI C12.5-1978 (R1996) : Meters, Thermal Demand

ANSI C12.6-1987 (R1996) : Phase-Shifting Devices Used in Metering, Marking and Arrangement of Terminals for

ANSI C12.7-1993 : Requirements for Watthour Meter Sockets

ANSI C12.8-1981 (R1997) : Watthour Meters, Test Blocks and Cabinets for Installation of Self-Contained 'A' Base

ANSI C12.9-1993 : Test Switches for Transformer-Rated Meters

ANSI C12.10-1987 : Electromechanical Watthour Meters

ANSI C12.11-1987 (R1993) : Instrument Transformers for Revenue Metering, 10 kV BIL through 350 kV BIL (0.6 kV NSV through 69 kV NSV)

ANSI C12.13-1991 : Electronic Time-of-Use Registers for Electricity Meters

ANSI C12.14-1982 (R1993) : Electricity Meters, Magnetic Tape Pulse Recorders for

ANSI C12.15-1990 : Electricity Metering - Solid-State Demand Registers for Electromechanical Watthour Meters

ANSI C12.16-1991 : Solid-State Electricity Meters

ANSI C12.17-1991 : Cartridge-Type Solid-State Pulse Recorder for Electricity Metering

ANSI C12.18-1996 : Protocol Specification for ANSI Type 2 Optical Port

ANSI C12.19-1997 : Utility Industry End Device Data Tables

ANSI C37.90.1-1989 (R1994) . Surge Withstand Capability (SWC) Tests for Protective Relays and Relay Systems

ANSI/ASQC Z1.4-1993 . Sampling Procedures and Tables for Inspection by Attributes

ANSI/ASQC Z1.9-1993 . Sampling Procedures and Tables for Inspection by Variables for Percent Nonconforming

IEEE C57.13-1978 (R1987) : Instrument Transformers, Requirements for

IEEE C57.13.1-1981 (R1992) : Field Testing of Relaying Current Transformers

IEEE C57.13.2-1991 : Conformance Test Procedures for Instrument Transformers

IEEE C57.13.3-1983 (R1991) : Grounding of Instrument Transformer Secondary Circuits and Cases, Guide for the

From <<http://www.ansi.org/catalog/search.html>>

For corrections please E-Mail me.

Jamie Patterson
California Energy Commission
1516 Ninth Street MS-43
Sacramento, CA 95814-5512

916-657-4819

jpatters@energy.state.ca.us