| Certification Tests to be performed in series | Descriptions of Certification Tests | Comments |
| --- | --- | --- |
|  | Test #1: No Load |
| Test #2: Starting Load |
| Test #3: Load Performance |
| Test #4: Effect of Variation of Power Factor |
| Test #5: Effect of Variation of Voltage |
| Test #6:Effect of Variation of Frequency |
| Test #7: Equality of Current Circuits |
| Test #8: Meter Losses |
| Test #9: Temperature Rise |
| Test #10: Effect of Register Friction |
| Test #11: Effect of Internal Heating |
| Test #12: Effect of Tilt |
| Test #13: Stability of Performance |
| Test #14: Independence of Elements |
|  | ( | Test #15: Insulation |
|  | ( | Test #16: Voltage Interruptions |
|  | ( | Test #17: Effect of High Voltage Line Surges |
| Test #18: Effect of External Magnetic Field |
| Test #19: Effect of Variation of Ambient Temperature |
| Test #20: Effect of Temporary Overloads |
| Test #21: Effect of Current Surges in Ground Conductors |
| Test #22: Effect of Superimposed Signals |
| Test #23: Effect of Voltage Variation-secondary Time Base |
| Test #24: Effect of Variation of Ambient Temperature-secondary Time Base |
| Test #25: Electrical Fast Transient/Burst |
|  | ( | Test #26: Effect of Radio Frequency Interference |
|  | ( | Test #27: Radio Frequency Conducted and Radiated Emission |
|  | ( | Test #28: Effect of Electrostatic Discharge (ESD) |
| Test #29: Effect of Storage Temperature |
|  | ( | Test #30: Effect of Operating Temperature |
|  | ( | Test #31: Effect of Relative Humidity |
|  | ( | Test #32: Mechanical Shock |
|  | ( | Test #33: Transportation Drop |
|  | ( | Test #34: Mechanical Vibration |
|  | ( | Test #35: Transportation Vibration |
| Test #36: Weather Simulation |
| Test #37: Salt-spray |
| Test #38: Raintightness |
|  | ( | Test #A1: Sunlight Interference |
|  | ( | Test #A2: ANSI C37.90.1, Surge Withstand |