IV.	REQUIREMENTS FOR STICKERS, SEALING AND LOCKING HARDWARE:

Below are the requirements for the stickers, sealing and locking hardware used in Direct Access.  Requirements for application of these devices are covered in the meter installation and maintenance section.

IV.1.	Sealing and locking hardware:

Sealing and locking hardware shall be imprinted with company name and/or logo and be made with material other than lead.  Sealing hardware owned by the MSPs shall be orange in color and be imprinted with its certification number.

IV.2.	Life-support sealing hardware:

Life-support sealing hardware used for identifying a customer premise which has a life support system shall be white in color and imprinted with a red caduceus (medical symbol).

IV.3.	Life-support sticker:

A life-support sticker used for identifying a customer premise which has a life support system shall be imprinted with a caduceus (medical symbol).

IV.4.	480 V sticker:

A 480 V sticker used to identify a 480 Volt service panel and meter shall be legible.

V.	REQUIREMENTS FOR LABELING MANUFACTURING DATE ON NEW METER PRODUCTS:

New meter products shall be permanently labeled with a manufacturing date.

VI.	REQUIREMENTS FOR REBUILT, RETROFIT AND REPAIRED METER PRODUCTS:

VI.1.	Rebuilt Meter Product:

A meter product shall not be rebuilt and repackaged for resale by any entity except its original manufacturer or the manufacturer-authorized licensed agent.  Once a meter product is rebuilt and repackaged, it shall be tested for accuracy, labeled as rebuilt and by whom, and dated accordingly.

VI.2.	Retrofit Meter Product:

A meter product may be retrofitted with other devices or modules.  However, this is a change in meter type.  Therefore, the retrofitted meter product shall be tested and certified according to the certification test requirements of a new meter type.  When the retrofitted meter product is in a production process, it shall be tested for accuracy, labeled as retrofitted and by whom, and dated accordingly

VI.3.	Repaired Meter Product:

A meter product shall not be repaired for resale by any entity except its original manufacturer or the manufacturer-authorized licensed agent.  Once a meter product is repaired, it shall be labeled as repaired and by whom, and dated accordingly.