The following table provides a list of standards for the MC Subgroup’s discussions on 4/14/98:

Table 1:  List of available Standards

| Standards | Applicable for DA? | Required in CPUC’s D97-12-048 | Proposed Requirements | Recommended effective date | Comments |
| --- | --- | --- | --- | --- | --- |
| ANSI C12.18-1996, Type 2 Optical Port (BOX #2) | Yes | No | Conditional “yes” as noted in Comments column | Now | Applied if optical port is used on the meter. |
| ANSI C12.19-1997, Utility Industry End Device Data Table (BOX #3) | Yes | No | Conditional “yes” as noted in Comments column | 2 years from publication date | Applied to meters that perform and store interval consumption measurements for at least 15 days. |
| ANSI C12.21, Protocol Specification for Telephone Modem (not approved) (BOX #1) | Yes | No | No | NA | Applied to telephone modem only. |
| ANSI C12.22, Meter Interface to Network Protocol Gateway (not approved) (BOX #1) | Yes | No | No | NA | Applied to network only. |