The following table provides a list of standards for the MC Subgroup’s discussions on 4/28/98:

Table 1:  List of Standards

| Standards | Applicable for DA? | Required in CPUC’s D97-12-048 | Proposed Requirements | Recommended effective date | Comments |
| --- | --- | --- | --- | --- | --- |
| ANSI C12.19-1997, Utility Industry End Device Data Table (BOX #3) | Yes | No | Conditional “yes” as noted in Comments column | August 1, 1998 | Applied to new meters that perform and store interval consumption measurements for at least 15 days. Solid state meters are currently sold and installed in California will be grandfathered and not required to comply with ANSI C12.19. (List of meters being grandfathered?) |
| ANSI C12.21, Protocol Specification for Telephone Modem (not approved) (BOX #1) | Yes | No | No | NA | Applied to telephone modem only. |
| ANSI C12.22, Meter Interface to Network Protocol Gateway (not approved) (BOX #1) | Yes | No | No | NA | Applied to network only. |