Meter Communications Subgroup

Meeting Minutes

June 23, 1998

Password Authorization:

The group categorized four types of password authorization:

- full read /write capability,

- billing write/read (other routine maintenance exclusive of programming revenue quantities)

- read only for MDM functions and,

- read only for customer access (value-added services)

The full read write capability would be required by whoever has operational responsibility for the site (basically the MSP).Two concerns that got raised were the fact that the UDC has audit rights even if they are not the MSP. And customers should not have write access to their own meters.

The group struggled with the fact that issue and control of passwords is a responsibility of the MSP function whether it resides with the ESP or is subcontracted out. But currently ESPs are hiring more than one MSP which would make it difficult to assign responsibility to a particular MSP. Therefore the group came to the following conclusion:

Agreement:

Responsibility for safety, accuracy and reliability of the meter resides with the ESP.

And the following language as well as a sumary of the discussion will be on the July 13th plenary ballot (the vote was 19 yes, 3 abstain and 0 no):

The ESP has authority to issue passwords at its discretion but must issue read passwords to UDCs for audit purposes upon request. ESPs will provide UDCs the password in a timely manner for UDCs to perform their scheduled function.

Adoption of IEEE 1397

Anthony Mazy proposed using IEEE 1397 in the definitions section as a reference model in order to clarify what interfaces the group targeted as well as interfaces the group did not address. There was general discomfort in adopting the model at this point since it wasn’t used as a reference model in discussion. The group elected not to adopt the model. The vote was as follows:

9 no: eTcomm,Schlumberger,Enron,PG&E,Phaser,Sierra Pacific,EMS for 	QST,CellNet,CEC

7 yes: LADWP,EPRI,ORA,Nertec,Southern Company,IEEE,SoCal Gas

7 abstain: ABB,SCE,GE,Pacificorp,SDG&E,Itron,First Point