Attachment 3:  Disaster Recovery

An MDMA Disaster Recovery plan should include the following items to be considered complete.  Use the checklist below to ensure that you have the required documents and that the required information is included.  Check off each item and submit a copy of each document with this application.

Required Documents:

These documents must be included with your application:

| ( | Document Description |
| --- | --- |

Implementation Plan and Procedures for Disaster Recovery

Attach detailed procedures for each level of disaster.  Document must include:

Level One Recovery-- Emergency Level Low

Temporary Power Failure (Less than 2 hours)

Server Shutdown

Minor Network Problems

Level Two Recovery--Emergency Level Medium

Extended Power outage (more that two hours)

Major Equipment Failure

Software Failure due to virus or system bug

Major Network Failure or LAN/WAN failure

Level Three Recovery-- Emergency Level High

Regional Disasters

Fire

Earthquake

Major storms

anything impacting MDMA’s Ability to access the primary site.

Background or overview of  Data Retrieval Organization

Description of work groups and organizations.

Business groups Dependent on the MDMA:

Overview of other organizations and companies who depend on the MDMA data

Disaster Impact:

A list of systems that will be impacted internally or externally by disaster or outage. (eg. Billing Agent, Meter Data  MSP, and UDC)

Description of Hotsite and or Redundant Systems:

Security, Power requirements, Remote access, Backup polices, System replicating, Mirroring, etc..

Required Information

This information must appear somewhere in the documents listed above.

| ( | Required Information |
| --- | --- |

Location

Address of MDMA and or systems supporting MDMA functions, address of satellite offices, if applicable.

Staffing

Indicate current staffing levels required and include job titles.

Vendor Contact

Addresses and  phone numbers for vendor support.

Contact lists

Personnel to contact in the event of a disaster.

Systems

Configurations needed for systems recovery.

Hardware

A list of equipment spares and system configurations needed for systems recovery.

Software

A comprehensive list of software used for systems recovery

Description of Internal and External Communication Links

Telecommunication links, pots lines, Wan/Lan, etc.

Hotsite or Redundant Systems location

Addresses and  phone numbers with details of how to get there.

Worst-Case Provisions

Information showing that no data will be lost

Recommended (not required for MDMA acceptance)

Arrangements for another, previously approved MDMA to temporarily or permanently take over processing responsibilities in the case where the original MDMA cannot perform those functions