- Raw data - meter data that has not gone through the VEE process

- Valid data - meter data that has gone through all required validation checks and either passed them all or been verified

- Verified data - meter data that failed at least one of the required validation checks but was determined to represent actual usage

- Estimated data - meter data that has been calculated based on standard estimation rules because the raw data was not valid

- Validation check - data check designed to identify meter data that may not reflect actual usage, typically due to problems at the meter or recorder

- Irregular usage customer - customer whose usage pattern does not follow normal usage patterns and consistently fails validation checks

- Monthly data - consumption, demand, and Time-of-Use (TOU) consumption and demand

- Interval data -

- ADU - average daily usage over a specified period of time, such as a billing period.  For example, if all constants and factors have already been applied to the reads, the ADU could be calculated by:  ADU = (current billing read - previous billing read)/(# days between billing reads)

- Pulse overflow - condition in which the actual usage during an interval is larger than can be captured by the meter or recorder

- Test mode - period during which a test load is applied to a meter or recorder to verify its accuracy