Notes from MONTHLY VEE Meeting 6/10/98

Participants:

Duncan Cano, Mike Lehman, Gary Ciardelli, Valerie Maloy , Dan Barbour- PG&E

Larry Colwell - SCE

Lee Simmons - Enron

Kathy Smith - ABB

Discussions:

- The group reviewed the draft monthly validation and estimation rules.  Comments will be incorporated in the next version of the document.

- The group agreed there needed to be a change management process.  There should be a body with appropriate expertise pre-approved by the Commission to approve changes to the rules.

- The group discussed what happens in the event of a large catastrophic event (for examples, earthquakes, hurricanes, etc) that keep the MDMA from reading meters.  The MDMA should estimate the data and post it as required, but be exempt from performance penalties.  The data would need to be marked so “auditors” know it should be exempt.  This should go in the summary report.

- There should be a section at the beginning of the document with assumptions and definitions, including rereas, validated, verified.

- When rules are defined to translate interval data into billing determinants, the monthly validation and estimation rules may be enhanced to take advantage of historical interval data.

- The group discussed that of the monthly data, only total usage is required for settlement - TOU and demand are simply used for billing.

- The group deleted specific methods of using load profiles for estimation.  TOU estimation was changed to use percentages of estimated total usage instead of historical period data, and demand estimation was changed to be based on average demand rather than historical demand.  See revised document for details.

- The group reviewed the irregular usage draft developed for interval data.  The group liked the concepts in the draft.  Monthly tests that fail for irregular usage customers include hi/lo usage and zero consumption for active meters.  Members are to review the irregular usage draft and make recommendations as to how it should be modified for monthly.

- An alternate method for hi/lo check and estimating total usage based on average usage of similar customers in the same area rather than historical usage of the individual customer was presented.  This would be a better check in areas with wide weather variations, as residential customers’ usage patterns are more affected by weather.

Next Steps:

There will be a conference call meeting at 1:00 pm PDT (4:00 pm EDT) Monday, June 15.  Topics to review include:

- Irregular usage customers

- Review of PG&E alternate high/low usage test proposal

- future plans document,

There will be a FINAL REVIEW meeting in LA Wednesday, June 17, at 9:00 am PDT.  The meeting will be in room 333 at the Sutton Place (the same hotel as the UDC/MDMA meeting June 19).  This meeting will go through the document section by section to agree on final wording.  A final version will be presented to the PSWG MDMA subgroup Tuesday, June 23.  If you have any substantial comments, please do not wait until June 17 to bring them up!  If you have comments but are unable to participate in the conference call or meeting, please call Kathy Smith at 919-250-5429 or email them to kathy.smith@ustra.mail.abb.com.

New Monthly Action Items:

- UDCs to research how many decimal places are used in ADU today.

- UDCs to research changes to validation rules to accommodate very low usage customers.

- PG&E to re-write 6.3, estimating TOU usage.

- All parties to review irregular usage draft.

- Kathy to revise document.

INTERVAL Action Items from 5/27 Conference Call:

- Valerie Nibler to write up alternate proposal for Appendix A.

- Kathy Smith to draft document with future recommendations.

- Group to review interval rules.

INTERVAL Action Items from 5/18 Conference Call:

- Lee Simmons to write up alternate proposal for Appendix A.  CLOSED

- UDCs to provide their current policies on how they handle interval data when meter has been in test mode - PG&E reported

- Tom Lofgren to send Kathy Smith a list of holidays to be incorporated in the document. - OPEN

- Participants to review proposed implementation plan for discussion. - CLOSED.  Discussed 5/27/98.

Action Items from 5/8 INTERVAL Conference Call:

- Participants who use recorders to investigate how they report power failures.

- Participants to submit alternate proposals for Appendix A.

- Participants to consider how to best manage irregular usage customers. - CLOSED.  Subject discussed 5/18 conference call.

- Kathy Smith to update document. - CLOSED

Action Items from 5/6 MONTHLY Meeting:

- UDCs to provide what they presently do to estimate TOU data

- Kathy Smith to contact Steve Roscoe re: do load profiles contain average usage data and will there be a load profile for every TOU rate. - CLOSED

- Kathy Smith to circulate a request to UDCs and MDMAs for areas where the 1.3 rules were unclear or led to confusion. - CLOSED.  Request sent to all UDCs.

Action Items from 4/27 MONTHLY Meeting:

- PG&E to circulate information regarding monthly hi/lo usage check - CLOSED,  provided at 6/10 meeting.

- SDG&E to prepare data from hi/lo demand check based on data collected so far.  CLOSED - reported at 5/27 meeting it has been helpful to catch misreads

- PG&E to prepare alternate proposal for demand reasonableness check

- Kathy to revise document based on meeting - CLOSED

Action Items from 4/20 INTERVAL conference call:

- UDCs to review spike check thresholds of 10 pulses - CLOSED.  <= 10 pulses is ok)

- UDCs to prepare to present reasons why a whole day’s data should be considered suspect and not used for estimation if one interval of that day is estimated - CLOSED - partial days may be used subject to rules listed in document

- UDCs with rate schedules with different “like days” (i.e., MWF are like days, not MTWThF) are to consider the affect of sections 4.3.4 through 4.3.6 - CLOSED - like days will stay as they are

- Kathy Smith to revise VEE rules based on discussions - CLOSED - draft 4 was distributed

- Kathy Smith to send nationalization proposal to PSWG for vote - CLOSED - submitted to MDMA subgroup

- Kathy Smith to check with Bill Rush about eventually moving VEE to IEEE SCC 31 - OPEN

- Carmina Sara to check for additional purses for the kVARh check - OPEN

- Kathy Smith to check with Ed McCann about presentation at UDC/MDMA meeting - CLOSED.  VEE update was presented.

- Kathy Smith to check with SDG&E about having VEE meeting after UDC/MDMA meeting 5/5. - CLOSED.  Meeting was held for monthly data.

Action Items from 4/7/98 INTERVAL Conference Call:

- John VanderLinde to provide description of the proposed demand tolerance check p - CLOSED.  The proposal to add the additional check has been withdrawn.

- All participants to consider should VEE rules be moved toward national standardization - CLOSED.

- UDCs to provide thresholds for spike and kVARh checks.  CLOSED

- Tom Lofgren to draft proposal to resolve timing of MDMA receipt of customer historical data for joint UDC/MDMA meeting.  OPEN

- Kathy Smith (with help from UDCs) to draft proposal to discuss adjustments for joint UDC/MDMA meeting.  CLOSED - draft submitted to SDG&E

- UDCs to prepare to present reasons why a whole day’s data should be considered suspect and not used for estimation if one interval of that day is estimated.  CLOSED

- UDCs with rate schedules with different “like days” (i.e., MWF are like days, not MTWThF) are to consider the affect of sections 4.3.4 through 4.3.6.  CLOSED

- Kathy Smith to revise VEE rules based on discussions.  CLOSED - Draft 2 of version 1.4 was published.