I. 	MSP/METER WORKER QUALIFICATIONS

There are five key elements to the MSP meter worker qualifications: (1) Due to varying levels of complexity, safety issues and training required, there are five classes of meter equipment, meter service activities and ultimately meter worker qualifications that are involved in direct access metering work; (2) It is recognized that many workers are already performing metering work in California.  Therefore, meter workers who are presently performing work for a UDC or certified MSP will be considered qualified and certified for the level of work for which they have been trained and are performing.  This process of qualification and certification will end on [insert the date adopted] or the date which the new CPUC-approved meter worker certification process is implemented, whichever is later; (3) UDCs and certified MSPs will identify which of the five meter worker classes each of their employees performing meter work are qualified for; (4) The new meter worker certification requirements shall apply uniformly to any direct access meter worker hired by any UDC or MSP (ESP as MSP) after [insert the date adopted] or the date which the new CPUC-approved meter worker certification process becomes effective, whichever is later; (5) processes are also recommended to ensure meter workers remain qualified over time; (6) UDC workers performing emergency work on direct access service and meters will not be covered under these requirements.

UDCs and MSPs will issue appropriate identification to each of their meter workers or employees who perform direct access meter work and will ensure that their workers carry this identification during meter work performance.  This identification will indicate the worker’s employer and the class of meter work which the worker is qualified to perform.  If an ESP, UDC or customer subcontracts its meter work to an MSP, the subcontracting entity must ensure that the MSP have issued to each meter worker or employee such identification.

All meter workers performing meter services on behalf of an ESP must meet the requirements as outlined in this Section and exercise due care for the tasks performed.

I.A. 	Meter Worker Skill, Safety And Qualification Requirements

The following is the descriptions and requirements of the five meter worker classes:

I.A.1.	CLASS 1

I.A.1.1.	Metering Types and Voltages

This class includes single-phase, socket-based meters, 300 volts phase-to-phase maximum and does not include transformer rated meters.  Communication wiring must be outside of energized meter panels.

I.A.1.2. Work to be Performed

Class 1 Meter Workers can install, remove and replace single-phase, 120/240 volt or 120/208 volt, self-contained meters in standard socket based residential-type metering equipment.  Connections of communication conductors must be outside the energized meter panels.

I.A.1.3.	Essential Technical Skills

I.A.1.3.1. Understanding of single phase electrical metering.

I.A.1.3.2. Understanding of electric distribution safety procedures.

I.A.1.3.3. Ability to identify energy diversion or tampering related to this class of meter work.

I.A.1.3.4. Ability to install and remove damaged and undamaged meters.

I.A.1.3.5. Understanding of the meter panel and socket layout for the metering conditions related to this class of meter work.

I.A.1.3.6. Ability to read meters used in this class.

I.A.1.3.7. Ability to properly use tools appropriate to the work in this class.

I.A.1.3.8. Ability to connect meter communications external to the meter panel.

I.A.1.3.9. Ability to initialize meter communication modules - not utilizing Type 2 optical ports and meter configuration software.

I.A.1.3.10. Ability to run tests on meters in locations other than in the meter socket using semi-automatic meter test equipment.

I.A.1.4.	Worker Safety and Safety Equipment

I.A.1.4.1. Job performance in accordance with employing MSP's procedures and safety rules.

I.A.1.4.2. Knowledge of hazards of electricity and ability to perform work to avoid electrical hazards.

I.A.1.4.3. Ability to comply with CAL OSHA requirements.

I.A.1.4.4. On-site use of personal protective equipment.

I.A.1.5.	Worker Qualification: How Essential Technical and Safety Skills Are Determined

I.A.1.5.1. MSPs will develop and implement a program to train their workers to perform Class 1 meter work safely and properly.

I.A.1.5.2. Employees will be certified by their employers, based on the use of that program.

I.A.1.5.3. MSP's Class 1 meter work training program will be reviewed and certified by MWCO/MCRB?.

I.A.2.	CLASS 2

I.A.2.1.	Metering Types and Voltages

This class includes all meters and skills required for Class 1.  Class 2 includes up to 600 V, single-phase and poly-phase, safety socket and standard socket based meters and does not include transformer rated meters.  Communication wiring may be behind the panel, and work can be in and around energized circuits.

##### I.A.2.2.	Work to be Performed

Class 2 Meter Workers can install, remove and replace all meters consistent with the above.  Class 2 Meter Workers will understand the operating characteristics of test-bypass facilities and test blocks and may operate test-bypass facilities, but may not install, alter, maintain or replace wiring between the meter and  test block.  On panels without test-bypass facilities, single-phase and poly-phase meters will not be removed or installed without first disconnecting the customer load.  Communication wiring may be installed inside the panel, and work can be performed in and around energized circuits.

I.A.2.3.	Essential Technical Skills

I.A.2.3.1. Cumulative including all skills for Class 1.

I.A.2.3.2. Additionally, possess skills related to meter voltages and meter forms used in Class 2.

I.A.2.3.3. Ability to perform phase rotation assessments.

I.A.2.3.4. Ability to operate test-bypass facilities or test blocks in a self-contained safety socket.

I.A.2.3.5. Ability to perform work required to route communication wiring to accommodate meter communications.

I.A.2.4.	Worker Safety and Safety Equipment

I.A.2.4.1. Cumulative including all skills and safety knowledge for Class 1

I.A.2.4.2. Electrical safety knowledge and work skills appropriate for single-phase and three-phase metering up to 600V phase-to-phase, including the ability to identify and refer to a Class 4 or higher meter installer services above 600V phase-to-phase prior to performing work in the service equipment.

I.A.2.5.	Worker Qualification: How Essential Technical and Safety Skills Are Determined

I.A.2.5.1. MSPs will develop and implement a program to train their workers to perform Class 2 meter work safely and properly.

I.A.2.5.2. Employees will be certified by their employers, based on the use of that program.

I.A.2.5.3. MSP's Class 2 meter work training program will be reviewed and certified by MWCO/MCRB?.

I.A.2.6.	Experience Requirements

I.A.2.6.1.	Minimum experience requirements that must be demonstrated prior to qualification for individuals wanting to become a Class 2 Meter Worker.

I.A.2.6.2.	If entry level experience of any employee is that of a journeyman level electrician, journeyman level electric metering worker, or journeyman level line worker (e.g.,  lineman, troubleman), then upon successful completion of the MSP training program the worker may be certified as a Class 2 Meter Worker; or

I.A.2.6.3.	After 12 months as a Class 1 Meter Worker which includes 6 months “OJT” working alongside a Class 2 or higher Meter Worker and upon successful completion of the MSP training program a worker may be certified as a Class 2 Meter Worker; or

I.A.2.6.4.	If an employee has a two or four year degree in a related subject, then after four (4) months "OJT" working alongside a Class 2 or higher Meter Worker and upon successful completion of the MSP training program a worker may be certified as a Class 2 Meter Worker.

I.A.3.	CLASS 3

I.A.3.1.	Metering Types and Voltages

This class includes all meter types in Class 1 and 2.  Class 3  work includes A base, K base and transformer rated meters with internal diagnostics up to 600V.  Communication wiring may be behind the panel, and work can be in and around energized circuits.

.

I.A.3.2.	Work to be Performed

In addition to Class 1 and 2, Meter Work, Class 3  Meter Workers can install, remove and replace all meters consistent with the above including transformer-rated meters with internal diagnostics (if detected, metering problems with test switches, panel wiring or transformers and transformer wiring will be corrected by a Class 4 or 5 Meter Worker).  Class 3 Meter Workers may operate test switches, but may not install, alter, maintain or replace wiring between the meter, test switch, test block and associated equipment.

I.A.3.3.	Essential Technical Skills

I.A.3.3.1. Cumulative of Class 1 and 2.

I.A.3.3.2. Additionally, possess skills related to meter voltages and meter forms used in Class 3.

I.A.3.3.3. Ability to understand the operating characteristics of metering transformers and how to operate test switches.

I.A.3.3.4. Ability to understand, interpret, identify and take appropriate actions based upon built-in diagnostics of solid state meters.

I.A.3.3.5. Ability to run tests on meters in locations other than in the meter socket using semi-automatic meter test equipment.

I.A.3.4.	Worker Safety and Safety Equipment

I.A.3.4.1. Cumulative of all safety skills for Classes 1 and 2.

I.A.3.4.2. Ability to understand, interpret and take appropriate action based on built in diagnostics of solid state meters.

I.A.3.4.3. Ability to work with transformer rated meters and operate test switches and test blocks.

I.A.3.5.	Worker Qualification: How Essential Technical and Safety Skills Are Determined

I.A.3.5.1.	MSPs will develop and implement a program to train their workers to perform Class 3 meter work safely and properly.

I.A.3.5.2.	Employees will be certified by their employers, based on the use of that program.

I.A.3.5.3.	MSP's Class 3 meter work training program will be reviewed and certified by MWCO/MCRB?.

I.A.3.6.	Experience Requirements

Minimum experience requirements that must be demonstrated prior to qualification for individuals wanting to become a Class 3 Meter Worker.

I.A.3.6.1.	If entry level experience of any employee is that of a journeyman level electrician, journeyman level electric metering worker, or journeyman level line worker (e.g.  lineman, troubleman), then upon successful completion of the MSP training program the worker may be certified as a Class 3 Meter Worker; or

I.A.3.6.2.	After 12 months as a Class 2 Meter Worker which includes 6 months "OJT" working alongside a Class 3 or higher Meter Worker and upon successful completion of the MSP training program a worker may be certified as a Class 3 Meter Worker; or

I.A.3.6.3.	If an employee has a two or four year degree in a related subject, then after 4 months "OJT" working alongside a Class 3 or higher Meter Worker and upon successful completion of the MSP training program a worker may be certified as a Class 3 Meter Worker.

I.A.4.	Class 4

## I.A.4.1. Metering Types and Voltages

This class includes all meter types in Classes 1, 2 and 3.  Class 4 work includes all metering up to 600V, including transformer rated meters with primary and secondary voltages less than 600V.  Communication wiring may be behind the panel, and work can be in and around energized circuits.

I.A.4.2.	Work to be Performed

In addition to Class 1, 2, and 3 Meter Work, Class 4 Meter Workers can install, remove and replace all meters consistent with the above.  May perform in-field meter accuracy tests, calibrations and perform all types of meter maintenance and troubleshooting on all meters.  Programs and verifies internal programs and software in solid state meters.

### I.A.4.3.	Essential Technical Skills

I.A.4.3.1. Cumulative of Classes 1, 2 and 3.

I.A.4.3.2. Ability to perform work on metering switchboards.

I.A.4.3.3. Ability to perform calibration, repair, retrofit, troubleshooting, data collection of electric meters and install, maintain and program advanced metering technologies, including TOU, interval data, real time pricing, remote meter communication, and load control devices.

I.A.4.4.	Worker Safety and Safety Equipment

I.A.4.4.1.	Cumulative of all safety skills for Classes 1, 2, and 3.

I.A.4.4.2.	Ability to conform processes to additional electricity hazards and complexities associated with metering switchboards, testing meters and maintaining meters in service equipment up to  600 volts.

I.A.4.5.	Worker Qualification: How Essential Technical and Safety Skills Are Determined

I.A.4.5.1. MSPs may develop and implement a program to train workers to perform Class 4 meter work safely and properly (prior to and after testing).

I.A.4.5.2. All workers will be certified by the test process outlined below.

I.A.4.5.3. MSP's Class 4 meter work training program will be reviewed and certified by MWCO/MCRB?.

I.A.4.6.	Testing Process and Qualifications

I.A.4.6.1.	All individuals seeking to perform DA meter services for an UDC or MSP as a Class 4 Meter Worker must successfully pass written and practical (demonstrative) tests.

I.A.4.6.2. 	Prerequisites for taking the written and practical tests include a showing of previous work experience that includes at least one of the following:

I.A.4.6.2.1. Employment as a journeyman electrician, journeyman metering employee, or journey line worker (e.g., lineman, troubleman); or

I.A.4.6.2.2. Minimum of one year experience as a Class 3 Meter Worker; or

I.A.4.6.2.3. Minimum of one year experience in utility revenue meter installation, testing and maintenance

I.A.4.7.	Testing and Re-Certification Requirements

I.A.4.7.1. Once an individual takes and passes either the Class 4 or Class 5 Meter Worker Test, they are qualified to perform that class of DA meter work anywhere in California and need not re-take the test to perform work in each UDC service area.

I.A.4.7.2. If after being qualified a class 4 meter worker and the individual does not perform metering work in California for 3 years or more, re-certification will be required by written and practical testing prior to performing that class of meter work.

I.A.4.8. Continuing Education

As part of a Class 4 Meter Worker’s ongoing ability to remain qualified the individual must participate in at least ten (10) hours annually of  the MSP’s training program regarding standards of practice and safety related issues.

I.A.5.	Class 5 (For resolution: Is this a valid MSP Class)

## I.A.5.1.	Metering Types and Voltages

This class includes all meter types in Classes 1, 2, 3 and 4.  Class 4 meter work includes all metering above 600 V, including metering transformers, associated devices such as isolation relays and switches, and wiring between these transformers, associated devices and meters. Communication wiring may be behind the panel, and work can be in and around energized circuits.

# I.A.5.2.	Work to be Performed

Work performed within metering compartments or equipment rated above 600 volts shall be conducted by UDC personnel.  In addition to Class 1, 2, 3, and 4 meter work, Class 5 Meter Workers can install, remove and replace all meters consistent with the above including transformer-rated meters.  Replace high-voltage fuses.  Perform in-field meter accuracy tests, calibrations and perform all types of meter maintenance and troubleshooting on all meters.  Inspect wiring and instrument transformer ratios utilizing various apparatus as necessary.  The Class 5 Meter Worker when working on conductors or equipment energized above 600 volts shall work with another qualified electrical worker or a Class 4 meter worker in training for Class 5.

### I.A.5.3.	Essential Technical Skills

I.A.5.3.1. Cumulative of Classes 1, 2, 3 and 4.

I.A.5.3.2. Ability to identify primary metering equipment and characteristics of service equipment rated at voltages above 600 volts.

I.A.5.3.3. Broad knowledge and familiarity of electrical distribution systems above 600 volts and operating characteristics.

I.A.5.3.4. Ability to identify UDC service voltages and Electrical Service Requirements.

I.A.5.3.5. Broad Knowledge and familiarity of State of California General Orders.

I.A.5.4.	Worker Safety and Safety Equipment

I.A.5.4.1. 	Cumulative of all safety skills for Classes 1, 2, 3 and 4.

I.A.5.4.2.	Ability to conform processes to additional electricity hazards and complexities associated with metering switchboards, testing meters and maintaining meters in service equipment above 600 volts.

I.A.5.4.3.	Meet the State of California requirements for a “Qualified Electrical Worker” to perform work on metering systems with instrument transformer at voltages above 600 volts.

I.A.5.4.4.	Must have a minimum of two years of training and experience with high-voltage (above 600 volts) equipment and circuits.

I.A.5.5.	Worker Qualification: How Essential Technical and Safety Skills Are Determined

I.A.5.5.1. MSP may develop and implement a program to train employees to perform Class 5 meter work safely and to comply with CAL OSHA requirements (prior to and after testing).

I.A.5.5.2. MSP's Class 5 meter work training program will be reviewed and certified by MWCO/MCRB?.

I.A.5.5.3. All workers will be certified by the test process outlined below.

### I.A.5.6.	Testing Process and Qualifications

I.A.5.6.1. 	All individuals seeking to perform DA meter services for an UDC or MSP as a class 5 Meter Worker must successfully pass written and practical skills (demonstrative) tests.

I.A.5.6.2. 	Prerequisites for taking the written and practical skills tests including verification of previous work experience that includes at least one of the following:

I.A.5.6.2.1. Recognized employment as a journeyman electrician (above 600 volts) with qualified electrical worker status.

I.A.5.6.2.2. Recognized employment as a journeyman metering employee with two years minimum working experience on metering equipment above 600 volts.

I.A.5.6.2.3. Journeyman Line Worker, Apparatus Technician or similar position that has completed a recognized apprenticeship program that meets minimum CAL OSHA requirements.

I.A.5.6.2.4. Knowledge of CAL OSHA requirements and completed required training for a Class 4 Meter Worker.

### I.A.5.7.	Testing and Re-Certification Requirements

I.A.5.7.1. Once an individual takes and passes the Class 5 written and practical skills test, and has completed the requirements for performing work on energized metering equipment above 600 volts, that individual is qualified to perform work anywhere in California and need not re-take the written test to perform work in each UDC service area.

I.A.5.7.2. If after being qualified as a Class 5 Meter Worker and the individual does not perform Class 5 metering work in California for 3 years or more, re-certification will be required by written and practical skills testing prior to performing Class 5 meter work.

I.A.5.8. Continuing Education

As part of a Class 5 Meter Worker’s ongoing ability to remain qualified the individual must participate in at least ten (10) hours annually of  the MSP’s training program regarding standards of practice and safety related issues.

I.b. 	Administration of qualification and disqualification process (FURTHER revision NEEDED)

(there are two proposals of creating new entities which will administer qualification and disqualification process.  The first proposal is Model #1, Independent Entities, and the second is Model #2, Certification Board.  These proposals are drafted below following the chart and need further refinement.  Because these proposals are different, before any refinement, the Meter Installation Sub-group needs to review and discuss them to decide which model should be adopted.  To facilitate the group’s discussions, below is the pictorial description of these two models.)

(Below are details of both Models which have not been commented or modified:)

PROPOSED MODEL #1: INDEPENDENT ENTITIES

(One additional organization will be created to manage the qualification and disqualification process.  This organization will be the Meter Worker Certification Organization (MWCO).  This is independent organization similarly to UDCs and MSPs, and there may be as many MWCO companies as needed in DA.)

I.B.1.	CERTIFICATION OF Meter Service Provider (MSP) ENTITIES AND WORKERS

I.B.1.1. 	CERTIFICATION OF MSP ENTITY

An entity may be certified as an MSP and obtain a permanent certification number by following the CPUC-approved process described in the CPUC Decision 97-12-048 dated December 3, 1997.  In brief this process is as follows: (1) In accordance with this decision the UDCs are declared to be a Certified Meter Service Provider.  (2) Other entities wishing to be certified shall submit a written request including the requested documents to the CPUC in accordance with the decision.  (3) After CPUC review and approval, provisional certification will be granted.  (4) UDCs and MSPs will assign only qualified and certified metering workers to the DA metering under their control, as defined in section XX.XX.xx.   (5) UDCs and MSPs will use up to 50 joint meetings to ensure that essential work procedures, hand-offs and processes are clearly understood and in place.  Description of the recommended forms and processes for this joint meet process is located in section I.E.  (6)  Upon successful completion of steps 2-4, an MSP may apply to the CPUC for  Permanent Certification.

I.B.1.2.	CERTIFICATION OF METER WORKER CERTIFICATION ORGANIZATION

MSPs and UDCs need an entity, and such an entity is recommended, which shall be responsible for carrying out the function of  certifying both meter worker training processes and individual high skill meter workers.   This entity when it itself is certified will be known as a Meter Worker Certification Organization (MWCO).   Specifically, a MWCO will be employed to evaluate and certify the training materials to be used by MSPs and UDCs for Class 1, 2 and 3 meter workers as well as to develop and offer practical and written tests to certify meter workers in Class 4 and 5.  This organization must be knowledgeable about the metering services they will be reviewing and testing and should ideally be an organization who is not competing in the marketplace for the metering services for which it is evaluating other MSP/UDC programs and employees.  An entity wishing to be a MWCO shall apply with the CPUC to obtain a MWCO certification number.  This shall be accomplished by submitting a written application to the CPUC along with the following information: name of the person or entity; business address and telephone number; name of the person or entity in which a business license is issued, the business license number and expiration date; a description of meter work training experience, materials and facilities that it has or uses to train or qualify meter workers (including its own meter workers if any).  In addition to the written application, the MSP shall arrange a bond in favor of the State of California in the amount of $500,000.  The bond shall be submitted with the written application.  The bond shall be for the benefit of anyone who may be damaged as a result of the misapplication of testing and certification.  The bond will provide a source of compensation if such damage may occur.

I.B.1.3. 	DISQUALIFICATION OF MSPs OR METER WORKER CERTIFICATION ORGANIZATION

An entity acting as an MWCO may be disqualified temporarily when it is involved in a civil or criminal law suit.  In such case, the CPUC shall issue an order to temporarily discontinue its certification and business practice in California until the law suit is settled or resolved.  If the court finds or the CPUC decides, based on the law suit results, the entity no longer qualified of conducting business in California, the CPUC shall issue an order to discontinue its certification and business practice permanently.

I.B.2.	CERTIFICATION FOR METER WORKERS

(note: for discussion purposes, the 5 level descriptions for the classes of meter workers are used.  We all know that all classes are not required by any MSP.  But, the assumption is that all Classes can perform work at that class or any class below.  Therefore, if an MSP chooses to only have classes 1, 3 and  4 - it effectively accomplishes the same purpose as collapsing classes 2&3 into the new class 2 and then choosing to have class 1, the new class 2 and 3)

I.B.2.1. 	CLASSES 1, 2 AND 3:

MSPs and UDCs may develop and implement a training program to train and certify their individual meter workers in these three meter worker classes.  MSPs and UDCs must ensure that all appropriate meter worker prerequisites are met before a meter worker is certified.  Prior to receiving approval to self-certify their workers in these classes, each MSP or UDC shall submit the training program(s) to a MWCO for each meter worker class the MSP/UDC wishes to self certify its workers.  Within 30 days, or  timeframe otherwise agreed to by the MWCO and the MSP or UDC, the MWCO shall review and either provide recommendations for changes needed prior to program certification for each class of certification sought or notification of the certifications granted.  Upon certification of each training program, the MWCO will provide a written letter and numbered certificate of such approval to the requesting MSP or UDC.

I.B.2.2. 	CLASSES 4 AND 5:

Meter workers seeking Class 4 or 5 certification shall be required to take and pass a test, composed of both written and practical components, to qualify for performing either of these classes of meter work..   Although individual workers may individually prepare and seek certification in these classes, MSPs, UDCs, or other entities may also at their option develop and offer classes or training to prepare Class 3 or other workers for this test and for Class 4 or 5 certification.  Individual workers, MSPs or UDCs may schedule certification tests with a MWCO.  Work experience or other qualifications required by the definitions of each worker class (in addition to the test itself) must be verified by the MSP or UDC prior to scheduling the test and shall be provided to the MWCO at the time of the workers test.  This will ensure that the MWCO has the information necessary to issue a certification.  After a meter worker has taken and passed the certification test, the MWCO will issue a permanent and numbered certification card for each worker to be certified.

I.B.3.	REQUIREMENTS FOR PREPARING PRATICAL AND WRITTEN TESTS:

The MWCO shall develop and prepare a number of different tests for each worker classification.  The tests will be periodically revised and updated to remain up to date with market needs and to ensure testing integrity.  The initial set of  test questions shall be developed based on examples described in Appendix “xxx”.  Questions also must be periodically reviewed by various MSP/UDC entities and knowledgeable metering employees to verify the questions  for their technical validity and assurance of fairness.

I.B.4.	IMPLEMENTATION OF METER WORKER CERTIFICATION REQUIREMENTS:

These California Direct Access (DA) meter worker certification requirements will apply to all workers who are either hired or trained by any entity to perform DA meter services after August 1, 1998 (or upon readiness of  the MWCO, whichever is later).

PROPOSED MODEL #2: CERTIFICATION BOARD

(Similar “I.B.” numbering is used)

(Two additional organizations will be created to manage the qualification and disqualification process: 1) The Meter Certification and Review Board (MCRB), and 2) The Meter Worker Training Organization (MWTO).  There will be one MCRB, but may be many MWTOs.)

I.B.1. 	MSP Entities

I.B.1.1. 	MSP Certification

Entities wanting to MSP activities must submit the following to the CPUC to receive certification:

I.B.1.1.1.  Name of the person or entity, business address, and telephone number; name of the person or entity in which a business license is issued, the business license number and expiration date.

I.B.1.1.2.  A description of their experience in performing meter installations, maintenance, and other related meter service activities.

I.B.1.1.3.  Proof that is has a minimum liability insurance in the amount of $1,000,000 for each occurrence.

I.B.1.1.4.  A request of which Meter Class work it seeks to perform and how its workers meets the qualifications for each Meter Class.

I.B.1.2. 	MSP De-Certification

If the MSP is found to perform activities in violation of the Meter Worker Requirements, the CPUC will place the MSP on probation.  The MSP will have 90 days to inform the CPUC how it plans to resolve the violations.  If the MSP fails to respond or is found to continue to violate the Meter Worker Requirements the MSP will be prohibited from performing activities.

I.B.2. 	Meter Worker Training Organizations (MWTOs)

I.B.2.1.	Responsibilities

Meter Worker Training Organizations (MWTO) are responsible for the training of electrical meter workers according to the requirements described for the four levels of meter work performed for direct access.  A MWTO can issue certification to a worker upon successful completion the training and exam process.  A MWTO can issue certification for only meter worker classes 1, 2, and 3.  MWTO can perform training for Class 4, but testing and certification is issued from the Meter Certification Review Board.  The MTWO must keep records of the training and exam scores for each person receiving training and/or certification.

I.B.2.2.	MWTO Certification

Entities wanting to become an MWTO must submit the following to the Meter Certification review Board:

I.B.2.2.1.  Name of the person or entity, business address, and telephone number; name of the person or entity in which a business license is issued, the business license number and expiration date.

I.B.2.2.2.  The list of persons performing the training and a resume of their field and training experience, copies of the course syllabus, description of the facilities that it has or uses to train or qualify meter workers.

I.B.2.2.3.  Proof that is has a minimum liability insurance in the amount of $1,000,000 for each occurrence.

I.B.2.2.4.  A request of which meter class level or levels it seeks to train workers.

Upon successful review by the Meter Certification review board the entity will be allowed to train workers and if applicable issue worker certification for five years.

I.B.2.3.	MWTO Re-Certification

After five years the MWTO must submit a renewal application to the Meter Certification Review Board of how it has updated its training programs to comply with any new laws regarding meter safety and new standards developed for the industry.

I.B.2.4.	MWTO De-Certification

A MWTO that is found not in compliance with the training standards for meter worker classes, will be placed on probation by the Meter Certification Review Board.  The MWTO will receive an explanation of the reasons for probation.  The MWTO will have ninety days to submit information to the Meter Certification Review Board that it now in compliance.  If the MWTO fails to show compliance or if additional violations occur, de-certification will result.

I.B.3. 	Meter Certification Review Board (MCRB)

The Meter Certification Review Board (MCRB) is granted authorization by the CPUC to administer the certification process of MSPs, MWTO, and certifications of Meter Class 4 workers.  The board has independent decision making ability over the safety of meter installations, however, certain decision will require CPUC approval.

I.B.3.1.	Responsibilities

I.B.3.1.1.  Reviewing the qualifications and training materials of MWTOs.  It would certify MWTOs and be responsible for re-certification process.  Once a MWCO receives authorization it can issue individual Meter Class 1-3 certifications.

I.B.3.1.2.  Develop and administer the exam process for Meter Class 4.  Determine the process for maintaining Class 4 certification.

I.B.3.1.3.  Institute any changes required in the marketplace relating to safety training or procedures by MWTO or meter workers.

I.B.3.1.4.  Manage the process for entity MSP certification and de-certification.  The CPUC would act to resolve an appeal of MSP de-certification.

I.B.3.2.	Administration of Responsibilities

The responsibilities of the MCRB can be performed by hiring a consultant.  The MCRB will provide guidance to the consultant to implement the board’s responsibilities.  If a contract is needed, the board will present it to the CPUC for approval.   The cost recovery of the contract would be from fees from MSPs, MWTO, and exam fees.

I.B.3.3.	Appeal and Dispute Process

The CPUC is responsible to resolve any dispute or claim that the MCRB decision were inappropriate or unfair.

I.B.3.4.	MCRB Membership

The board is made up from highly qualified persons experienced in the electrical metering field.  It is necessary that these persons are considered experts in the field for the safe and accurate installation of meters.  Membership include representatives from the MSPs (3), UDCs (3), and a Chair (1) appointed by the CPUC.  Because metering is connected to the electric distribution facilities representation from the UDCs is permanent.  Representation of MSP are re-appointed periodically by the CPUC.

The MWCO shall develop and prepare a number of different tests for each worker

I.c. 	Implementation of MSP Certification (Joint Meets)

I.C.1.	Implementation

UDCs and MSPs (or ESPs as MSPs) shall implement the CPUC-approved MSP entity certification process as specified in CPUC Decision D98-12-048 or other CPUC Decisions thereafter.  Since the worker certification process is recommended to change, the purpose of the 50 joint meetings between UDCs and any MSP will also need to change.  The meets will no longer be the UDCs’ evaluations on the MSPs workers’ technical qualifications.  Instead it is recommended that these meets be used as confirmation of CPUC process awareness, orientation for UDC or local issues (if any),  and verifications of the processes used by UDCs and MSPs to install meters, perform needed documentation and effectively  hand off all essential data. As is the case today, once the objectives of the joint meet process have been achieved, the UDCs can waive the remainder of the 50 joint meets.

I.C.2.	Joint meet check list (Appendix 2)

To achieve a consistent application of the Joint Meet process, the parties will use the recommended and newly developed joint meet check list (see Appendix 2).  This form will capture the confirmation of the processes used to conduct business,  the MSP’s meter worker’s knowledge of CPUC requirements, documentation and hand-off processes which may have impacts on UDCS, ESPs and MDMAs and to provide feedback to the MSP accordingly  (the UDCs shall no longer use the joint meet check list to evaluate the MSPs worker technical qualifications).

I.C.3.	Joint meet log (Appendix 3 - to be developed with a consistent format):

The UDCs shall use the joint meet log as specified in Appendix 2) -