UNIVERSAL GUIDELINES and GOALS:

- Recommendations will promote consistency of work requirements and practices for all market participants in California.

- Recommendations will contain minimum requirements to ensure public and meter worker safety.

- Recommendations will represent minimum technical and business requirements, not maximum.

- Recommendations will be driven by functions, not entities to the greatest possible extent.

- Recommendations will seek and include opportunities to simplify and automate business and information interfaces.

- Recommendations not immediately implementable will include a timeline for implementation.

- Recommendations should not impose undue or disproportionate costs on any market participants or customer groups.

RECOMMENDED SUBJECT AREAS AND ISSUES:

- MSP/METER WORKER QUALIFICATIONS

- Skills requirements by meter work/functions (e.g. voltage levels) (BL)

- Worker safety and minimum safety equipment (UDC)

- Worker and MSP qualification/certification requirements (CPUC & BL)

- Administration of qualification and disqualification process (CPUC)

- METER INSTALLATION AND MAINTENANCE

- Safety issues (customer life support, public, etc.) (NA)

- Implementation of MSP certification (joint meets) (CPUC)

- Meter security and accessibility (New)

- Site verification (BL)

- Meter Installation (BL)

- procedural requirements including customer interface (BL)

- Testing and calibration (UDC)

- pre-installation (UDC)

- upon installation (UDC)

- post-installation, in service (ANSI & UDC)

- Traceable standards for test equipment (UDC)

- Maintenance (BL & UDC)

- Scheduled (UDC)

- Troubleshooting and repair (BL)

- PT/CT, test switch and secondary wiring and maintenance requirements including interface issues between distribution company and MSP (BL)

- Demarcation point of meter work (BL)

UDC suggestion – distribution included test switch and wiring to the socket

Other suggestion – distribution ends at the test switch.

At minimum, the meter installer needs to know how to operate the test switch

- METER INFORMATION

- Business information interface

- Data information requirements

- Information hand-off and timing among participants

- Other issues

- Enforcement

- Conflict of interest (customer as MSP/MDMA)

- Eligibility to read and retrieve meter data

LEGEND for items in parenthesis

BL:	Bob Lane Document

UDC:	UDC Safety & Maintenance filings of 2/298

CPUC:	December 3, 1997 decision

NA:	Nothing available, section needs to be created