PSWG Meter Installation, Maintenance, Testing and Calibration Group

April 15th Meeting Summary

The sub-group discussed Sections 1 and 2 and had the following additions and corrections. SDG&E has volunteered to clean up the wording in the 2 sections.

Classes 2 & 3 will be combined into a new Class 2. Class 4 becomes Class 3. Class 5 becomes Class 4. - SDG&E will create the new wording.

Class 1 workers will be allowed to use automatic testing equipment as described in I.A.3.d.4..

SCE will develop wording to Class 1 workers use of in-socket testing.

PG&E will develop wording for Section I.D.

PacifiCorp will develop wording for Section I.C.5.

SDG&E will develop wording for pad mounted meters as utilized in their territory.

The three UDC’s will send to the Chair (mwynne@uoc.com) their existing MSP installation check list for consolidation and incorporation in section II.D.

LADWP will revise Section II.E.6

Section II.6.E.9 has been moved to Site Verification

Sections II.F.3 and II.F.4 will be revised to reflect that either standard will be used.

Applied Metering Technologies will revise II.E.9 with a look at using +/-0.05%.

II.A.1 will incorporate the option of a tag.

The group referred to the Meter subgroup the issue of what type of life support and/or medical alert indicators should be included with the meter.

SCE and SDG&E will prepare a section on communication device installation.

PG&E will develop language for tests for Class 3. In general, the groups thoughts centered around a set of requirements and independent, CPUC approved testing sites being licensed to administer the tests.

Other issues.

A question was raised about non-socket meters. The consensus seem to be that if it met national meter standards they were okay.

Section I.E. was designed for the existing, temporary standards. This section should be reworked in recognition of standard procedures and an independent worker testing process.

The next meeting will focus on Sections 3 and 4 of the Activities Outline:

3.	METER INFORMATION

3.1.	Business information Interface

3.2.	Data Information requirements

3.3	Information hand-off and timing among participants

4.	OTHER ISSUES

4.1	Enforcement

4.2	Conflict of interest (customer as MSP/MDMA)

4.3.	Eligibility to read and retrieve meter data

Due Dates

1. 5/20 - Additions to Sections 1 and 2 are forwarded to the Chair (mwynne@uoc.com)

2. 5/23 - Revised Sections 1 & 2 will be posted on the web