Date Submitted:  01/02/99

Business Requirements Overview EDI Implementation Project

1. Scope

The requirements defined below and in the attached supporting documentation describe the business requirements relative to the implementation of Electronic Data Interchange (EDI) for meter usage data.   These requirements outline a delivery system to be used to pass settlement quality usage data collected by market participants and clients.

| 2. Overall Recommendation |  |
| --- | --- |

Communications from Meter Data Management Agents (MDMAs) occur to enable customer energy use and service billing.  Most information transmitted by MDMAs consists of meter reading and energy use data about specific customers.  The “Permanent Standards Working Group” (PSWG), which was formed pursuant to California Public Utilities Commission (CPUC) Decision 97-12-048, has recommended migration of the data format used for these communications from the current California Meter Exchange Protocol (CMEP) to the EDI format, particularly using implementation guidelines developed by the Utility Industry Group (UIG).

3. EDI Implementation Summary

3.1 Capability Description

The following four tasks will comprise the content and flow of EDI communications from an MDMA to other market participants, and are part of the overall responsibilities of a MDMA:

1.	Provide the UDC and ESP (or their designated agents) access to valid meter data (meter reads and/or usage data) on the MDMA server on a scheduled basis, along with basic account and meter information, in CPUC-approved format.  ESPs may provide access to their respective Scheduling Coordinators via access to their mailbox.

2.	Resend previously posted data as required (e.g., adjusted, reframed, or otherwise corrected), including (a) flags for altered data points and data sets and (b) reason codes for additional explanation of adjusted, reframed, or otherwise corrected data.

3.	Provide special meter reads, upon request.

4.	Provide the most recent 12 months of customer consumption data upon request to the customer or, if authorized by the customer, to any ESP or the UDC.  The purpose of this historical data is to provide a basis for validation, estimation, and editing (VEE) of meter usage data by an MDMA as well as for tasks such as load forecasting provided by an ESP.  Transferring a customer’s usage history to its new ESP is the responsibility of the customer’s previous ESP when a customer switches ESPs.

Data provided by all four of these tasks include customer-associated identifiers, flags for estimated data, and date and time of reads and of posting, in addition to the usage data itself.

In addition, good business practice requires the maintenance of log files, and provision of tools to measure and manage service level performance, as follows:

- Technical Support Desk (use terminology from decision)

- Archiving of data as described in Attachment D

- Technical system interface specifications and end user documentation.

- DQI recommendations such as monthly reporting requirements.  (Note:  This will expedite reporting requirements if we can automate)

- Record of scheduled vs. actual delivery

- Record of estimated usage

- MDMA log file:  who retrieved, how long/when/what, archive retrievals

- Service modifications to MDMA client account

- Security

- Meter changes

- ESP changes

- Meter reading agent changes

- Reply to other parties satisfying their request

- Record of archive retrieval request

- Record of server availability

3.2 Functional Breakdown of Business Requirement Packages

Identify listing of flow charts, function requirements, formats (867), VEE rules, etc – details are in other sections, appendices, and attachments

3.3 Operational Date (Mandatory 12/99 Implementation)

All market participants must be fully operational by 9/1/99 in order to meet the following interface test schedules and convert from CMEP to EDI on Sunday, 12/5/99.  Section 4.1 provides a detailed schedule for implementation.

3.4 Reason for Capability

CPUC Decision 95-12-063 (12/20/95) and Assembly Bill 1890 (signed by the Governor on 9/23/96) established the foundation of electric industry restructuring in California.  The CPUC’s Revenue Cycle Unbundling decision (D.97-05-039, May 6, 1997) and Direct Access Tariff decision (D.97-10-087, 10/30/97) are among the decisions that have subsequently defined how metering and related services are provided to market participants, and established the ability of ESPs to provide metering and other services.

The conduct of these activities is subject to Rule 22 (D.97-10-087, Appendix A, subsequently modified by D.97-12-048), particularly Section H(7).  The performance of MDMA services is to be performed in accordance with CPUC regulations and will be the responsibility of the party so indicated in the customer's DASR.  MDMA obligations include but are not limited to the following:

(a)	Meter data for DA Customers shall be read, validated, edited, and transferred pursuant to Commission-approved standards.

(b)	Regardless of whether ESP or UDC perform MDMA services both UDC and ESP shall have access to the MDMA server.

(c)	The MDMA shall provide reasonable and timely access to Meter Data as required to allow the proper performance of billing, settlement, scheduling, forecasting and other functions.

(d)	The MDMA is required to keep the most recent 12 months of Customer consumption data for each DA Customer.  Such data must be retained for a period of 36 months.  Such data must be released on request to the customer or, if authorized by the customer, to any ESP or to the UDC.  An ESP initiates this by contacting the customer’s current ESP.

(e)	Within five days after installation of the meter, the MDMA must confirm that the meter and meter reading system is working properly and that the billing data gathered is valid.  Mechanisms for this process, and for verification that meter numbers match in customer account vs. meter usage databases, need further definition.

(f)	Either no more than 10% of service accounts read will contain estimated data, or no more than 1% of all data will be estimated.

Additional tariff requirements for related activities are stated in sections M (Meter Reading Data Obligation), H (Metering Services), and I(6) of Rule 22.

3.5 Critical Assumptions

- Usage data delivered to the MDMA server will consist only of complete, validated usage and account information.

- Quality indicators for validated, estimated, and edited read information will be required.

- Street lights (unmetered) are included in the end-use customers to be served by MDMAs

- Historical usage measurement information will be stored on the MDMA server for external clients for 5 days then archived for 3 years.

- Historical usage measurement information for internal clients will be stored for 12 months online then archived for XXX years.

- All meter reads will include a date and time stamp.

- Relationships between ESPs, MDMAs, MSPs, and UDCs are as defined by the CPUC’s Direct Access Tariff (“Rule 22”) and UDC/ESP Service Agreements

- Need to address anticipated volume?

3.6 Sensitivity Analysis/ Risk Assessment

This capability has been mandated by the CPUC.  Failure to provide the baseline functionality would prohibit market participants from exchanging usage data in the standard manner adopted by market participants and approved by the CPUC, and would cause a cascade of major impacts and potentially numerous unnecessary alternative efforts by all participants in the market.  The risk of being unable to support clients as required by the CPUC includes:

Ad-hoc delivery of usage data could be achieved using techniques and formats used today to exchange information between internal systems.

Identify alternatives for exception processing:

3.7 Method for Measuring Success

Success can be measured by integrated testing to answer the following questions:

- Can we deliver measured usage to the MDMA server in the MDMA format to the appropriate mailbox?

- Can we grant access to external parties to the MDMA server and handle any technical problems with this connection?

- Can we deliver measured usage in a consistent way to all clients?

- Can we archive and retrieve data within the appropriate time frames?

- Can we track effective dates for MDMA account and meter assignments?

- Can we assess our service level performance?

- Have we met the MDMA performance criteria?

3.8 Key Participants

These guidelines have been developed through the efforts of the CPUC’s “Rule 22” Direct Access Tariff Review Committee, its Operations Coordinating Committee (OCC), and a Meter Usage Data Task Group under the Rule 22 and OCC committees.  Participants in the Meter Usage Data Task Group have included:

4. General Requirements

4.1 Implementation Schedule

Adherence to the following interface development schedule is necessary to by fully operational by 9/1/99, in order to meet external testing requirements:

- 8/1/99  Complete test plan for MDMA acceptance testing

- 9/1/99-12/1/99   MDMA acceptance test for interfaces with all MDMAs

4.2 General Functions

Meter Data Management Agents (MDMAs) have the requirement to collect, validate, estimate if necessary, and deliver meter usage data in a manner that addresses specified data delivery requirements and assumes that validating, estimating and editing of the data has already occurred.  Transfer of usage information to clients occurs through a common, central repository in a common format.  Much of the groundwork for these requirements was laid down through participation in the MDCS workshops and MADAWG technical teams.  The MDCS workshop requires strict performance guidelines which will need to be measured and reported to outside parties.  The PSWG’s July 29, 1998, report to the CPUC summarizes the business functions of the MDMA as follows:

Functions performed by a Meter Data Management entity:

A.	Accept raw meter reads from meter reading entity

B.	As necessary, translate data into format for internal processing

C.	Associate meter reads with customer identifiers for use in validation or estimation, if needed

D.	Validate, edit, and estimate (VEE) data

E.	If necessary, translate data into CPUC-approved format prior to posting to MDMA Server

F.	Post validated, edited, and estimated data to MDMA Server for retrieval by market participants

- Perform data adjustments as required

- Re-frame data as required

- Resend previously posted data as required

- Perform other activities as described in Section VI.7 and Appendix C-VEE of the 7/29/98 Permanent Standards Working Group report

G.	Maintain MDMA Server, as required by D.97-12-048 (e.g., guidelines for server performance and disaster recovery)

H.	Archive raw data and validated data for 36 months

Functions performed by a Meter Reading entity:

A.	Collect data at the meter, including routine meter reads, special reads, and date and time of reads

B.	Transport data to the MDM

C.	Perform any Validation that is required to be performed either on-site or at the time of reading

D.	Check for and report suspected energy theft

E.	Check for and report hazardous conditions (if meter reading is performed locally)

Additional PSWG recommendations address the performance of portions of a MDMA’s functions by entities other than the MDMA, requirements for technical/ business support to ESPs and UDCs, and performance standards relating to the quality and timeliness of posted data.  [Summarize DQIWG’s recommendations]

These tasks can be summarized as including the four tasks listed above under “Overall Recommendation and Summary”, plus additional tasks involving an MDMA’s participation in the processes of meter installation, testing, and maintenance, which would occur outside the mechanisms used for transmission of meter data and therefore should be addressed separately from the above-listed tasks:

- Within five days after installation of a meter, confirm that the meter and meter reading system is working properly and that the billing data gathered is valid.

- Report suspected energy theft, and report known hazardous conditions.

- Notify the ESP and UDC if a customer has irregular usage and would not be subject to the usual VEE rules.

Figure 1 shows the MDMA’s interaction with other market participants in routine customer service activities:

Figure 1

5. Interface Requirements

5.1 External Interface

Attachment D details the technical requirements for the MDMA server, including:

- Internet addressable MDMA server

- Fax machine as backup system

- Security

- Technical support

5.2 Related Capabilities

As identified in Section __, the transmission of meter usage data involves interface to other communication systems, many of which also rely on EDI.  Key interfaces are with meter-specific services (EDI transaction set 650) and Direct Access Service Requests (EDI transaction set 814).  In addition, the output of MDMAs feeds into the billing process (EDI transaction set 810).

5.3 Inter-System Interface/Dependency Requirements

(For market participants internal use only)

6. Specific Implementation Requirements

As described in Section 3.1 (Capability Description), four tasks relate to the content and flow of communications from an MDMA to other market participants and constitute the scope of this project:

1.	Provide the UDC and ESP (or their designated agents) access to valid meter data on the MDMA server on a scheduled basis, in CPUC-approved format.  ESPs may provide access to their respective Scheduling Coordinators via access to their mailbox.

2.	Resend previously posted data as required (e.g., adjusted, reframed, or otherwise corrected), including flags for altered data points and data sets.

3.	Provide special meter reads, upon request.

4.	Provide the most recent 12 months of customer consumption data upon request to the customer or, if authorized by the customer, to any ESP or the UDC.  The purpose of this historical data is to provide a basis for validation, estimation, and editing (VEE) of meter usage data by an MDMA as well as for tasks such as load forecasting provided by an ESP.  Transferring a customer’s usage history to its new ESP is the responsibility of the customer’s previous ESP when a customer switches ESPs.

6.1 Scheduled Data Delivery

These tasks can generally be categorized as “routine” activities or as processing of “exceptions” (including processing that occurs “upon request”, e.g., tasks 3 and 4), with flows of information depicted in the following diagrams.

Task 1 (as listed above) is a “routine” activity, as shown.  Starting when a customer signs up with an ESP, the MDMA sends meter reads to the ESP and UDC until the customer leaves the ESP or the ESP assigns a different MDMA.  This is preceded by a notification of the customer sign-up from the ESP.  (This is parallel to other responses that are triggered by a customer sign-up:  sending customer service-related account information and billing information between the ESP and UDC, and sending meter-related information to and from the MSP.)

Figure 2 highlights the portions of Figure 1 that relate to routine data delivery:

Figure 2

-----------------------------------------

6.2 Exception Processing

Task 2 deals with “exceptions”, as shown except that the MDMA may discover a problem itself (in which case the notification of missing or inaccurate usage would occur internally) in addition to events where the ESP, MSP, or UDC notifies the MDMA of needs for resending data due to reframing, adjustment, or other correction.  General agreement in CA is that the MDMA should always post in complete “billing periods”.  However, resending data may be needed by filename, transaction number, date of posting, or time period.  Reasons for resending data can include:

- Data was posted with gaps between billing cycles – MDMA goes back to correct and fill in gaps

- MDMA was unable to read meter and posts estimated data, but later gets and posts actual data from meter.

- MDMA posts adjusted data.  This is typically triggered by a meter investigation due to validation errors (typically initiated by MDMA?), a routine meter check or test initiated by the MSP, a customer complaint, or a meter investigation due to ESP or UDC request.  The following adjustment situations can occur:

- Crossed Meters – Usage for one customer is being registered and billed on another customer's meter.  [How is data sent to convey this meaning?]

- Cut-In-Flat - Adjustment for a customer who has received unmetered service (free usage).

- DR Meter - Adjustment for a meter that doesn't register.

- Fast Meter - Adjustment for a meter that is registering fast.

- Slow Meter - Adjustment for a meter that is registering slow.

- Dropped phases -This could also include a meter that has dropped one or more phases.

- Fixed Usage - Adjustment for an account due to incorrect establishment of fixed usage load.

- Unmetered - Adjustment for an account billed with incorrect usage

- Over-Read/Under-Read - (meter reader error, etc.)

- Incorrect multipliers applied

- ESP or UDC does not think they received meter usage data they need to bill a specific customer or meter and asks the MDMA to resend data for that specific customer or meter

- ESP or UDC either didn’t pick up file or “lost” it and needs the data resent.

- Data fails to pass a recipient’s validation, and the recipient requests the MDMA to re-VEE the data.  The MDMA rechecks the data.  If the MDMA finds there was an error, the MDMA sends the revised data for the requested period.  If there are no changes, the MDMA should add “verified” flags to any suspicious data points, or notify the requester by phone or other means.

Figure 3 depicts the process of identifying and responding to exceptions:

Figure 3

-------------------------------------------

6.3 Special Meter Reads and Account Changes

Task 3 requires a new (“special”) meter read (e.g., pick-up reads), for reasons including the following:

- “Read” (or billing) cycle changes for customer

- Customer changes tariff

- Off-cycle read request  (all data types – interval, demand, TOU, usage)

- MSP activities (e.g., replacing failed meters) and other meter/account changes, starts, stops, etc.  (Note:  in the following, “read” includes whatever data is required for billing for that meter – may include interval data, TOU, demand, etc, not just the traditional meter reading)

- Meter changeout – remove read, set read

- Meter installed, new service – set read

- Meter removed, not replaced

- Account close – final read

- Credit turn off/turn on reads

- New account – initial read  [What takes precedence in reporting when meter set is at same time as opening of account?]

- Reset read – manually set to a value

- IDR meter has “hazardous” condition.  In some cases, the UDC replaces it with a monthly meter.  The ESP then installs a new IDR meter.

6.4 Historical Usage

Task 4 involves a data source that is internal to the MDMA instead of being retrieved from a meter, in these instances:

- When a customer signs up or ends service with an ESP, send usage history (12 months) and opening and closing reads to affected ESPs.  (automatic request)

- Send usage history to ESPs with customer authorization, for a specific time period.

All data posted to either the ESP or UDC will be provided.  This may include:

- Interval consumption, if available.

- Monthly cumulative consumption and demand.

- TOU billing determinants by TOU period (on-peak, mid-peak, off-peak, and super-off-peak).  Summer and winter seasons within a billing period have separate TOU periods.

- KVAR data, if required for billing.

The provided data should be for the specific customer at the specific site;  a change of customer at a site, and a change of address for a customer, cause a new starting point for the availability of data.

Communication needs for archival meter reads and usage measurement data include tracking:

- Archive retrieval requests

- Exceptions

- Archive retrieval

6.5 Data Requirements

The values transmitted in Metering Service Data Records are typically an accumulation of some quantity, such as kilowatt-hours, over an interval of time.  There are two broad categories of metering data intervals employed for different accounts.  Which category of metering data interval applies to a particular account depends on the type of meter (or on billing requirements) rather than which of the routine or “exception” tasks (as described above) is being performed.  The first category is where accounts are billed on interval increments of energy usage such as an hourly or 15-minute basis.   The second is what is traditionally known as “cumulative” and consists of the following commodities, which may be broken into as many as five or more components:

- Metered usage

- Metered demand

- Meter readings

- Unmetered usage

- Unmetered demand

In addition to validated data in these categories, MDMAs may send the following in either interval or cumulative (usage or demand, TOU or non-TOU) formats:

- Raw pulse data

- “Pre-VEE” engineering units data

Each value has an associated Date/Time field as a timestamp.  That timestamp could conceivably identify the beginning or ending time of the associated time interval;  current practice in California uses end-of-interval timestamps.  Nominally, data transmissions of cumulative meter reads, such as monthly meter reads, should include beginning of period and end of period dates, end of period meter reads, and usage values.  This allows receiving entities to verify that no reading overlaps or gaps have occurred.  Totaling algorithms must deal with the fact that the timestamp for the last interval of the day will be for the beginning of the first interval of the next day.

Each set of data also includes account identification such as site, installed service, meter, and customer identifiers.  The occurrence of multiple metered commodities for a single metering point (due to VEE rules, among other reasons) for multiple metered accounts with kVARh require the MDMA to know which kVARh channels map to which kWh channels, and how the meters and channels relate to each other.

7. Glossary

[excerpt from PSWG]

10. Appendices

- Attachment A:	Issues with Technical Group Resolution

- Attachment B:	Data Dictionary

- Attachment C:	MDMA File Specification

- Attachment D:	MDMA Server Technical Requirements

- Attachment E:	Validation, Editing, and Estimation Requirements

- Attachment F:	MDMA Acceptance and Performance Criteria

Attachment A: Issues with Technical Group Resolution

[TO BE INSERTED, FROM MEETING NOTES]

Generic Descriptions

1	ISSUE:

RESOLUTION:

ALTERNATIVES:

REASON:

Technical Data Issues

1	ISSUE:	Example:  Data Format

RESOLUTION:

ALTERNATIVES:

REASON:

Illustrations

The following scenarios illustrate the anticipated handling of situations other than routine reporting of usage data:

- Scenario #1	Start date specified, data posted, start date changed to a later date before read date

- The MDMA is contacted and told that service for a given customer and meter is starting at a given date/time.

- The MDMA obtains the start meter read.

- On the meter’s scheduled read date, the MDMA reads the meter.  The MDMA posts the interval data for the meter from the start date/time through the scheduled read date.

- The MDMA is notified that the customer actually moved in later than originally specified.

- The MDMA reposts the customer’s interval data; the data now goes from the new (later) start date to the scheduled read date.

| April 28 | MDMA notified of new service starting May 1 |
| --- | --- |
| May 1 - ORIGINAL START DATE | MDMA starts reading interval data |
| May 3 - NEW START DATE |  |
| May 5 - SCHEDULED METER READ DATE | MDMA reads and posts interval data for 5/1 - 5/4 |
| May 7 | MDMA notified service actually started May 3 |
| May 9 | MDMA reposts interval data for 5/3 - 5/4 |

- Scenario #2	Start date specified, data posted, start date changed to a date after the read date

- The MDMA is contacted and told that service for a given customer and meter is starting at a given date/time.

- The MDMA obtains the start meter read.

- On the meter’s scheduled read date, the MDMA reads the meter.  The MDMA posts the interval data for the meter from the start date/time through the scheduled read date.

- The MDMA is notified that the customer actually moved in later than originally specified - later than the read date of the data just posted.  I.e., the data just posted is completely invalid for the customer.

- The MDMA posts data starting on 5/7 as if it were original data, except that the “opening read” needs to be flagged as adjusted.  The ESP is informed through a mechanism other than meter usage data that the start date was changed.

| April 28 | MDMA notified of new service starting May 1 |
| --- | --- |
| May 1 - ORIGINAL START DATE | MDMA starts reading interval data |
| May 5 - SCHEDULED METER READ DATE | MDMA reads and posts interval data for 5/1 - 5/4 |
| May 7 - NEW START DATE |  |
| May 8 | MDMA notified service actually started May 7 |
| May 10 | MDMA posts interval data for period starting 5/7 |

- Scenario #3	Start date specified, data posted, start date changed to an earlier date

- The MDMA is contacted and told that service for a given customer and meter is starting at a given date/time.

- The MDMA obtains the start meter read.

- On the meter’s scheduled read date, the MDMA reads the meter.  The MDMA posts the interval data for the meter from the start date/time through the scheduled read date.

- The MDMA is notified that the customer actually moved in earlier than originally specified.

- If the MDMA has interval data for the new period (from the new start date), the MDMA reposts the data from the new start date to the read date.  Note that this may include more than one billing period of data.  If interval data is not available for the earlier time, the MDMA estimates the data and reposts it in a similar fashion.  In this case, the estimated intervals are marked as estimated.

| April 28 | MDMA notified of new service starting May 3 |
| --- | --- |
| May 1 - NEW START DATE |  |
| May 3 - ORIGINAL START DATE | MDMA starts reading interval data |
| May 5 - SCHEDULED METER READ DATE | MDMA reads and posts interval data for 5/3 - 5/4 |
| May 8 | MDMA notified service actually started May1 |
| May 10 | MDMA reposts data from 5/1 - 5/4 |

- Scenario #4	Stop date specified, data posted, stop date changed to a later date

- The MDMA is contacted and told that service for a given customer and meter is ending at a given date/time.

- The MDMA obtains the stop meter read.

- The MDMA posts the meter’s data from its last read schedule through the stop read.

- The MDMA is notified that the customer actually moved out later than originally specified.

- If possible, the MDMA obtains interval data for the additional time period the customer occupied the premise.  If not, the MDMA estimates the data.  The MDMA reposts the data from the meter’s last scheduled read day through the new stop date/time.  Note that this may include more than one billing cycle, depending on when the MDMA is notified of the change in stop dates.

| April 28 | MDMA notified service ending May 1 |
| --- | --- |
| May 1 - ORIGINAL STOP DATE | MDMA obtains final meter read |
| May 2 | MDMA posts final data through 5/1 |
| May 5 NEW STOP DATE |  |
| May 8 | MDMA notified service actually stopped May 5 |
| May 10 | MDMA obtains or estimates data through 5/5 and reposts corrected data through 5/5. |

- Scenario #5	Stop date specified, data posted, stop date changed to an earlier date after meter’s scheduled read date

- The MDMA is contacted and told that service for a given customer and meter is ending at a given date/time.

- The MDMA obtains the stop meter read.

- The MDMA posts the meter’s data from its last read schedule through the stop read.

- The MDMA is notified that the customer actually moved out earlier than originally specified.

- The MDMA reposts the meter’s data from the its last scheduled read date through the new stop date/time.

| April 28 | MDMA notified service ending May 3 |
| --- | --- |
| May 1 - NEW STOP DATE |  |
| May 3 - ORIGINAL STOP DATE | MDMA obtains final meter read |
| May 4 | MDMA posts final data through 5/3 |
| May 8 | MDMA notified service actually stopped May 1 |
| May 10 | MDMA - reposts data through 5/1 |

- Scenario #6	Stop date specified, data posted, stop date changed to an earlier date before the previous read date

- The MDMA is contacted and told that service for a given customer and meter is ending at a given date/time.

- The MDMA obtains the stop meter read.

- The MDMA posts the meter’s data from its last read schedule through the stop read.

- The MDMA is notified that the customer actually moved out earlier than originally specified.  The new date is prior to the last scheduled read date previously posted - i.e. none of the data in the last file sent is valid for this customer.

- The MDMA reposts the meter’s data from the previous scheduled read date that is before the new end date through the new end date.

| April 28 | MDMA notified service ending May 5 |
| --- | --- |
| May 1 - SCHEDULED READ DATE | MDMA reads and posts interval data through 4/30 |
| May 5 - ORIGINAL STOP DATE | MDMA obtains final meter read |
| May 6 | MDMA posts final data through 5/5 |
| May 8 | MDMA notified service actually stopped April 29 |
| May 10 | MDMA - reposts data through 4/29 |

Attachment B: Data Dictionary

Insert data dictionary here

Attachment C: MDMA File Specification

Insert 867 Format here

Attachment D: MDMA Server Technical Requirements

The July 1997 Meter and Data Communications Standards workshop report recommended the following requirements beyond the implementation of a common data format.

Server/data-flow performance specifications (short-term performance):  (performance specifications as seen by the entity accessing data)

frequency of access by outside entity:   The access to the mailbox is limited to once per day (nominal).

number of  concurrent connections:  The number of concurrent connections to the server must equal number of “mailboxes”.

response times for retrieving all data requested:  The maximum time to transfer all data requested should be less than or equal to 2 hours.

transfer-of- data rate:  This requirement is dependent on the response time of 2 hours for transfer.

Data transfer protocols:  (low level software that provides for data byte streams and data packet deliver services, security features and data file transfer protocol services)  Three protocol layers were specified:

Transmission Control Protocol/Internet Protocol (TCP/IP):  the lowest layer, for data stream provision and addressing.

Secure Sockets Layer (SLL):  provides for data encryption.

HyperText Transfer Protocol (HTTP):  provides for data transfer.

Storage time for data on the server:  (amount of time that data will be on the server after posting)

The minimum sitting time for data is 3 days.  Special data requests are possible with an associated charge.

“Mailbox” construction:  (the look and feel of the mailbox interface)

The server needs to logically be a directory based system where logical files are exchanged.  For UDC MDMA, the server design is for a minimum of 200 “mailboxes.”  For security purposes, the entity access the mailbox will be limited to access to only their mailbox and will not be able to access others mailboxes.

Data on Server:  (the look and feel of data on the server)

For each day a logical read only data file, also a logical read/write file that allows for two-way communication of customer service related information.  A logical file name would reflect the date, i.e., ccyymmddhhmm.dat.

System availability:  (long-term performance of the server system)  At a minimum:

sufficient system redundancy,

disaster recovery plan, which will ensure that the system downtime will not exceed 2 hours for a minor disaster and 24 hours for a major one.

data backup procedure, including (1) no data will be lost permanently, (2) no more than one days data will be delayed, and (3) the delayed data will be made available within 24 hours of the original schedule.

planned maintenance/downtime, such that the system is 7/24 on-line.  However, all scheduled maintenance that requires the system to be off-line will be performed on Monday between midnight and 4:00 AM.

system outage notification,.such that any downtime that occurs outside of the window between 10:00 PM and 8:00 AM will be considered unscheduled maintenance, and all recipients (mailbox owners) will be notified in advance or within 30 minutes of the unscheduled maintenance.

Technical support:  (ability of authorized entities to obtain support when there is a problem with data and data access)

The MDMA must provide a 1-800 number and staff to field questions and concerns on data availability questions, data corruption and adjustments, and systems technical support.

Transport mediums:  (the network or set of “wires” over which the data is transferred)

Internet (a non-proprietary network used for transferring information and upon which the World Wide Web is based), as a minimum requirement.  However, if the performance of data transfer does not meet the requirements (e.g., ability to transfer all data within 2 hours), the server must accommodate a “bigger” line.

Server time synchronization:  (synchronization of all MDMA servers with each other)

All MDMA servers must be time synched within 60 seconds of a common clock (which was not specified).

Attachment E: Validation, Editing, and Estimation Requirements

Insert VEE Rules here

Attachment F: MDMA Acceptance and Performance Criteria

Insert Appendix C of MDCS report here

Other ??

Insert relevant decisions from CPUC here??

Insert relevant decisions / recommendations from sub-groups here??

These records are typically generated by the MDMA and supplied to the Utility Distribution Company (UDC) and Energy Service Provider (ESP).  Exceptions are that (1) in the case of shut-off or turn-on, the UDC/ MDMA may be responsible for generating appropriate records with final and initial meter readings, and (2) in the case of a meter change, the party changing out the meter may be responsible for providing the final and initial meter readings to the appropriate MDMA.

MDMAs may optionally provide other types of data, but such capability would be by separate arrangements that are not covered by this document.

The same data format could be used to transmit load profiles, but this would not be performed by the MDMA and is beyond the scope of this business model description.