Recommendations for Implementing a

Universal Node Identifier System

(UNIS)

for California's Electricity Market

Report to the

California Public Utilities Commission

by the

Universal Node Identifier System Working Group

(UNISWG)

as ordered by Decision D.97-12-090

March 2, 1998

First Draft — February 16, 1998

Table of Contents

1.  Executive Summary

2.  Introduction and History

2.1  History — 7/97 RSIF Workshop to 12/97 RSIF Decision (D.97-12-090)

2.2  Purpose of the UNISWG and this Report

2.3  UNIS Implementation Objectives for 1998

2.4  UNISWG Process and Membership

3.  Scope of Effort

3.1  UNIS Definitions and Long-Term Vision

3.2  UNIS Implementation Steps in 1998

3.3  Elements of SDP Records

4.  Discussion of CPUC Questions

4.1  CPUC Question 1

4.2  CPUC Question 2

4.3  CPUC Question 3

4.4  CPUC Question 4

4.5  CPUC Question 5

5.  Additional Issues

5.1  Flexibility to Adapt with Market Evolution

5.2  Feasibility of a Pilot to Assess Benefits

5.3  Others parties who should join or know about UNIS process.

5.4  Examine Similar Systems Elsewhere

6.  Recommended Next Steps

Appendix A.  Text of D. 97-12-090 regarding the UNI System and the UNISWG.

Appendix B.  Issues identified by UNISWG on 1/29 [for reference during Report preparation]

1.  Executive Summary

[Will be included in second draft.]

Will contain:

•	Concise Description of Context & Concept

•	Recommendations + Feasible Timetable

•	Possible Continuing Role of UNISWG

•	Next Steps CPUC Should Take

2.  Introduction and History

2.1  History — from 7/97 RSIF Workshop to 12/97 RSIF Decision (D.97-12-090)

The idea of a system of Universal Identifiers was first proposed for the California market at the July 1997 Retail Settlements and Information Flows (RSIF) Workshop, by Southern California Gas Company. Workshop participants, in their July 25 Workshop Report, identified Universal Identifiers as a medium priority item for follow-up effort.

In September 1997 a group of RSIF participants formed for the purpose of developing the idea and filing a Supplementary Report on the subject. They met four times and filed the "Universal Identifiers" RSIF Supplement with the Commission on October 15, containing the "Universal Node Identifier System" (UNIS) proposal authored by Conrad Eustis of FirstPoint Connections and Lorenzo Kristov of the California Energy Commission Staff. This proposal described a system of unique, non-intelligent identifiers associated with each service delivery point (SDP) or "node" of the utility distribution system, and discussed how such a system could be used to help reduce Unaccounted-For Energy (UFE) by tracking retail energy transactions on a system-wide basis, and to increase the efficiency of information exchanges and data communications among market participants.

In decision D.97-12-090 the Commission approved the UNIS in concept, and directed interested parties to form the Universal Node Identifier System Working Group (UNISWG or Group). The Group met on Jan. 29, 1998, hosted by the Commission's Energy Division, to discuss the issues and develop a plan for filing a Report on March 2, 1998, which addresses the Commission's five questions quoted below. The Group's responses to the questions are presented in Section 4 of this Report.

2.2  Purpose of the UNISWG and this Report

The Commission's decision D.97-12-090 states, "We approve the UNI system in concept. In order to design and implement such a system, the cooperation of all the various market participants and government agencies will be needed. We authorize the formation of the UNI System Working Group (UNISWG) to address these design and implementation issues using the guidelines set forth in this decision, and the ideas expressed in the Universal Identifiers Supplement." (p. 9)

The decision then poses five questions to be addressed by the UNISWG Report:

"(1) What needs to be done in order to secure the cooperation of the UDCs, the ESPs, other entities providing metering services, the SCs, and the ISO, in designing and implementing a UNI numbering system.

"(2) Should the UDCs, in cooperation with the ISO and with the input of other market participants, develop the database of all SDPs [Service Delivery Points]?

"(3) Should a single entity be responsible for maintaining and updating the UNI numbering system, or should the UDC maintain and update a UNI subsystem within its own service territory?

"(4) What type of control systems need to be instituted, and by whom, in order to use the UNI system for informational purposes and to detect distribution losses?

"(5) How should the expenses associated with the design, maintenance and upkeep of the UNI system be treated?" (p. 10)

Lastly, the decision states that, following a 20-day period for parties' comments on this Report, the Commission will "issue a decision addressing the resolution of these preliminary issues, and determine whether the UNISWG or a sub-group should be authorized to design the UNI numbering system and the necessary procedures and controls for implementing the system." (p. 10)

At its January 29 meeting the Group discussed the appropriate purpose of this Report. Parties generally agreed that the Report should be limited to answering the five questions. They quickly realized, however, that addressing these questions would require a conceptual description of UNI System design and a proposed scope of implementation work for 1998, plus some discussion of the benefits of the UNIS to answer questions one and five. The conceptual design and baseline 1998 work scope described below were drafted only to provide a reference point for answering the Commission’s questions. The Group did not attempt to reach consensus on these areas, recognizing that the Commission’s decision expresses the intention to re-address design issues after it deliberates on this Report and parties' comments which follow.

Based upon the direction from the Commission and discussions by the Group, the UNISWG sees as the purpose of this Report to:

•  propose answers to the five questions posed by the Commission on implementing the UNIS;

•  discuss the design, 1998 scope, benefits and costs of the UNIS, to the extent these bear on the five questions;

•  make recommendations regarding the continuing role of the UNISWG.

2.3  UNIS Implementation Objectives for 1998

D.97-12-090 states, "... 1998 represents a window of opportunity to adopt and implement a UNI numbering system. Since direct access is only in its infancy, it makes sense to develop a UNI numbering system at the beginning to serve as a control over distribution losses.  ... the addition of a UNI numbering system at this juncture would not cause a major system design problem ... " (p. 9).

Given this direction, this Report distinguishes two views of the UNI System. One is a long-term vision of how the fully functioning system might operate, including a discussion of the benefits to be gained and the efforts required to maintain the system. The long-term vision is intended to provide a common conceptual understanding of the UNIS, to guide near-term implementation activities, without constraining the ability of the UNIS to evolve and adapt to meet the needs of market participants. Although some of the details will change as the market evolves, the system's purpose will continue to be: to provide a foundational element of information infrastructure that supports and facilitates a well-functioning market for energy services by reducing UFE and increasing the efficiency and security of essential information flows among parties.

The second view focuses on 1998 and identifies specific, feasible steps to be carried out now to implement the primary elements of the UNIS in 1998. This Report recognizes that many parties have considerable systems work to be completed this year. Therefore the scope for 1998 focuses on the minimal set of actions needed to establish a foundation for achieving meaningful benefits.  These actions also try to economize on the fact that many information exchanges will need to be modified anyway for other reasons. Some of the near-term activities will be to garner the support and participation of the relevant parties, ensure creation of a UNI# data field in all relevant information exchanges and systems, assign UNI#s for Direct Access customers, and begin using the UNIS for tracking end-use data for settlements

To be more specific about near-term implemention objectives, by close of 1998:

1.  UNI#s would be assigned to all SDPs that are served by ESPs under direct access contracts, within UDC service territories;

2.  the UNI# would be used in all DASR-related and MDMA records and information exchanges;

3.  ESPs (SCs) would transmit (maintain) UNI# lists associated with direct access energy usage aggregates they report to SCs (the ISO) for settlement purposes;

4.  the UNI# lists would be part of the "auditable records" maintained by ESPs and SCs (to be addressed in detail by the Data Quality and Integrity Working Group (DQIWG));

5.  the relevant parties (primarily UDCs and MDMAs, with input of others) would have developed a detailed plan, with associated cost estimates, for creating the database of SDP records that ties UNI#s to physical locations at which electricity is consumed by end users;

6.  it would be decided how and by whom the UNIS will be updated and maintained, how its costs will be recovered, and how to proceed with UNIS implementation and broad utilization.

See Section 3.2 below for further discussion of 1998 UNIS-related activities.

Alternative Opinion [PG&E]

PG&E cannot commit to these goals.

PG&E maintains that implementation of a UNIS is intuitively appealing and supports further review of the costs and benefits of this idea. However PG&E also feels it is premature to embark upon this project now, which would derail other mandatory work to assure successful direct access.

PG&E disagrees with this assumption [i.e., the quote from D.97-12-090 at the beginning of this section]. Most market participants have already designed systems in anticipation of 1998. There is no system efficiency advantage gained by implementing this in 1998 versus 1999 for the majority of the market, including the UDCs. PG&E anticipates that integrating this additional identification number with all DASR-related transactions and meter usage data transfers, including modifying internal systems, building the interfaces between the systems and testing would cost at least $8-10 million. If each location needed to be labeled, there would be additional costs of $17-18 million, (within PG&E territory only). The cost of designing a numbering system and setting up the database would be around $5-10 million. If the numbering system were to be longitude, latitude and elevation, it would cost an additional $60-80 million to get those coordinates within PG&E territory. And that does not include the cost of maintaining such a complex database, training all employees on appropriate procedures for assigning the number, using the database to compare what SDPs have been reported to the ISO, or the cost of soliciting the cooperation of the other entities. Finally, PG&E does not have the human resources to even begin implementing such a change until the year 2000. And PG&E would argue, that waiting until then would not create lost opportunity costs.

The costs of this proposed UNIS are not trivial and the implementation of such a project requires more analysis before parties should be required to make such a large investment.

2.4  UNISWG Process and Membership

Thu. 1/29	Workshop hosted by the Commission's Energy Division to initiate UNISWG activity.  At this workshop parties reviewed the direction given by D. 97-12-090, agreed on the timetable below for developing the required Report, identified a Drafting Team who would be responsible to produce the Report and integrate comments from UNISWG participants, reviewed the UNIS proposal contained in the October 15 RSIF "Universal Identifiers" Supplement, discussed their views on the questions raised by the Commission in D. 97-12-090 and idenfied other issues they felt the Report should address.

Mon. 2/2	Drafting Team telephone conference to discuss Scope of Effort and determine responsibilities for first draft.

Wed. 2/4		Report Outline posted on web site and circulated to UNISWG members.

Fri. 2/6		Suggested revisions on Outline circulated by parties.

Mon. 2/16		First Draft Report posted / circulated.

Thu. 2/19	Second UNISWG meeting at CPUC, to discuss revisions to First Draft; all suggested revisions to First Draft due at this time.

Mon. 2/23		Second Draft Report posted / circulated.

Wed. 2/25		Suggested Revisions on Second Draft circulated by parties.

Mon. 3/2		File Report with Commission.

Parties represented at the first UNISWG meeting were:  R. W. Beck, California Competition Network, California Energy Commission Staff, CPUC/ORA, CPUC/Energy Division, Enron, Environmental Marketing Group, FirstPoint Connections, Itron, LADWP, Onsite Energy, PG&E, Rumla, SCE, SDG&E, Southern California Gas, SPPCo., Star Data Services.

The Drafting Team consisted of:  California Energy Commission Staff, FirstPoint Connections, PG&E and SDG&E.

3.  Scope of Effort

3.1  UNIS Definitions and Long-Term Vision

3.1.1  What are "nodes" or Service Delivery Point (SDPs) and UNI numbers?

[Note:  The definitions presented here should be adequate for a conceptual discussion of the UNIS.  Ultimately, however, more detailed definitions will be developed for implementation, to take account of existing UDC methods for identifying SDPs, to encompass various exceptions that may not fit these preliminary definitions, and to meet the needs of the parties implementing the UNIS.]

Definition 1:  "Fundamental to the direct access model, the service delivery point (SDP) is the point where regulated pricing of retail delivery services ends and the domain of competitive end-user products and services begins.  To determine the ISO and UDC regulated charges, these SDPs must be defined to the same resolution that the ISO and UDC report supporting documentation for revenue requirements to the FERC and CPUC, respectively.  UNI numbers (UNI#s) are defined as non-intelligent labels used to mark the finest resolution of locations where commodity flows as required by regulatory agencies." (From 10/15 Universal Identifiers RSIF Supplement, as modified in UNISWG meeting 1/29.)  [Underlined words in Definition 1 added by SoCalGas.]

Definition 2 [PG&E - differs from above in first sentence only]:  "... the service delivery point (SDP) is the point where energy usage is measured."

Definition 3 [Environmental Marketing Group]:  "... it is preferable to change the terminology of the billing point to Universal Accounting Identifier (UAI).  Accounting points will be accounting energy as well as financial charges.  ..."  [EMG may provide additional discussion.]

3.1.2  What is the SDP Record?

The concept of the SDP record is to create a set of attributes which, at a minimum, precisely identify the physical location of the SDP. The SDP record would, at a minimum, serve the needs of the UDC who maintains distribution lines to the physical SDP, the ESP who provides energy at the SDP, and any third-party MSP or MDMA who provides services at the SDP. While the optimal design of the SDP record has yet to be determined, for 1998 only two attributes would need to exist in the SDP record: the UNI number and a written description of the physical location of the SDP. In the long-term (post 1998) vision authorized parties would have access to some subset of the SDP record via a database maintained by the entity who operates the UNIS, thus eliminating any need to include these attributes in parties' information exchanges.  Section 3.3 offers further detail on the long-term vision of the SDP record.

3.1.3  Why is a unique identifier needed?  And why should it refer to the SDP rather than the customer, the service account, or the meter instrument?

Fundamental to a direct access contract is the "performance" of the contract: energy is delivered, energy is consumed and therefore payments are required. Prior to direct access a single business entity, the utility, was responsible for reporting the energy flows, costs and revenues associated with a SDP. Performance under the “regulatory compact” was generally enforced by reporting revenues and flows for groups of thousands or millions of SDPs. In contrast, under direct access multiple business entities will lay claim to revenues derived from a single SDP. The fundamental business need for the parties to a direct access contract is that an accurate and stable record exist of all transactions relating to the events of significance (e.g., assignment of an ESP, calibration of a meter, etc.), the energy flows and the charges related to a specific SDP. There will be millions of these transactions a year. To ensure reliable resolution of disputes, a review of these transaction records must be easy to conduct and must lead to unequivocal, trustworthy results.

The UNI# is the natural identifier for correlating the records related to a direct access contract, because the performance of the contract occurs at a physical location and the terms of the written contract will specify such a location, i.e., the service delivery point (SDP). A unique identifier for the SDP provides a "neutral" and therefore "permanent" label for all the transactions associated with the direct access contract. "Neutral" means that the label is not an attribute of a particular customer (who can move to another SDP) or a particular ESP (who can be replaced by the customer) or a particular meter instrument (which can move). "Permanent" means the number never changes. It lives as long as the physical SDP exists, and dies when the SDP is physically eliminated from the distribution system. Thus the UNI# provides a unique, invariant key to the physical location where a direct access energy transaction will take place. The UNI# links the customer, the ESP and the meter instrument as "attributes" of direct access contracts at particular SDPs, attributes which can change and be reassigned as new contracts are signed.

Until the UNI system is in place, meter numbers, account numbers, and customer names are the identifiers that link the transactions between business entities. However, these identifiers are not adequately unique or invariant, and do not constitute a state-wide system.  A market system that relies on them will therefore require many extra transactions for the sole purpose of  keeping all business entities in synch when some contract element changes. For example, routine changes in UDC meter reading routes cause changes in account numbers. An event as commonplace as a meter reading route update will thus force transactions by UDCs to ESPs, and by ESPs to billing companies, to MDMAs and MSPs. Not only are these transactions totally eliminated under the UNI system, but so are the inevitable time-consuming and costly after-the-fact corrections and disputes that result when not all of these “change notification” transactions take place correctly.

Finally, a common UNI System throughout California will eliminate a need for ESPs to manage different identifier systems for each UDC service territory in which they do business. Without the UNIS, each ESP in the market must build business systems to accommodate, not one identifier system that will be invariant and permanently stable, but multiple identifier systems to deal with differences among the UDCs it works with, with the added uncertainty that the business rules for how these identifiers are defined and used could change periodically to meet UDC needs.

3.1.4  What is the UNIS and how would it operate?

Distribution systems encompassed by the UNIS.

In California the UNIS would initially be limited to the regulated UDCs. The UNIS would be designed ultimately to accommodate a state-wide system that could mesh effortlessly with other states to form a national or even global system. Within the state it would be able to accommodate municipal utilities and any other types of distribution companies that deliver electricity from the ISO grid (directly or indirectly) to end users. (The size of the UNI# data field and the system of rules for assigning UNI#s ensure these capabilities.)

Sub-utility distribution systems ("sub-discos"). The UNIS can accommodate sub-utility level distribution systems, e.g., master-metered apartments and other systems under a single utility SDP/UNI#.  When a sub-disco joins the UNIS, the SDPs of its system would receive UNI#s, and the attributes of the utility SDP would be changed to reflect a sub-disco at that UNI#.  If the sub-disco does not join the UNIS then it would be seen as an end-use customer of the utility by the UNIS.  As the UNIS evolves and its membership becomes more diverse, UNIS managers will need to address issues about how finely its numbering system should differentiate SDPs.  The UNIS being considered here contains nothing to preclude adopting whatever level of resolution is needed in the future.

Core UNI System.

The backbone of the UNIS consists of two elements:

1.  SDP Database containing a record for each SDP that exists within each electricity distribution system participating in the UNIS (initially, the SDPs corresponding to direct access customers only).  Whoever manages the SDP Database, whether it be a single party or a network of parties, would have the responsibility to ensure that, once a UNI# was assigned to a direct access SDP, the same UNI# would always be used for that SDP, even as the ESP, the meter, the meter route, the account number, the billing cycle or the customer at that SDP change over time.

2.  Set of rules and procedures for assigning UNI#s and creating SDP records when new SDPs join the system (perhaps overseen by a stakeholder association or standards organization).

Initially a UNI# is assigned by a UDC in its response to a DASR from an ESP.  This gets the UNI# into the information flows via the ESP, who then uses the UNI# for all transactions having to do with the direct access contract behind that DASR. In particular, the ESP would provide UNI#s to any MSP or MDMA it contracts with, and would attach UNI# lists to energy usage aggregates it passes to its SC for settlement.

Extended System.

Figure 1 provides a generic direct access data model, which shows how the UNI# can be used as an invariant label for the data needed for various elements of direct access transactions. Figure 2 ilustrates the kinds of records that may be maintained and exchanged as "attributes" of SDPs by UDCs, ESPs and MDMAs.  [Figures reproduced from Oct. 15 RSIF Supplement.]

Figure 2.  Statewide Universal Node Identifier (UNI) System

Master Reference List

- maintained by

UNI#      Associated UDC	each UDC for all

distribution SDPs

under its control.

Accessible to all parties.

Each UDC maintains these records:

SDP Record	UNI#	ESP Record

Specifies SDP location -		Responsible ESP

service address,		& service dates

premises description,		Customer Record

meter socket, 		Name, phone #

meter access, etc.		billing address, LP, etc.

Each ESP maintains these records:

Meter Record	UNI#	Customer Record

Unique meter ID,

meter service history,		SDP Record

technical data, etc.  		(obtained from UDC

(from previous ESP or		via posted database)

permanent meter registry)

Each MDMA / MSP:

Needs to Know:	UNI#	Collects, processes,

ESP Record		 provides & archives:

SDP Record		Usage Data Records

Meter Record

3.2  UNIS Implementation Steps in 1998

Proposal 1.  [combined contributions of FirstPoint, SoCalGas, SDG&E]

(a) Develop implementation definition of SDP (Service Delivery Point — see preliminary definition above).

(b) Define UNI# and procedures for creating and maintaining constant UNI#s at SDPs.

(c) Define UNI# field length and character attributes (i.e., numeric/alpha) with consideration of existing UDC customer information system (CIS) capabilities to faciliate rapid implementation.

(d) Create the 1998 Baseline SDP Records, as described in Section 3.3 below, for direct access SDPs. Propose a timeline for creating the full SDP records for these SDPs.

(e) Determine UNI numbering assignment scheme focusing on regulated nodes, with an eye towards a system that could work at a lower level (finer resolution) than regulated sales.

(f) UDCs propose procedure and timeline for labeling all existing SDPs with UNI#s. (Note:  this is a database activity; it does not entail placing labels at physical SDPs.)

(g) Define and implement a UNI change control process.

(h) Determine who, in the short term, will administer the system of UNI block assignments to UDCs and individual UNI# assignments to SDPs, including consideraton of individual customer confidentiality requirements.

(i) Assess cost to implement a functional and flexible UNI System, and obtain approval from the CPUC for a fair mechanism to recover costs of UNIS implementation and on-going maintenance and operation.

(j) Secure ISO, SC, UDC, ESP, MSP, MDMA participation.

(k) Identify a timeline to create a UNI field in all the following transactions: MDMA records, DASR records, bill calculation, meter information flow, and settlement transactions between ISO and SC, and between SC and ESP.  [SDG&E does not agree that a blanket requirement for all transactions is needed.]

(l) Define implementable method for detecting UNIs not accounted for in settlement data reported by SCs to the ISO.

(m) Seek interest and compatibility for numbering water and gas nodes with same system.

(n) If resources exist, explore feasibility of California UNI schema being adopted in other states and/or supported by national standards group. [Does SDG&E accept rewording of this item?]

Proposal 2.  [PG&E]

(a) Define SDP (Service Delivery Point — see Definition above).

(b) Define UNI

- Define UNI# field length and character attributes (eg numeric/alpha).

- Define need for UNI

- Define possible cost-effective alternatives for UNI.

(e) Explore feasibility of CA UNI schema being adopted in other states and/or supported by national standards group.

(f) Determine UNI numbering assignment schema focusing on regulated nodes, with an eye towards a system that could work at a level below (finer resolution) than regulated sales.

- UDCs will report procedure, costs and timeline for labeling all SDPs with UNIs.

The Universal Node Identifier System proposed in the October 15 report recommends that the numbering system be random, not associated with any other information. If this numbering system were adopted it would necessitate that the nodes are identified at the location. PG&E estimates that the process of simply labeling these nodes at about $2/site would cost $9 million for electric customers and $7.5 million for gas customers. And this is only in PG&E territory.

If the numbering were smart numbering, associated with longitude, latitude and elevation for example, it would cost at least $60-80 million to get this information for nodes within PG&E service territory. (An analysis was done that it cost $25 million to do a GPS analysis of poles) PG&E does not currently have it to this degree of accuracy. Any kind of smart numbering would necessitate higher maintenance and increase the cost of the system.

(h) Determine who, in short term, will administer the system of UNI block assignments and UNI assignments to SDPs.

- Propose a fair mechanism to recover the cost of UNIS Implementation and on-going maintenance and operation.

- This is currently  a high-risk proposal which may or may not be cost effective. There isn’t enough information to make a sound financial decision, PG&E feels it is unfair for the ratepayers or anybody to shoulder this cost with so little information.

(j) Obtain ISO, SC, UDC, ESP, MSP, MDMA participation.

(k) Seek interest and compatibility for numbering water and gas nodes with same system

Delete: (l) Reserve space (create field) for UNI in the following transactions: all records sent via MDMA, DASE, bill calculation transactions, meter information transactionis, settlement transactions between ISO and SC and between SC and ESP.  [PG&E can’t do this in ‘98]

(m) Define implementable method for detecting UNIs not accounted for in settlement data reported by SCs to the ISO.

Proposal 3.  [SCE]

(a) Define SDP (Service Delivery Point — see Definition above).

(b) Define UNI and requirement to create and maintain UNI at SDPs.

(d) Define what attributes of a SDP should be maintained by the UDC (see 3.3 below).

(e) Explore feasibility of CA UNI schema being adopted in other states and/or supported by national standards group.

(h) Determine who, in short term, will administer the system of UNI block assignments and UNI assignments to SDPs.

(i) Propose a fair mechanism to recover the cost of UNIS Implementation and on-going maintenance and operation.

(j) Obtain ISO, SC, UDC, ESP, MSP, MDMA participation.

(k) Seek interest and compatibility for numbering water and gas nodes with same system

(m) Define implementable method for detecting UNIs not accounted for in settlement data reported by SCs to the ISO.

The UDCs would be responsible to ensure that, once a UNI# was assigned to a direct access SDP, the same UNI# would always be used for that SDP, even as ESP, meter, or customer at the SDP changes over time.

3.3  Elements of SDP Records

[Combined FirstPoint and SDG&E.  SDG&E:  Does this meet the intent of your comments?]

1998 Baseline SDP Record

The scope for 1998 would be limited to those SDPs that are served by direct access. The initial SDP record database would consist of the following seven attributes and would be maintained in a new database outside the UDC CIS systems. [A database built in the same structure holding the the DASR records seems promising.] In 1998 the baseline SDP record database would be maintained by the UDCs and not available to the public except to resolve party disputes and provide the starting point.

1. The UNI number.

2. Service address and sufficient text information, or codes, to uniquely identify the SDP in question. More than an aid to finding physical locations, the intent is to create a clear record to resolve the discrepancies that occur in maintaining a directory of 15 million listings. If UDCs can populate this field with available (x,y) type coordinates from their existing systems this would be useful information.  [PG&E has a place for (x,y)s in CIS systems but doesn’t have this data for every account or for every node. Additionally the (x,y) coordinates are at the transformer level.]

3. History of the ESP (commodity provider) of record with date/time stamp of effective change.

4. History with date/time of changes in the SDP status: pending, inactive, active, or retired.

Pending means the SDP is under construction, a UNI# has been assigned by the UDC, but no energy has flowed through the point. Retired means that the UNI has been retired; generally this would be because the service drop and consequently the SDP has been eliminated, e.g. premise bulldozed for major reconstruction or vacant land. Active means there exists an ESP responsible for energy flow at the SDP. Inactive means the energy flow has been temporarily interrupted.

5. Change control flag. This field changes from zero to one by the CIS system when either the UNI# or the service address fields in its database structure change from the previous night.

6. Copied from comments (including a date/time stamp) recorded in CIS systems, indicating the cause of the control flag turning to one.

7. History of date/time stamps indicating when the control flag changed to one.

The use of fields 5, 6, and 7 enable a low cost implementation of the UNI system, and their use together with a description of new fields created in the CIS are further explained in Appendix X.

Post 1998 Vision

The following attributes are some desired fields in the SDP record. They do not represent a definitive list; other attributes will likely be proposed and discussed as the UNIS effort progresses. Currently the attributes below are transmitted in other transactions, and therefore need not be created in the SDP record database during 1998.

These attributes are critical data to multiple parties in order to meet deadlines and calculate charges correctly. Together with monthly energy usage, the rules of direct access, and common data available to all parties (e.g. PX prices), these attributes allow all parties to independently compute regulated charges at each SDP.

Generally these attributes change infrequently, and together with the UNI could be made available in a "public" database or updated monthly on a CD-ROM distributed to authorized entities. This information is not sensitive from any party's standpoint, so it does not pose a threat to customer confidentiality. Once the public database is available there will be no need to burden existing transactions with the information in SDP records; just the UNI# will suffice. This reduces the cost of transactions, and eliminates the possibility that one of these critical records will be transcribed incorrectly. In the public domain, any party can take responsibility for identifying errors of the record.

8.  A list of all UDC or ISO tariffs currently applied to the SDP.

9.  Voltage Class: transmission, primary , secondary, etc.

10.  The Load Profile (profiles?) ID that can be used at this SDP.

11.  Types of meter data (e.g. kWh, kVar, etc.) and interval resolution required to compute the tariff charge. Note that if the tariff ID is sufficiently unique, attributes 2, 3 and 4 may duplicate information in the tariff description.

12.  SIC/NAICS classification, needed by government to support public purpose energy efficiency programs, and to refine load profile classes for commercial SDPs.

13.  The grid take-out point assigned by the ISO.

14.  Billing Cycle assignment.

15.  Multiplier constants of UDC-maintained CTs and PTs, if any, applicable to flows at the SDP.

The following two attributes will also reduce transaction costs in the future, but their implementation timeline is of lower priority.

16.  Attributes of the meter socket, if any, for the SDP, such as class and form factor (to facilitate meter replacement)

17.  ID of first UDC transformer in line with the SDP. In a likely future state, where ESPs notify UDCs of outages by electronic transactions, this identifier will facilitate rapid identification of the location of the UDC system fault.

[SDGE Comment:  SDGE:  This list goes beyond what was originally discussed in the opinion.  Information that is not already in the UDC systems will make it very difficult to implement this year.  To maximize the probability of being able to implement this year, the UNI record should consist of only those elements that are required to ensure accurate settlement data is available.  The UNI should be viewed as one more element that is passed with the DASR, MDCR, or MDMA record.  Should incorporate information that is already designed to go between parties.

FirstPoint Reply:  We concur with SDG&E comments.  The Post 1998 list is not definitive or urgent, but presented to help create a better picture of the full potential of UNI system and the associated databse of SDP Records.]

4.  Discussion of CPUC Questions

4.1  CPUC Question 1.   What needs to be done in order to secure the cooperation of the UDCs, the ESPs, other entities providing metering services, the SCs, and the ISO, in designing and implementing a UNI numbering system?

CEC Staff:  To secure cooperation, the parties must all buy into the concept, through a combination of mutual education as they work on it more, plus regulatory direction where appropriate.  It may turn out that further education leads to the conclusion that the UNIS would not provide net benefits to electricity consumers, in which case its supporters would have to reassess their support for it.

For now, however, no one can prove irrefutably that benefits will exceed or fall short of costs by so much.  The UNI concept has gained much support on its intuitive appeal, i.e., common sense.  The idea of a data element that is constant, to which all the elements of a direct access contract are linked, seems undeniably to be an enhancement to efficiency, security and confidence in the market.  Of course, the UNI System will not be a cure-all for potential market problems, and should not be faulted for not being so.  The UNIS should be seen as a platform upon which problems can be solved, which can be used as a vehicle for new transaction types the market might need to invent as it matures.  The UNI# provides a common label to bring together all the parties and transactions associated with a Direct Access contract.  It is as fundamental to energy commerce as the dollar bill.  It identifies the point where service is delivered, where the end user receives and consumes energy.  It is Mom and apple pie.

Nevertheless, before parties will buy into the UNIS, they need to see how it will benefit their own activities.  This means supporters must identify the specific benefits to be realized by ESPs, UDCs, SCs, the ISO, MSPs, MDMAs, government and energy consumers in general, and make all parties aware of the potential benefits.  Parties also need to be assured that the start-up steps they will need to take during 1998 will be manageable and will not adversely affect other vital activities.  Supporters of the UNIS must therefore find ways to implement the needed start-up steps without having major impacts on parties' resources.

Even with plausible net benefits and modest start-up efforts, however, it would not be reasonable to expect 100 percent of market participants to favor the UNIS.  As the effort progresses, there either will or will not develop a critical mass.  Certain parties, if they support the UNIS concept, can further the effort through their own actions.  For example, the ISO could require SCs to keep UNI# lists corresponding to all energy usage aggregates they submit to the ISO for settlement.  This requirement from the ISO would not in any way commit the ISO to be involved in using the UNI# lists for tracking energy; that function could readily be performed by another entity, as long as the required lists were maintained.  Similarly, the CPUC could require UDCs to create UNI# fields in their DASR systems, assign UNI#s to DASRs it receives from ESPs and transmit these numbers to the ESPs in response.

A continuing effort of UNISWG participants could be to garner the support of various parties, by identifying specific benefits for each type of entity, clarifying and simplifying the design of start-up activities, developing ideas for ancillary systems to maximize the uses and benefits of the UNIS, and working to develop the critical mass.  Much of this should be done in conjunction with the DQI effort, to which the UNIS should be a significant contribution.

PG&E:  This would involve significant work, crossing jurisdictional boundaries changing ISO tariffs with the FERC as well as coordinating among all of the distribution companies. It would be easier to obtain cooperation with a stronger case illustrating risks of not having a UNIS as well as the benefits.

SDG&E:  If the ISO does not agree to the benefit or does not plan to use the information, SDG&E recommends reconsidering the benefit of the UNI.   SDGE would recommend a session such as with the Communication and Information Flow work group to detail the communication required and the direction for UNI#s.

The addition of the UNI# to ensure the accurate settlement between all parties is the goal.  A comprehensive list of all service delivery points in the state of California with information available to parties outside the individual customer-vendor relationship is something the working group has to agree to.  This discussion should lead to an action item.

SCE:  The Commission stated the UNI could be used to by the ISO or a third party to identify SDPs that are not claimed by an ESP or UDC.   Before a UNI system is designed and implemented, the market place, CPUC, and FERC needs to determine if the ISO will take on this responsibility or create another entity.  Once the agent is determined, then a detailed program of auditing needs to be developed.  The program would detail want needs to be reported, by whom, and the frequency.   The program needs supports by the ISO, PX, SC, ESPs, MDMAs, and UDCs.   One the audit program is designed, it will determine the required reporting information and define the UNI and implementation scope.   These steps must be accomplished before a UNI numbering system is defined and implemented.  Otherwise, it is possible a UNI system will be developed at great expense which does not meet the requirements of the auditing process.

4.2  CPUC Question 2.   Should the UDCs, in cooperation with the ISO and with the input of other market participants, develop the database of all SDPs?

FirstPoint:  Yes.  A proposal for UNI assignment and control process is provided in Appendix X (to be provided by 2/19 meeting).  This proposal rests primarily on distributed control of the UNI assignment by UDCs.  There was no consensus on this propsoal.  Depending on the 1998 implementation scope approved by the CPUC, if any, and the final UNI system design, an alternate implemenation of the UNIS may be desirable.  Appendix X is presented so that a specific proposal is available to all readers and participants.  Parites will comment, after the report is filed with the Commission.  The 1998 baseline scope and Appendix X allow all parties to articulate their opinions on a shared framework.

[Here each of the UDCs should provide a description of their existing systems which could serve as a foundation for a UNI#/SDP database.]

PG&E:  The best number that PG&E currently uses and which if modified could be a UNI would be the control number. However the control number only provides resolution to the site. Additional modifiers need to be added to identify nodes, would require major reprogramming since this number is used as a reference in several different computer systems. PG&E would need to go into master files of each system and reprogram build new interfaces, test etc., etc. PG&E also uses the same control number for both gas and electricity at the site. Additionally there are currently several hundred multiple open accounts which are tied to the same control number.  Finally there are exceptional situations where the control number changes sometimes with a meter set etc. In summary, this would be a good starting point, but it would not be trivial to implement within a PG&E system.

SDG&E:  Is emphasizing a practical approach to the issue of instituting a universal numbering system for service distribution points (SDP) across service territory boundaries.  SDG&E would recommend 6 months operating experience before a proposed numbering system design is implemented.  Major system changes have been designed and changes need to be burned in before additional system changes are added.

SDG&E is prepared to use the existing system logic to create universal node identifiers for all SDP in the San Diego Gas and Electric service territory.   The SDP would be a combination of a twelve digit system dynamically assigned number + a three digit prefix that would be assigned to SDGE.   This would ensure a unique number for all SDPs and maintain the flexibility that SDGE needs to enter service orders and complete meter sets.

SDG&E is proposing a pilot that would test the various requirements for the proposed UNI with the ISO to verify that the ISO would use the information.  There has been much discussion on the need for this number, there still needs to be formal plan for how this number will be used.  Different market participants have different needs for the UNI number and these requirements still need to be scoped out.

A pilot will help determine the various applications for the different market participants and how complex the access to the UNI data base needs to be to ensure that the proper controls are in place to protect consumers.  Initially, the unique numbering system can be maintained at the UDC level without the need for a central repository, if the UDCs can guarantee that each node id is unique across service territory boundaries and that the numbers and their related elements are available on their respective web sites.

SCE:  Edison’s has two methods to identify the location receiving electrical service.  The first is a site number which can reference a building or street address.  The second in a installed service number for each service provided at each site.  For example, a GS-1 and GS-2 service would have two installed service numbers at a site.  These two numbers are static and do not change if different customers take financial responsibility.    The installed service number is parallel to the UNI.  This number could be used as an UNI without causing major modifications to Edison’s systems.  A utility specific prefix could be attached to distinguish it from other identifiers issues by other utilities.

4.3  CPUC Question 3.   Should a single entity be responsible for maintaining and updating the UNI numbering system, or should the UDC maintain and update a UNI subsystem within its own service territory?

FirstPoint:  There are approximately 15 million SDPs in California and 120 million in the entire U.S.  In either market some activities are natural candidates to be centralized under a single entity, while others are better decentralized.  In the UNIS there will be roles for both a single, central entity with regard to the UNIS as a whole system, and for the UDCs with respect to their own service territories.

In the mature vision, the maintenance, access to, integrity and security of the public SDP database would benefit from operation by a single third party, perhaps under contract to an association of market participants.  This entity would also supervise the assignment of UNI#s by UDCs and new distribution entities as they are permitted.  As the UNI process becomes more familiar and automated, the FTE resources needed to maintain the public database and the management of the UNI numbering system should be modest.

The bulk of the SDP record maintenance effort will be born by the the distribution companies, who should have the responsibility for dynamically assigning UNI#s to new SDPs, under rules which guarantee that all numbers across all service territories are unique, and for conveying the UNI#s to ESPs in response to DASRs.

Over time as ESPs take over a sigificant share of the cost to respond to customer questions, there should be a net decrease in UDC FTE required, when resources for both UNI maintenance and customer service are consider together.

SDGE:  UDCs should maintain the responsibility of dynamically assigning UNI# to each SDP, with the guarantee that all numbers across all service territories are unique.

SCE:  Since all customers still receive service from the UDC, it is logical that the UDC assign a UNI to a SDP that does not change.  During the number design process, steps can be taken to ensure duplicates between service areas do not occur.

4.4  CPUC Question 4.   What type of control systems need to be instituted, and by whom, in order to use the UNI system for informational purposes and to detect distribution losses?

CEC Staff:  One such system would be required for tracking energy transactions from the end-use customer meter up to the ISO.  The system could be instituted by the ISO, but rather than impose a major monitoring effort on the ISO it would be preferable to make this an element of the third-party controls and auditing procedures to be designed in the DQI effort.  The third party auditor would need an automated system to:

(1) collect daily from SCs the UNI# lists associated with end-usage aggregates they have passed to the ISO;

(2) compare these lists to the master UNI# list, which is also updated daily by the addition of new UNI#s and any changes of status;

(3) identify any active UNI#s on the master list which are not represented in any SCs end-usage aggregates;

(4) send an "unaccounted-for UNI#" list to each UDC; the UDCs will identify the ESP of record for each such number;

(5) based on the UDC responses, develop a daily list of unaccounted-for UNI#s along with their ESPs of record, and forward to appropriate agent for investigation and enforcement.

Regarding customer confidentiality, the UNIS can actually enhance confidentiality protection rather than threaten it. The reason for this is that potentially sensitive customer information would no longer need to be included in the thousands of routine information exchanges among parties. For example, instead of an MDMA using customer name or service address to identify a metered usage record, it could simply use the UNI# as a label. The UNI# could only be translated into a customer name or service address by the entity who maintains the customer record or SDP record associated with that UNI#. Granted, confidentiality concerns imply that great care is needed in designing the "public" database, to ensure that its contents serve the desired purpose without endangering customer confidentiality. But given prudent design decisions, the UNIS can greatly reduce the amount of sensitive information exchanged routinely by market participants, and thus reduce the possibility that such information could be acquired by an unauthorized party.

PG&E:  An item that requires further exploration is how effective this system would be in identifying UFE. There are three types of unreported energy: 1) energy is not reported at all at a node, 2) energy is under-reported at the node, 3) the load is shifted. This proposed UNI system would only possibly catch the first type of unreported energy. And because of the number of parties involved and the potential for error each time the information is moved, it is possible that even this system wouldn’t catch all unreported SDPs.

As proposed in the October 15 report, the database of nodes in and out of service would need to be updated every day and then compared with the nodes that the ISO has collected with settlements. This in itself is a very time-intensive effort. Additionally, several parties are involved and several transactions are necessary before the auditing party receives the two sets of numbers. This creates many possibilities for errors.

SCE:  Edison recommends the evaluation of the UNI be linked with the DQI working group.  This group is to evaluate any problems of data process and develop solutions.  The DQI working group is in the best position to recommend and evaluate an UNI system.

The use an universal identifier presents significant issues to maintain customer confidentiality.   Data that is released with a UNI that is not confidential could be linked with data from other sources to complete confidential data records about customers.   For example, if a list of address and UNI is public, and if someone obtain a list of names and UNIs, then linking the two together creates a list of names and addresses.  The UNI becomes a powerful method to link data together.  Any information released with an UNI must be carefully evaluated and reviewed to ensure customer protection is maintained.

4.5  CPUC Question 5.   How should the expenses associated with the design, maintenance and upkeep of the UNI system be treated?

Parties agreed that there are two, interrelated, components to this question.  First is the tracking and apportionment of costs.  Second is enumeration of the benefits and costs to be incurred by each type of business entity, with estimates where possible, to try to assess if only crudely the cost effectiveness of the system.

FirstPoint:  UDCs should be permitted to collect (subject to prudency review) through Section 376 recovery $100,000 dollars per million SDPs.  Prudent implementation costs beyond this ceiling would be tracked and collectively recovered through the following process.

SCE:  The cost estimates in the October 15 UNI reports are understated.  To implements a UNI for auditing, the ISO, PX, SCs, ESPs, and UDCs must incorporate the field into their systems.  The systems for the ISO, PX, and UDCs are large systems to handle data.  Entering a new field requires modification to many components that handle transactions.  To develop a numbering system, assign UNIs, and modify computer systems for the market place could cost over $10 million dollars and is unknown until the scope is defined.

SDGE:  There is significant benefit in being able to identify the service delivery point over a period of time in which changes have occurred.  With the new market, there will be times when parties will need to communicate about the 15+ million service delivery points in California.  Account numbers will change, meter numbers will change, energy service providers will change.  The ability to isolate, identify and record the factor least likely to change will help insure over time that the information about a particular service delivery point is accurate. A unique way of identifying all service delivery points will provide the necessary reference point for any two parties to make certain they are referring to the same thing. The most significant benefit of the Universal Node Identifier (UNI) is that it gives the ISO the ability to verify that meter data for every meter in the state is being reported to the ISO.  This will benefit in lowering UFE.  Exactly how the ISO would implement this verification process has not been determined.  Development of the UNI number system should not out-pace the ability of the ISO to use the information.  The UNI number for each service delivery point makes certain that necessary information would be available.  A clear scope will ensure that benefits compensate for the cost of this development.

A second benefit could be for contract settlement.  Terms could be tied to the UNI and therefore would not need to be changed when there is a change in the physical metering.  UNIs are not meter-dependent.  This is beneficial because it allows any service provider to install any meter at the point of service without worrying about the need to track the meter number for settlement purposes.  Wherever the benefit can be associated to particular entity, cost should also be associated such as with fees.

A third benefit would be that a constant reference point could reduce billing errors to the customer.  As meter numbers change with different ESPs, a service delivery point identifier could help ensure that billing discrepancies could be resolved and settled.

5.  Additional Issues

5.1  Flexibility to Adapt with Market Evolution

5.2  Feasibility of a Pilot to Assess Benefits

5.3  Others parties who should join or know about UNIS process.

Disseminating information about UNIS concept and activities.

Inviting additional categories of parties to join UNIS process:  e.g., standards organizations; private IT vendors.  Identify categories, create contact lists, determine means of outreach.

5.4  Examine Similar Systems Elsewhere

SDG&E: good discussion on what the UK looks like.  It would be helpful to also have information if they are using for upstream settlement purposes and benefits they have experienced.

Description of analogous UK system (from Ross Coles of UKDCS, via Eric Woychik)

Deregulation of the electricity supply market in England, Wales and Scotland commenced in April 1994, for those customers over a 100kW threshold (Commercial and Industrial Sectors).  The next phase is 1998 when the threshold is withdrawn, thus providing Residential users with a choice in electricity supply.  From this point, non-interval meters will also need to be read and the data collected for Settlement purposes.

1. Between 1994 and 1998, the 'Service Delivery Points' are represented by Metering System Identifiers (MSIDs).  This is a six character, alpha-numeric identifier with two data attributes:

-  Distribution Business Identifier [1 alpha character, to represent each of the 12 Regional Electric Companies (RECs) that provide distribution service]

-  the Distribution Business's own unique value for the SDP [5 alpha-numeric characters].

Each Distributor has responsibility for assigning a unique value and each uses a different methodology.  The majority use a sequential numeric value, while others also include alpha characters taken from the site name.  Examples are C0006A and KWLG7T.  Thus, there is no standardization, other than the first character prefix.  The MSID is the market-wide identifier used in all transactions and features the virtues of uniqueness, confidentiality and brevity.

2.  [Obtained from "Metering Point Administration Number Related Issues," Design Paper, Version 4.0, OFFER, 12 Sept 1997]

With the expansion of deregulation, the vast increase in the number of metering points having to be read for settlement purposes caused the MSID model to be replaced with another identifier system.  Due to this, the 1998 arrangements feature the MPAN (Metering Point Administration Number) as a key mechanism.

This numeric value will uniquely identify each Metering Point (MPAN Core) and also provide information (MPAN supplementary data) to enable suppliers to formulate quotations for prospective customers.  MPAN, like the MSID, is used for all 'Service Delivery Points' including physical sites where metering equipment exists, as well as unmetered supplies (e.g. street lighting) and pseudo meters.  All MSIDs will be replaced by MPAN Cores.

The MPAN Core is a thirteen character, numeric identifier with three data attributes:

-  Distribution Business Identifier [2 numeric characters for the 12 RECs]

-  Unique Reference Number for Metering Point (within Distribution Business) [10 numeric].  This, like the MSID, is generated and maintained wholly by the Distributor.  The methodology used is their responsibility.

-  Check digit [1 numeric character].  This last character performs a mathematical check function [modulus 11] that the previous twelve digits have been correctly translated.

In summary, the MSID and MPAN Core are the equivalent to the Universal Node Identifier proposed in California.  As the latter will be used in a market including the Residential sector, this is perhaps more applicable.  The changes/growth between the 1994 and 1998 markets caused the unique identifier to evolve in the following ways:

- becomes numeric not alpha-numeric

- increases in size

- includes an attribute to verify the Distribution company's own unique value.

6.  Recommended Next Steps

[Will be included in second draft.]

Possible continuing role & activities of the UNISWG.

Appendix A.

Text of D. 97-12-090 regarding the UNI System and the UNISWG (pp. 7-10).

[Will be included in second draft.]

Appendix B.  Issues Identified by UNISWG on 1/29

[Note:  This appendix is provided as a check for parties to ensure that all issues they identified are covered to their satisfaction in the Report.  When the final version is filed, this appendix may be dropped.]

List of primary issues identified by UNISWG on 1/29, mapped into sections where they are addressed in this Report.

Issue 1.  Internally billed systems, below UDC-SDP (utility UNI#) level.  (Sec. 3.1)

Issue 2.  UDC Resources - personnel, priorities, cost recovery.  (Sec. 4.5)

Issue 3.  Coordination among UDCs; participation of smaller UDCs.  (Sec. 4.1)

Issue 4.  Responsibility for maintaining UNIS.  (Sec. 4.3)

Issue 5.  Implementation definition of UNI#.  (Sec. 3.1)

Issue 6.  Examine UK and other existing systems.  (Sec. 5.4)

Issue 7.  Involving ISO, ESPs, MDMAs, SCs, PX, etc.  (Sec. 4.1)

Issue 8.  Well-defined scope.  (Sec. 3)

Issue 9.  Maintenance requirements, quality control re data flow, commitment to maintenance, procedures.  (Sec. 4.4)

Issue 10.  Who assigns numbers, who manages procedure for assigning numbers?  (Sec. 4.3)

Issue 11.  Relationship to DASR and other information flows (billing, meter data, etc.) — where will the UNI# appear?  (Sec. 3.1)

Issue 12.  Data elements in SDP record created by UDCs.  (Sec. 3.3)

Issue 13.  Tracking and apportionment of costs.  (Sec. 4.5)

Issue 14.  Cost effectiveness / benefits to various parties.  (Sec. 4.5)

Issue 15.  Customer confidentiality concerns and protections.  (Sec. 4.4)

Key points identified at the 1/29 meeting, corresponding to each CPUC question.

Question 1:

(a)  Idea of ISO requiring SCs to report (or maintain auditable) UNI# lists for all final accepted schedules, via ISO Tariff.

(b)  Describe benefits to parties.

(c)  Link with DQI Working Group

(d)  Contact other parties to get early buy-in.

(e)  Impacts on various entities (e.g., data fields & size required)

(f)  Accessibility of UNI# - what needs to be generally or publicly available?

(g)  Usefulness - how often updated? - daily?

Question 2:

(a)  UDCs may be most efficient for initial development & short-run operation of UNIS.

(b)  Scope of effort drives the extent of the UDC role.

(c)  What do UDCs have already that could be a basis for a UNIS?  There are some data elements that refer to SDPs.

(d)  May need to be third party technical expertise (e.g., IT Company) to moderate consensus.

Question 3:

(a)  Option:  UDC Responsibility

(b)  Option:  Third Party

(c)  Option:  Collaborative effort, involving UDCs and others.

Question 4:

(a)  What is meant by "control systems"? - for information purposes - to reduce UFE

Systems to ensure Quality, Accessibility, Security, Reliability

(b)  Link with DQI Working Group

(c)  Uses of UNIS by ISO, SCs, PX

(d)  Confidentiality

Question 5:

(a)  Option:  UDC distribution rates (or other regulatory mechanism)

(b)  Option:  Beneficiaries pay fees

(c)  Option:  Some combination

(d)  Option:  Sec. 376 (CTC)

(e)  Treatment of costs depends on who benefits

(f)  Need cost estimates

(g)  Sources of funds - both near-term expenses and eventual cost recovery; e.g., CTC, distribution charges, etc.

(h)  Identify benefits to UDC operations, to market transaction costs, to UFE

(i)  Viewpoints of ESPs, MDMAs, UDCs, SCs, ISO, PX, customers

(j)  Quantification of benefits.

Describing the potential use of the UNIS to reduce Unaccounted For Energy (UFE), D. 97-12-090 states: "The UNI system can be used to ensure that all SDPs receiving electricity are attributed to the correct SC, ESP and UDC. If the UNI numbering system is used by the ESP, the meter data management agent, the UDC, the SC and the ISO, the ISO or a third party could compare all the scheduled transactions at each SDP, and determine which SDPs have not been claimed by any ESP or UDC. Appropriate notification and enforcement action could then take place for those SDPs where no one has claimed service. This will help address the problem of an ESP failing to ensure that supply has been purchased to cover all the loads of its end-use customers." (p. 9)

This is based on an estimate of $25 million to get these coordinates for PG&E poles which are about _____ in number.

Even then the UNI# and SDP record would continue to exist in a data archive for some prescribed minimum period of time.