# AUDIT PROGRAM

TITLE: MSP AUDIT TEMPLATE

|  |  |  | W.P. Ref. | Sig. Date |
| --- | --- | --- | --- | --- |
|  |  | INTRODUCTION: Meter Service Provider (MSP) is the entity that installs, performs maintenance, and tests electric watthour meters for Energy Service Providers. OBJECTIVE: This audit is intended to determine if the MSP is in compliance with the CPUC requirements and is accurately and safely performing timely meter services. See PSWG Decision (D.98-12-080) and MDCS Decision (D.97-12-048). |  |  |
|  |  | AUDIT PROCEDURES: ### A. METER WORKER SKILL REQUIREMENTS 1. For Class I through Class III workers, determine that the MSP has developed and implemented a documented training program. 2. For Class IV and Class V workers, determine that the credentials and experience of the technician meet the minimum requirements for Class IV and V workers. 3. Verify that Class IV and V workers have taken at least ten (10) hours of MSP training in the past 12 months. 4. Verify MSP workers are issued Company identification indicating their class level, and MSP procedures include the carrying of this identification. |  |  |
|  |  | ## B.1 MSP SAFETY PROCEDURES 1. Verify the MSP has a documented safety program. 2. Determine MSP workers are assigned appropriate safety gear including hard hat, safety goggles, visors, and non-flammable attire. 3. Verify MSP has an emergency contact telephone number. 4. Verify MSP follows UDC and MSP procedure when unsafe conditions are encountered at customer meter sites. |  |  |
|  |  | ## C.1 METER INSTALLATION PROCEDURES 1. Verify MSP Meter Installation procedure ensures the meter worker can correctly set the meter time. 2. Verify MSP procedure ensures correct meter communications is established with MDMA. 3. Determine MSP has a procedure preventing the assignment of duplicate meter numbers. 4. Determine MSP processes MIRN forms to UDC within one business day following meter installation. 5. Determine MSP has a procedure to ensure timely return of removed meters. 6. Verify the MSP has an Energy Theft Detection procedure. |  |  |
|  |  | ## D. METER CALIBRATIONS 1. Verify meters are tested and comply with the following meter test criteria: · Annual Test: for accounts over 2,000,000 kWh annually. · Biennial Test: for accounts from 720,000 kWh to 2,000,000 annually. · Random Sample Test: for all other meters. 2. Verify test results are maintained on a historical database indefinitely. 3. Verify meters installed have been calibrated. 4. Verify that removed meters are calibrated prior to being installed at another location. 5. Verify test standards are calibrated and traceable to NIST. 6. Verify test standards are compared to a reference standard on a monthly basis. |  |  |
|  |  | ## E. METER MAINTENANCE 1. Verify MSP follows through on MADEN work requests in a timely manner. 2. Verify MSP can produce a history of meter activity on accounts it services. 3. Verify that the MADEN communication tool process is working for the MSP function and that corrective action is taken and documented when necessary. |  |  |
|  |  | ### F. CONDLUDING PROCEDURES 1. Prepare a draft audit report 2. Conduct exit meeting with audit participants. 3. Finalize the audit report and distribute. |  |  |
|  |  | COMMENTS: |  |  |