| Application No: | A.97-11-011 |
| --- | --- |
| Exhibit No: | (SCE-4) |
| Witnesses: | D. Fellows |
|  | H. Pope |

(U 338-E)

Errata To Southern California Edison’s Prepared Testimony

Before the

Public Utilities Commission of the State of California

|  | Rosemead, California |
| --- | --- |
|  | March 1998 |

Step 6.	Calculated the Value of Capitalized Parts for Future Replacements

For each customer group, SCE determined the annual replacement cost of meters.  The average replacement value of meters was determined as follows:

|  | < 20 kW (non-TOU) | 20 – 500 kW (non-TOU) | > 500 kW | TOUs < 500 kW |
| --- | --- | --- | --- | --- |
| Average Replacement Value of Meters | $38.17 | $206.92 | $1,545.00 | $265.95 |
| Estimated Replacement Rate Per Year | 0.23% | 0.50% | 9% | 2% |

For the >500 kW group, the value must be multiplied by 1.3 to account for earnings and taxes.  Thus, for this group, the cost was determined to be ($1,545.00 x 9%x1.3) = $180.76 per meter.

Step 7.	Calculated Net Avoided Cost Credit

The meter ownership credit by customer group was calculated by taking the difference between the values identified in steps 4 and 5 (for > 500 kW, this equals $717.38), divided by 39 years (for > 500 kW, this equals $18.39) grossed up for rate of return and taxes on return (for > 500 kW, $74.63), plus the values identified in step 6, divided by 12 months.  These 1998 data are grossed up to 1999 by 1.01%, reflecting the CPI-X formula.

Step 2.	Identified Tools and Materials

SCE identified any tools (i.e., vehicles, etc.) or materials (i.e., parts, etc.) which were necessary to perform a set of activities.  Here, the only tools or materials which could be avoided are the non-specialized tools and supplies, uniforms and vehicles of the individuals performing the related labor.  The hourly cost of the non-specialized tools and supplies, uniforms and vehicles is therefore included in labor time.

Step 3.	Calculated Avoided Cost Credits

The costs to perform this function for each customer group were calculated using information gathered in steps 1 and 2.  These credits were calculated on a per meter, per month basis. For instance, to calculate the credit for Zone 2, customer group 20-500kW:

| Cost to Read Meter | Plus | Access Cost for Zone 2 | Plus | Cost to Perform Pick-up Read | Multiplied by Est. Pick-up Read Rate Per Month | Plus |
| --- | --- | --- | --- | --- | --- | --- |
| $0.129 | + | $0.165 | + | $0.129 | 1% | + |

| Cost to Travel to Meter for Pick-up Reads | Multiplied by Estimated Pick-Up Read Rate Per Month | Plus | Customer Inquiry Cost | Equals Total Credit | Multiplied by One Plus the CPI-X Factor | Equals the Monthly Avoided Cost Credit |
| --- | --- | --- | --- | --- | --- | --- |
| $6.19 | 1% | + | .002 | $0.359 | 101.01% | = $0.363 |

### Process Assumptions

- Based on 1999 penetration assumptions discussed earlier, SCE will not require significant restructuring of any metering routes (perform route refolios) during 1999.  As refolios become necessary, their cost will be computed as an offset against the meter reading credit.

- Meter pick-up reads are reads that are necessary due to access issues or the initial read being identified by the system as falling outside the range of acceptability.

Step 5.	Identified Volume of 1999 Service Accounts Receiving Partial Consolidated ESP Billing Service

SCE estimated the number of service accounts that would have their services provided by third parties. This information was necessary to determine two things: 1) the 1999 service account population over which to spread the costs identified in step 4; and 2) the level of penetration that will be achieved.

Step 6.	Calculated Offsets

The costs to accommodate ESPs for each customer group were calculated using information gathered in steps 4 and 5.  These offsets represent any cost increases driven by changes required to implement the activities yielding the credits.  This credit offset was calculated on a per service account, per month basis.

Based on steps 4 and 5, SCE developed the following data:

| Credit Offset Activities |  | Cost/Service Account/Month (all customer groups) |
| --- | --- | --- |
| Performing initial and on-going credit checks of ESPs Collecting and managing deposits of ESPs Sending monthly bill data to ESPs Sending invoices to ESPs Processing payments from ESPs Performing collection activities on ESPs Reverting customers of ESPs to separate billing Shipping mandated billing inserts to ESPs Processing changes in customer’s billing options |  | $0.020 $0.001 $0.048 $0.110 $0.007 $0.017 $0.004 $0.007 $0.006 |
| Total Credit Offset |  | $0.220 |

Step 7.	Calculated Net Avoided Cost Credits

SCE calculated the avoided cost credit (per service account per month) for each function by taking the difference between the gross credit identified in

PLEASE NOTE:  THE FOLLOWING TWO TABLES CANNOT BE ELECTRONICALLY TRANSMITTED TO THE WEB-SITE.  HARD COPIES HAVE BEEN SERVED ON ALL PARTIES TO THIS PROCEEDING.

- METER OWNERSHIP COST STUDY

- IV.A. PARTIAL ESP CONSOLIDATED BILLING CREDIT COST STUDY