## Slide 1
Energy Efficiency Observations for Agriculture Facilities
Adam D. White, PE
2/28/17

## Slide 2: Industry Observations
Facility power delivery capacity range: 3.4 mVA to 24 kVA
Power load estimates (Gross facility area)
  Estimated: 200 W/sqft
  Actual: around 35 W/sqft
    1000W HPS serves 16 sqft (industry est.) = 67.5 W/sqft of input power

## Slide 3: Industry Observations (cont.)
A large percentage of total service requests have not come to fruition
Development impacted available real estate and local power
  Required the installation of a new feeder in 2015
Mostly indoors with some greenhouses, for climate and security
Customers maximize production capacity by rotating operations
First cost is often the main or only driver in EE business decisions making utility incentives valuable to customers

## Slide 4: Industry Trends
LED manufacturers are adapting to local grower preferences on wavelength of delivered lighting
  In 2015 to Mid-2016, most projects proposed/implemented were HID
  Fangs (LED) vs Full Spectrum (HID)
  Late-2016, majority of new projects are proposing LED

## Slide 5: Industry Trends (cont.)
Going vertical in two ways to maximize production capacity/sqft
  Big-box retail store style
  Horizontal light projection: Medical-record style
Facilities that participate in our EE programs are growing in size.